Single Electricity Market

Final REcommendation Report Mod_11_14: pay-as-bid/paid-as-bid for ic units 27 march 2015

COPYRIGHT NOTICE

All rights reserved. This entire publication is subject to the laws of copyright. This publication may not be reproduced or transmitted in any form or by any means, electronic or manual, including photocopying without the prior written permission of EirGrid plc and SONI Limited.

DOCUMENT DISCLAIMER

Every care and precaution is taken to ensure the accuracy of the information provided herein but such information is provided without warranties express, implied or otherwise howsoever arising and EirGrid plc and SONI Limited to the fullest extent permitted by law shall not be liable for any inaccuracies, errors, omissions or misleading information contained herein.

Document History

| Version | Date | Author | Comment |
| --- | --- | --- | --- |
| 1.0 | 12 March 2015 | Modifications Committee Secretariat | Issued to Modifications Committee for review and approval |
| 2.0 | 23 March 2015 | Modifications Committee Secretariat | Issued to Regulatory Authorities for final decision |
| 3.0 | 27 March 2015 | Modifications Committee Secretariat | Updated version issued to Regulatory Authorities for final decision |

Reference Documents

Document Name

Trading and Settlement Code

Mod_10_14 Make Whole Payments for ICUs

Meeting 58 Electroroute Slides

MWP Feedback and Responses

Electroroute Response to SEM C Letter

Participant Feedback on MWP and Proposals

Meeting 59 SEMO Slides

SEM C Response Letter to Electroroute

Electroroute Explanatory Note

Table of Contents

1.	MODIFICATIONS COMMITTEE RECOMMENDATION	3

Recommended for rejection – unanimous Vote	3

2.	Background	3

3.	PURPOSE OF PROPOSED MODIFICATION	3

3A.) justification of Modification	3

3B.) Impact of not Implementing a Solution	3

3c.) Impact on Code Objectives	3

4.	Assessment of Alternatives	4

5.	Working Group and/or Consultation	4

6.	impact on systems and resources	4

7.	Impact on other Codes/Documents	4

8.	MODIFICATION COMMITTEE VIEWS	4

Meeting 58 – 3 december 2014	4

Meeting 59 – 12 february 2015	6

9.	Proposed Legal Drafting	8

10.	LEGAL REVIEW	8

11.	IMPLEMENTATION TIMESCALE	8

Appendix 1: Mod_11_14 pay as bid/paid as bid for interconnector	9

# MODIFICATIONS COMMITTEE RECOMMENDATION

## Recommended for rejection – unanimous Vote

| Recommended for Rejection by Majority Vote |
| --- |
| Áine Dorran | Generator Member | Rejected |
| Brian Mongan | Generator Member | Defer |
| Connor Powell | Supplier Member | Rejected |
| Kevin Hannafin-Chair | Generator Member | Rejected |
| Mary Doorly | Generator Member | Rejected |
| Patrick Liddy | DSU Member | Defer |
| William Carr | Supplier Member | Rejected |
| William Steele | Supplier Member | Rejected |

# Background

This Modification Proposal was raised by ElectroRoute and was received by the Secretariat on 20 November 2014. The purpose of this proposal is to amend the code to remove disjointed price signals by introducing a Pay-As-Bid/Paid-As-Bid settlement process for all Interconnector Units.

The Modification Proposal was discussed at Meeting 58 on 03 December 2014 and at Meeting 59 on 11 February 2015 where it was voted on.

# PURPOSE OF PROPOSED MODIFICATION

## 3A.) justification of Modification

The current design of the SEM does not treat imports from and exports to the neighbouring GB market equally. The Regulatory Authorities have been aware of the issues that this disjoint raises for some time, and indeed the proposer of the current modification presented on these topics to the Regulatory Authorities last year. Given the island of Ireland’s significant potential as an exporter of electricity and the importance of cross-border trade at a European level the proposer welcomes renewed attention on this important topic and would hope to see positive steps emerge towards improving the efficiency of the international energy import/export arrangements.

## 3B.) Impact of not Implementing a Solution

Market will continue as is with pricing dynamics at times giving rise to netting interconnector trades  the volumes from which will continue to enter the Make Whole Payment mechanism.

## 3c.) Impact on Code Objectives

This modification aims to further the following Code Objectives:

to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;

to ensure no undue discrimination between persons who are parties to the Code;

to promote the short-term and long-term interests of consumers of electricity on the island of Ireland with respect to price, quality, reliability, and security of supply of electricity.

# Assessment of Alternatives

N/A

# Working Group and/or Consultation

N/A

# impact on systems and resources

The vendor confirmed this proposal would cost €17,000.

# Impact on other Codes/Documents

N/A

# MODIFICATION COMMITTEE VIEWS

## Meeting 58 – 3 december 2014

RA Member advised that more than 90% of  Exports did not happen further advising that an IC unit can bid whatever they choose as this is not enshrined anywhere within the Code. Electroroute representative expressed the view that in terms of bidding to flow, IC activity has evolved that way over the duration of the market. Proposer further advised that Electroroute are not comfortable effectively hampering “free movement of goods between borders” as specified in Directive 2006/123/EC of the European Parliament and of the Council of 12 December 2006 on services in the internal market. The proposer mentioned that they had started an internal legal review which supported this view. MO Member asked if this legal analysis could be shared with the Committee. The proposer replied that they are not ready to disclose this at this point.

MO Alternate reiterated RA view that Interconnector Users are not prohibited from representing costs within their bids and that it is Electroroute’s commercial decision to bid that way and ICs are not bound by the BCOP as traditional GUs are.

Observer questioned whether Interconnector bids, which currently seem not to reflect price differential between adjacent regions, would have a detrimental impact on the price coupling and efficient export flows. Observer expressed concern around the introduction of a market imbalance and of the impact on constraints if pay/paid as bid was introduced. Electroroute representative advised that constraints could happen but that it should not be viewed as a significant risk.

DSU Member stated that as over 90% of exports traded did not actually happen, were the dispatchers incorrect to have sold the power in the first instance. Electroroute representative expressed the view that they were not illegitimate trades and that this type of trading is frequently seen on the continent.

DSU member also asked if this indicated a flaw within the scheduling software. Observer advised that the market solver optimises Schedule Production Costs based on the bids submitted, and that MWPs are not visible to and are therefore not considered by the Pricing and Scheduling software. Generator Member expressed the view that there appears to be a discrepancy between export bids and SMP.In order for flows in both directions to be scheduled, the import bid would have to be less than Shadow Price and the export bid would have to be greater than Shadow Price..

Observer elaborated that trading with an import bid which is less than an export bid in a given period appeared counter-intuitive. This appears to indicate an intention to sell/import to the SEM at a lower price and buy/export from the SEM at a relatively higher price. This bidding approach appeared to be loss making when considered in isolation from the Make Whole Payment mechanism. Generator Member drew reference to Mod_ 09_14 Amendment to MWPs for IC Units stating that the user would be made whole and that the proposed aggregation of IC Users across all gate windows is not discriminatory if it brings IC Users in line with other GUs. Electroroute representative advised that in their view, ICs would not be aligned with GUs because they bid to flow and their import trading is overstated in the Make Whole Payment aggregation.

Observer reiterated previous point that the bid is at the ICs discretion whereas GUs must bid based on the requirement of the BCOP. Electroroute representative drew reference again to the potential hampering of cross border trading. Observer said that where the link between costs of adjacent markets and bidding behaviours is lost, then the price coupling effect may also be diminished.

Observer stated that opportunity for exports based on price spread between the two markets, are expected to be concentrated at night time, which limits the exposure to Uplift. This is because Uplift is higher during evening peak time. Currently exports are observed across the entire day, which appears contrary to the concept of efficient cross border flow and the social welfare gains it is intended to bring. Observer expressed the view that in their own analysis Exports without Make Whole Payments are possible. For a specific period, ElectroRoute accounted for only 40% of the Exports but 100% of the MWPs and emphasised that other exporters were not relying on the MWPs to recover costs. Observer expressed the view that it should be possible for Electroroute to continue to export without relying on MWPs. Electroroute representative expressed concern that there is a fundamental disjoint in the market and that there is a lack of clarity from the original design. Observer sought clarifications from Electroroute in relation to whether the problem is regarding different price signals resulting in netted import and export settling at different rates or Interconnector Users receiving make whole payments whenever already whole or better in aggregate across gate windows.

Electroroute representative advised that the issue is around the prices applied by the dispatcher. Observer reiterated concern that both the pay/paid as bid and removal of netted trading periods approaches could keep the Uplift exposure with the consumer as opposed to the trader who chose to make the trade and has control over the bids that govern it..

MO Alternate expressed the view that aggregating across the 3 gates may be a more appropriate course of action as Interconnector Units for individual Gates were only designed as a mechanism to implement IDT requirements. They also noted that prior to IDT it was not possible isolate trading periods with a positive contribution to MWP from those with a negative contribution to MWP. MO alternate added that there wasn’t an intention to introduce this scenario, but rather that this was a practicality of implementing IDT.

MO alternate stated their belief that the equivalent of a generator unit is an Interconnector User, not the Interconnector Unit. Electroroute representative expressed the view that in that case the trader would be liable to significant uncompensated risks. Observer reiterated that these would not be uncompensated, but they would be compensated only when necessary, due to not being whole in aggregate in relation to their bids, in line with all other Generator Units.

Electroroute representative advised that before IDT there was no export trading as there was only 1 trading window.

MO Alternate advised that removing periods of simultaneous Import/Export is against the principle of superpositioning which was introduced into the IDT detailed design at the request of IC traders.

Removing those periods from the Make Whole Payment aggregation will create scenarios where trading periods with large import and minimal Export would be excluded and vice versa. This means that periods where MWP should apply are excluded from the recovery and the trader is exposed to Uplift. Vice versa, periods where the Interconnector Unit has already been made whole would not be considered in the MWP calculation, therefore resulting in an overecovery. This is different from other generator units and seems at odds with the proposer intention for the mod.

MO Alternate provided the IA results that had been procured by SEMO IT at the request of the Committee at the previous Modifications Committee Meeting:

- Mod_09_14 Amendment to MWPs for ICUs: Cost for the first proposal in isolation: €61,030

- Mod_10_14: Assessment for the change against the current Production system €20,060  hours

- Assessment for the change against the amended functionality (i.e. should the calculation amendment option be considered first and the removal after). €20,910 – (this would be in addition to the above estimate of €61,030 for Mod_09_14)

Discussion ensued in relation to whether a vote taking place in January would delay implementation of whichever proposal was approved. The Committee did not feel comfortable to vote on any of the four MWP proposals at the Meeting and requested further information on the proposals from the RAs and Electroroute.

Generator Member expressed the view to see the impact of the proposals in relation to whether exports could continue, impact of curtailment of wind generation and further explanation of social welfare analysis presented by Electroroute. Generator Member expressed the need to see further RA analysis as to whether all of the MWPs are associated with exporting. Chair concluded the discussion advising that the issue must be urgently addressed and that more information on all of the proposals is necessary, prior to scheduling an extraordinary meeting/call with Participants in mid-January.

## Meeting 59 – 12 february 2015

A number of members and observers expressed concern at the lack of detailed response from the RAs. RA Member advised that they have provided their rationale for the proposals and these are now within the domain of the Modifications Committee. It is up to the Committee to deliberate the issues and decide how best to proceed. RA Member welcomed Committee views on what the RAs could have done differently when submitting their two proposals on MWPs.

IC representative proposer expressed the view that there is a need for a higher level of engagement in the discussion from the RAs as proposer. Supplier Member expressed the view that what the RAs have done when raising the proposals is absolutely correct, however expressed the view of the necessity for the RAs to engage in the discussion as proposer of 2 of the MWP proposals. RA Member advised that some of the questions posed were fundamental market design issues, and that these concerns are best addressed by the Modifications Committee.

MO Member delivered a presentation covering the mechanism of Make Whole Payments (MWPs) in the SEM. This presentation covered the rationale behind the payment and also provided Market Operator comments regarding the four relevant modifications. MO Member advised that for the purposes of the Code, MWPs was intended to be an occasional payment in the exceptional circumstances where costs are not recovered, through energy payments and uplift. Units with Negative schedules, such as Pumped Storage or IC units exporting, are instead exposed to Uplift and they might not recover their costs; however the IC users is considered equivalent to a Generator Unit not the individual IC Gate Unit. Gate Units were created to respond to the IDT design need to firm schedule amount for IC in each Gate. MO Member further advised that the MWP amounts that are paid out on a weekly basis, are then recovered through the imperfections charge and provided examples of current payments for sample units. Questions were taken throughout and after the presentation addressing the various positions regarding these modifications with a separate afternoon session to continue the discussion.

Chair asked whether increases in MWP were due to IDT. MO member showed in the graph that the increase was not a direct consequence of IDT because it happened nearly one year after IDT went live. Chair suggested that this time lag does not necessarily rule out IDT as an explanatory factor.  MO Member also explained the unusual nature of the highest payments all referring to the Ex-Ante 2 Gate of the same Party; MWP were not intended to be a regular payment stream.

MO alternate said that large increase of MWP seemed to coincide with increase in netting import and export volumes at different Gates. Observer replied this was due to the growth in the company.

DSU Member queried as to where constraint payments fit into the MWP mechanism. MO Member advised that constraints do not fit in to the MWP mechanism and that just the energy payments are taken in consideration.

Generator Member sought clarification in relation to unlimited exports of IC Users due to superpositioning introduced by IDT, querying as to whether IC Users are limited as to the amount an IC User can import and export. MO Member advised that as long as there is enough capacity on the opposite side, IC Users are not limited by IC capacity due to superpositioning.

IC representative proposer drew attention to disjointed price signals within the SEM and the significant ex-post price risk IC Units face when exporting however expressed agreement that there is an issue that needs to be addressed. MO Alternate drew attention to the issue of IC User’s bids import bids being lower than export bids.  MO Member advised that other exporters on EWIC do that without the need for MWPs. GU member said that they were the 2nd largest exporter on IC and they did not get MWP. IC representative proposer expressed the view that it is the nature of the self-dispatch versus central dispatch aspect of the market and they would welcome a debate on this.

Discussion ensued in relation to netting volumes, IC representative proposer explained that the import would be paid SMP and the export paid via MWPs at a different lower rate, and that does amount to a difference in payments. MO member advised that this did not affected recovery of costs; netting would still allow MWP where necessary as demonstrated in the presentation graphs. Discussions continued on the nature of costs to be recovered via Uplift that are specific to standard Generator and whether IC Users should rely on MWP or they should find ways of edging their risks differently. Observer questioned whether Suppliers should be getting MWP as well given that IC users act as a Supplier when exporting.

In conclusion of the morning session the Committee rejected proposals MOD_10_14 Removal of MWPs for IC Units and MOD_11_14 Pay as bid/Paid as bid for IC Units on the basis that neither were considered viable solutions to the issue identified, leaving two remaining modifications for further discussion following the break, Mod_09_14 and Mod_12_14.

Chair drew reference to the issue of discrimination that had previously been raised by ElectroRoute, advising that as stated in the SEMO MWP slides, APTG, VPTG and PPTG’s do not receive MWPs and observer mentioned that it is common to have different rules for different unit types.

On the recommendation of the Chair, the afternoon session aimed to discuss the different variants between the two remaining modifications. Chair queried as to whether SEMO had a preference between the 2 proposals that remain open for discussion. MO Member expressed the view that it is up to the Committee to decide on the most suitable approach and the MO can facilitate any of the proposed MODs. IC representative proposer expressed IC representative proposer preference for Mod_12_14.

Supplier Member drew attention to the urgency of the necessity to address the issue. Chair agreed and expressed the view that the Committee have recognised the urgency. IC representative proposer advised that they welcome the debate and are of the view of a need for an appropriate forum with input from the RAs to be established for the relevant parties to deliberate the fundamental issues. Generator Member expressed the view that a Working Group would not be beneficial as there would be no additional information for this specific issue and that an Extraordinary meeting would be a more appropriate forum. Further advised that the SEMO presentation was very useful in assisting in understanding the background to MWPs. The Committee were in agreement that a WG would not be beneficial and agreed to convene an Extraordinary Meeting.

Supplier Member proposed suggestion of taking the shadow price instead of Market Offer Price in addition to the aggregation proposed in MOD_09_14 which may address IC Users concerns. Generator Member drew attention to potential amendments to Mod_12_14 on a trading period basis.

Chair requested inputs and comments from other IC users. Observer said that they were satisfied that MOD_10_09 had been rejected and that they would agree with either of the remaining options.

MO Alternate advised that the issue is that, removing TPs of simultaneous Import and Export, could carry an under or over-recovery that is then disregarded. Observer agreed with MO alternate that MOD_12_14 would undo IDT by limiting freedom of trades between Gates.

Observer advised that the trading of exports on the IC is a separate issue. Observer acknowledged that there are flaws within the SEM.

Following this discussion it was agreed by the Committee that the appropriate next steps would be to allow two weeks to develop the proposed alternative version of MOD_09_14 by Supply Member and a potential new version of Mod_12_14 by the proposer encompassing the suggestions discussed during the meeting. Both proposers have agreed to engage with SEMO in order to progress an Impact Assessment of the revised Mods and to discuss potential consequences of the changes. Before the next meeting an Extraordinary meeting will also be held to discuss the modifications with a view to progressing this issue. Actions are recorded under the respective Modification Proposals.

# Proposed Legal Drafting

As set out in Appendix 1 below.

# LEGAL REVIEW

Complete

# IMPLEMENTATION TIMESCALE

It is proposed that this Modification is not implemented as the Modifications Committee have Recommended it for Rejection.

# Appendix 1: Mod_11_14 pay as bid/paid as bid for interconnector

| MODIFICATION PROPOSAL FORM |
| --- |
| Proposer | Date of receipt | Type of Proposal | Modification Proposal ID |
| ElectroRoute Energy Trading Limited | 20 November 2014 | Standard | Mod_11_14 |
| Contact Details for Modification Proposal Originator |
| Name | Telephone number | Email address |
| Eamonn O’Donoghue Ronan Doherty | +353 (0) 1 687 7122 | ronan.doherty@electroroute.com eamonn.odonoghue@electroroute.com |
| Modification Proposal Title |
| Pay-As-Bid / Paid-As-Bid for Interconnector Units |
| Documents affected | Section(s) Affected | Version number of T&SC or AP used in Drafting |
| T&SC | T&SC 5.91 | T&SC 16.0 |
| Explanation of Proposed Change (mandatory by originator) |
| The purpose of this modification is to amend the code to remove disjointed price signals by introducing a Pay-As-Bid/Paid-As-Bid settlement process for all Interconnector Units |
| Legal Drafting Change (Clearly show proposed code change using tracked changes, if proposer fails to identify changes, please indicate best estimate of potential changes) |
| Settlement 5.91 Following calculation of the values for Eligible Availability (EAuh), Market Schedule Quantity (MSQuh), Dispatch Quantity (DQuh) and Metered Generation (MGuh), and, for Interconnector Residual Capacity Units, Constraint Payments (CONPuh) as above, the Market Operator shall procure that Settlement: 1. for each Interconnector Residual Capacity Unit and Interconnector Error Unit will otherwise be conducted in accordance with Section 4. 2. for each Interconnector Unit will otherwise be conducted in accordance with Section 4, except that for the purposes of Settlement, Market Schedule Quantity (MSQuh) shall be set equal to 0 (zero)." |
| Modification Proposal Justification (Clearly state the reason for the Modification) |
| Background and Justification The current design of the SEM does not treat imports from and exports to the neighbouring GB market equally. The Regulatory Authorities have been aware of the issues that this disjoint raises for some time, and indeed the proposer of the current modification presented on these topics to the Regulatory Authorities last year. Given the island of Ireland’s significant potential as an exporter of electricity and the importance of cross-border trade at a European level the proposer welcomes renewed attention on this important topic and would hope to see positive steps emerge towards improving the efficiency of the international energy import/export arrangements. The essential problem for exporters from the SEM market is that the core market design dictates that the participant is locked ahead of time into a fixed flow volume, whilst simultaneously having no control over its costs due to the ex-post uplift mechanism. The Make Whole Payment mechanism in the T&SC was designed to address this failing and ensure that efficient cross border trade in both directions is possible. On 14 November 2014 the Regulatory Authorities raised two T&SC modifications aimed at reducing total Make Whole Payments (MWPs), justified on the basis that the MWP costs have increased by €2-3m per annum over the last two years, and the consequent effect that this has had on the Imperfections Charge to the market (which including other contributing factors totalled roughly €180 million in the same period). The modifications that the Regulatory Authorities proposed address this recent increase in imperfection charges by reducing or removing Make Whole Payments to Interconnector Users. The proposer believes that the impact of the Regulatory Authorities’ modification proposals, if enacted, would be to radically reduce exports from SEM into GB. Whilst the issues are complex and multi-faceted, the key aspects are broadly outlined below: Make Whole Payments are inextricably linked to export flows from the SEM to the GB market. A recent increase in Make Whole Payments relates to an increase in export trade activity from the SEM market. With the SEM and GB market converging in price over the coming years, export trades will become an increasingly important and permanent aspect of the SEM market. The proposer estimates there may be around €500 million of export trades between now and the go-live of the I-SEM market. Given the scale of this figure, its value to the SEM, its value to the Irish economy and the role interconnector export has in reducing undue wind curtailment, it is vitally important that the SEM has the most appropriate mechanism with respect to export trades. The unconstrained market schedule is rarely an accurate reflection of Dispatch Quantities (DQs) for any given unit in the SEM. For example at any time an out-of-merit generator may be dispatched at above its Market Schedule Quantity (MSQ) if the System Operator chooses. If remunerated at only System Marginal Price the example generator will not recover its costs, but this shortfall is recognised by the T&SC and the generator receives constraint payments from SEMO in order to make it whole. For Interconnector Units, Make Whole Payments fulfil an equivalent role: namely to prevent the Interconnector Unit from being compelled to flow at an uneconomic price. This is because Interconnector units are the only units in the SEM to have their volumes fixed in the ex-ante time frame. As such export purchases from the SEM market are exposed to significant ex-post price risk. For example an interconnector trader can bid in to export at a price of €50/MWh and be dispatched, fixing its volume in the ex-ante time frame. At times, the same volume could eventually be charged €250/MWh ex-post (or more depending on the outcome of the uplift mechanism). This represents a price far in excess of what the interconnector user stated that it would be willing to pay. Make Whole Payments have a simple but vital role in correcting this over charge. A change to the constraint payment mechanism within the T&SC with regards to generators would be considered momentous, and similarly any change in the Make Whole Payment principle should be understood to represent a targeted intervention discriminating against interconnector units in the SEM compared to generator units. As well as being out of step with national and European legislation and guidelines encouraging cross-border trade, this is also directly contrary to the stated Code Objective: “to ensure no undue discrimination between persons who are parties to the Code” (see T&SC 1.3.6). The relevant disjoint in the market design relates to the price signals the SEM gives to import trades and export trades respectively. Assuming that import trades and export trades are executed from different ex-ante gates, at present the respective price signal can be simplified as follows: Import Trade Price Signal based on : SMP + CPGP Export Trade Price Signal based on: Bid Price + CPGP Both price signals are undoubtedly valid in of themselves, with the export price signal closer to pure “social welfare maximising” market principles. However, the discrepancy in price signals can at times result in import and export flows being rationally dispatched in different ex-ante gates in the same half hour period. This netted flow and its interaction with the Make Whole Payment mechanism gives rise to the concerns expressed by the Regulatory authorities Mod_09_14. The proposer strongly opposes the discriminatory removal of Make Whole Payments for a single class of generator units. However, the proposer does agree with the regulators there is no need for netted import/export volumes across the interconnector to be eligible for Make Whole Payments. Such netted volumes are in a class of issues which includes the “flow-based” versus “flow-based-intuitive” debate in Continental Europe at present. The proposer believes there are two clear ways of eliminating the disjoint in the market without unduly hampering efficient cross border trading or discriminating against any particular class of market participant: Remove the netting import/export periods from the Make Whole Payment mechanism This allows interconnector unit to simply arrange trades by deciding what periods of the day they wish to import and export. The Make Whole Payment mechanism would no longer be exposed to payments where import and export volumes are scheduled simultaneously in the same period. The proposer believes that this represents the most practical fix to the issue. This approach is subject to a separate alternative modification by the proposer entitled “Amendment to Make Whole Mechanism to remove Settlement Periods of simultaneous import and export flows”. Elimination of the disjointed import/export price signal by moving all interconnector units to a pay as bid principle in the SEM Alternatively the issue could be resolved by moving all interconnector units to a “pay as bid / paid as bid” mechanism in the SEM. This will eliminate the disjointed price signal and ensure that there is only one dominant trade direction in each half hour period. A “pay as bid / paid as bid” mechanism will remove the significant ex-post price risk interconnector units face and will effectively remove them from the Make Whole mechanism entirely. At current market prices this approach would likely result in a positive contribution to the imperfection charges pot. This approach is the subject of this modification proposal. Note on the intent of the legal drafting above This modification proposal attempts to codify the principle of pay-as-bid / paid-as-bid for Interconnector Units. The proposer notes that such a mechanism is already seen in the T&SC with regard to constrained-on generators, and hence rather than attempt to make large bespoke changes to the settlement mechanics for interconnector units the proposed modification instead treats Interconnector Units as always constrained-on (i.e. it sets the Market Schedule Quantity for an Interconnector Unit for Settlement purposes to be zero). Working Group It appears that attention has only been paid to these topics in recent times due to the increase in export flows and the introduction of the intra-day market whereby the Regulatory Authorities have observed an increase in payments from the Make Whole mechanism. However, given the importance of the area and the volume of trade (€500M) in this direction over the next three years it is important to clarify and if necessary rectify the market design in this regard. Given the significantly distorting effects of the Regulatory Authorities’ proposed modifications (Mod_09_14, Mod_10_14) on cross-border trade, the proposer suggests that a working group be established to review this preferred modification proposal and the complete suite of related issues before arriving at a final recommendation. |
| Code Objectives Furthered (State the Code Objectives the Proposal furthers, see Section 1.3 of T&SC for Code Objectives) |
| to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market; to ensure no undue discrimination between persons who are parties to the Code; to promote the short-term and long-term interests of consumers of electricity on the island of Ireland with respect to price, quality, reliability, and security of supply of electricity. |
| Implication of not implementing the Modification Proposal (State the possible outcomes should the Modification Proposal not be implemented) |
| Market will continue as is with pricing dynamics at times giving rise to netting interconnector trades the volumes from which will continue to enter the Make Whole Payment mechanism |
| Working Group (State if Working Group considered necessary to develop proposal) | Impacts (Indicate the impacts on systems, resources, processes and/or procedures) |
| Working group considered necessary | Suggest impact similar to Regulatory Authorities’ Mod_09_14 – Basic amendment of Make Whole mechanism algebra - €61K |
| Please return this form to Secretariat by email to modifications@sem-o.com |