## Slide 1
Transmission Outage Planning (TOP)
Dairíne Frawley
MOST 11 September 2019

## Slide 2
COPYRIGHT NOTICE
All rights reserved. This entire publication is subject to the laws of copyright. This publication is confidential and sole property of EirGrid plc and SONI Limited. No part of this publication may be reproduced or transmitted in any form or by any means, electronic or manual, including photocopying without the prior written permission of EirGrid plc and SONI Limited. © SONI Limited / EirGrid Plc 2019
DOCUMENT DISCLAIMER
This manual is intended as a guide only. Whilst every effort is made to provide information that is useful, and care is taken in the preparation of the information, EirGrid plc and SONI limited give no warranties or representations, expressed or implied, of any kind with respect to the contents of this document, including, without limitation, its quality, accuracy and completeness. EirGrid plc and SONI limited hereby exclude, to the fullest extent permitted by law, all and any liability for any loss or damage howsoever arising from the use of this document or any reliance on the information it contains. Use of this document and the information it contains is at the user’s sole risk.

## Slide 3: Agenda
Transmission Outage Planning Overview
Examples of transmission constraints:
  1. Cork Constraint
  2. West Constraint
  3. South West Wind constraint due to Forced Outage of Moneypoint T4201 transformer

## Slide 4: Transmission Outage Planning
Transmission
Outage
Programme
Outage
Scheduling
Process
CAPX Requirements
Maintenance Requirements
Generation Outage Plans
Customer Preferences
Demand Forecast
TOP Assumptions
Security Criteria
Outage season: end Feb – end Nov
Transmission outages required for maintenance & to progress grid development
Planned and Forced Outages can constrain generation

## Slide 5: Example 1: Cork Constraint
KRA
220 kV
AD
220 kV
LP
220 kV
GGO
220 kV
RAF
220 kV
MID
110 kV
WHI
110 kV
AD
110 kV
COW
110 kV
RAF
110 kV
TBG
110 kV
MR
110 kV
KBY
110 kV
KRA
110 kV
CVW
110 kV
444 MW
3x90 MW
431 MW
220 kV
110 kV
Unavailable
1,145 MW Total
Constrained to 590 MW
Overlapped with AD2 outage therefore constraint reduced from 555 MW to 125 MW

## Slide 6: Example 2: West Constraint
384 MW
590 MW
974 MW Total
No path to 400 kV network
Constrained to 800 MW
Overlapped Planned and Forced outages

## Slide 7
110 kV
Example 3: Moneypoint T4201 Forced Outage

## Slide 8
110 kV
Example 3: Moneypoint T4201 Forced Outage
Solution: Accelerate transfer of Moneypoint T4202

## Slide 9: Further Information
Outage information available on EirGrid website
  Latest version of 2019 Transmission Outage Programme
  Transmission Outage summaries for upcoming fortnight also published
All-Island Ten Year Transmission Forecast Statement contains:
  Transmission Network Maps
  PSS/e raw data for network modelling

## Slide 10
Thank You
Questions ?