## Slide 1: Mod_04_10 : Addition of Fuel Flag to Dispatch Instruction Data Transaction Working Group
<number>
Notes: *
*
<number>##

## Slide 2: Recap of Modification
<number>
Proposal to include a field denoting the Fuel Type issued with the Dispatch Instruction by the TSO
Change to Dispatch Instruction feed
Notes: *
*
<number>##

## Slide 3: Recap of Modification
<number>
Table K.15 – Dispatch Instruction Data Transaction Data Records
Participant Name
Participant ID (Not submitted for SO Interconnector Trades)
Unit ID
Instruction Timestamp
Instruction Issue Time
Instruction Code
Instruction Combination Code
Ramp Up Rate
Ramp Down Rate
Dispatch Instruction MW
Fuel Type
Notes: *
*
<number>##

## Slide 4: Recap of Modification
<number>
Data to be used by SEMO systems in future Fuel Mix disclosure calculations
Would Integrate previous manual submission of data from TSOs into Central Market System
Approach chosen as being more auditable and less prone to error
Notes: *
*
<number>##

## Slide 5: Progress through Modifications Committee
<number>
Raised for Meeting 26
  SEMO requested modification to be deferred as TSOs requested further discussion on alternative implementation
Discussed at Meeting 27
  RA representative gave an update on RES Directive indicated summer 2010 was earliest possible implementation date for secondary legislation
  SEMO and TSOs were requested to procure full Impact Assessments
Notes: *
*
<number>##

## Slide 6: Discussion in Meeting 28
<number>
Discussed at Meeting 28
  SEMO gave details of full impact assessment as being €26k
  TSO gave an assessment of the impact on the TSO systems as “medium”
Notes: *
*
<number>##

## Slide 7: SEMO Impact Assessment Details
<number>
  The following Fuel Types will be available in new Fuel_Type field is the Dispatch Instructions table:
    OIL
    GAS
    COAL
    MULTI (Multiple Fuel)
    WIND
    HYDRO
    BIO (Biomass)
    CHP (Combined Heat and Power)
    PUMP (Pumped Storage)
    PEAT
    NUCLR (Nuclear
    DISTL (Distillate)
    NA (Not Applicable)
  Fuel_Type will be added to Daily Dispatch Instructions D+1 public report
  MOI Interface will show new field
Notes: *
*
<number>##

## Slide 8: Discussion in Meeting 28 (cont’d)
<number>
Discussed at Meeting 28
  SEMO gave details of full impact assessment as being €26k
  TSO assessed impact as “medium”
  SEMO stated preference to continue with manual calculation
  Discussion around enduring fuel-mix disclosure arrangements
  Modification only relates to dispatchable generators, therefore Autonomous and non-market generation will not be accounted for under this modification
Notes: .
*
*
<number>##

## Slide 9: Additional Information
SEMO has compared the quality of the Fuel Mix Calculations using the TSO DIs and the EPA fuel consumption figures and the results are:
This shows that the DIs can be used as a reasonable approximation

## Slide 10: Points for Discussion
DIs are acceptable for Fuel Mix calculation
Autonomous and non-market generation Fuel data not covered under this modification