## Slide 1: Future proofing the Modification- ESBCS
How will the flag be used and for what?
Can a mixed fuel unit know if it should have the flag on or off if burning some biomass?
If the flag can be a percentage, how accurately does the percentage have to be calculated?
Note:
Burning bio fuels may require “oil support” for stable combustion. Other fuel units, like the coal or peat units, will occasionally use a mix of main fuel and oil for combustion support. The exact mix is difficult to specify but it will affect the average carbon intensity.

## Slide 2
There is already an EPA scheme for trading carbon allowances and those generators’ carbon emissions are worked out differently to using a dispatch fuel flag. This will create inconsistencies.
How will non-dispatched autonomous generators be handled?
How will non-participant (de-minimus) Generators be handled?

## Slide 3
How will uninstructed imbalances away from dispatch be handled?
How will instructed imbalances away from MSQ be handled: Will there be a mis-match between pool tradable energy for CfDs and “flagged” greenness?
How will start-up energy be handled? How will energy used after dispatched de-synchronisation be handled?