## Conference Call Note:

## Mod_04_11

## Removal of a requirement that a Demand Site in a DSU shall not have an MEC

23 March 2011

14:30-15:30

Completed actions from Meeting 33 regarding Mod_04_11 Removal of a requirement that a Demand Site in a DSU shall not have an MEC:

- Proposer to send Secretariat additional scenario examples for circulation to the Modifications Committee

- Secretariat to schedule Conference Call to discuss scenarios.

The purpose of this Conference Call was to discuss scenarios provided by Modification Proposal proposer in an effort to aid Participant understanding of proposal.

Scenarios are published on the SEMO website under the title “Rationale for DSU with MEC”.

Discussion:

Proposer outlined scenario examples which capture a number of possible situations.

Supplier Member questioned whether the MDPs had any issues with the proposal. One NIE MDP stated they had no particular issues with the proposal and found the examples sufficient in explicating the proposal. ESB Networks MDP was unavailable for comment.

An SO representative stated that it is necessary for a Grid Code Modification to be raised.

Reference made to GASOA with regard to Aggregated Generator Units. Agreement to be sought with Distribution System Operator prior to export. Proposer in agreement that DSO is informed prior to operation of a DSU.

SO Member commented that if a larger number of DSU sites were to operate and export in the Market, this could result in future problems for distribution.

SO Member agreed with Activation Energy Representative that there are benefits to the Market, however it is necessary to control units.

SEMO advised they are satisfied with proposal, subject to final review in advance of Meeting 35.

NIE MDP commented that Demand Side Reduction exporting has no impact on MDPs, as this is the responsibility of SEMO.

SEMO stated that MDP systems must be able to meter export quantity. NIE MDP further commented that non-participating generation is netted off a Supplier.

Actions:

- MDPs to assess from Demand Side and provide update at Meeting 35.

- Fingleton & White to propose Modification to the Grid Code.

- TSOs to arrange meeting with relevant parties in advance of Grid Code Modification Proposal.

- Communication of meeting to be issued via Modifications Committee Secretariat.