## Slide 1: Modification Proposal Mod_11_12
Gaelectric Energy Storage Presentation to Modifications Committee
29/05/2012

## Slide 2: Agenda
Proposed Modification
Compressed Air Energy Storage
Unworkable Options

## Slide 3: Proposed Modification
Current Definition: “means a Generator Unit or Supplier Unit that is subject to special treatment in accordance with the rules for Special Units set out in Section 5. The Units concerned are Interconnector Units, Energy Limited Generator Units, Pumped Storage Units, Autoproducer Units, Generator Units Under Test and Demand Side Units.”
Aim: To work with SEMO, TSOs & RAs to come to an equitable position for CAES in the T&SC as a Special Unit.
To extend the definition of Special Units in the Trading and Settlement Code to include Compressed Air Energy Storage.

## Slide 4: In conjunction with…
“However other forms of storage such as compressed air storage are becoming available and the rewards and value to the system of system level storage needs to be reviewed. To this end the SEM Committee will request that the TSOs undertake a review covering payments for system wide storage and provide recommendations to the SEM Committee.”
Demand Side Vision 2020 Decision Paper (SEM-10-052)

## Slide 5: Agenda
Proposed Modification
Compressed Air Energy Storage
Unworkable Options

## Slide 6
Compression Train
Generation Train
Well Head
Storage Cavern
Gas Input
Electricity Input
Electricity Output
CAES Technology

## Slide 7: Agenda
Proposed Modification
Compressed Air Energy Storage
Unworkable Options

## Slide 8: Unworkable Options
Pumped Storage:
  TOD= Pumped Storage Cycle Efficiency (PSCEut)
    CAES is dual fuel (each consumed at different times); Resulting in two efficiency metrics.
    CAES must account for variable cost of Natural Gas
Demand Side Units
  Demand Site shall house final customer
    CAES Demand Site is not a final customer
    Generated Electricity >De Minimis
Energy Limited Generators
  Proposed CAES plant has ability to generate as and when required and is not therefore subject to a physical energy limit on its store.