T&SC Modifications Committee

Final Recommendation Report (FRR)

Mod_12_09:

Loss Adjustments in Constraint and Make Whole Payments

Version 1.0

21 December 2009

Table of Contents

1.	Background	3

2.	Purpose of Proposed Modification	3

2a. Justification for Modification (from Original Modification Proposal Form)	3

2b. Impact of not implementing a solution	3

3.	Impact on Code Objectives	3

4.	Development Process	3

5.	Assessment of Alternatives	4

6.	Working Group and/or Consultation	5

7.	Impact on other Codes/Documents	5

8.	Impact on Systems and Resources	5

9.	Modifications Committee views	5

Meeting 21 Modifications Committee views	5

Meeting 22 Modifications Committee views	5

Meeting 23 Modification Committee views	6

Meeting 24 Modifications Committee views	6

Meeting 25 Modifications Committee views	6

Views of Voting Members	7

Supplier Member - Stephen Walsh, ESB CS:	7

Generator Member - Grainne O’Shea, ESB PG:	7

Supplier Alternate - Jill Murray, Bord Gais Energy:	7

Supplier Member & Chair - Iain Wright, Airtricity:	7

Recommendation	8

10.	Proposed Legal Drafting	8

Legal Review	8

11.	Implementation Timescale, Costs and Resources	8

12.	Appendices	9

Appendix 1 – Original Proposal	9

Appendix 2 – Alternative & Combined Proposals	12

Mod_45_09	12

Mod_45_09 marked up	13

Appendix 3 – Working Group Report	16

- Background

The Modification Proposal was received by the Secretariat on 16 March 2009 and presented at Meeting 21 of the Modifications Committee on 2 April 2009 at which the Modification Proposal was deferred. The Modification Proposal was addressed at meetings 22, 23 and 24, and voted on at Meeting 25 of the Modifications Committee on 3 December 2009.

- Purpose of Proposed Modification

2a. Justification for Modification (from Original Modification Proposal Form)

The modification is needed in order to align the methodology that Generator Units use to recoup the cost of transmission losses associated with Offers for No-Load and Start-Up with that used to recoup transmission-loss costs reflected in Price-Quantity Pairs.

The proposal is linked to the SEM Committee Direction SEM-08-179 which directs that the incremental cost of transmission losses must be reflected in Price-Quantity pairs, and that it is intended to direct this also should be the case for No-Load and Start-Up Costs once this Modification is implemented.

In the interim there is an inefficiency in the calculated values for Uplift because the Generator Units may not reflect transmission losses in their Start-Up and No-Load costs, in accordance with the standing interim Direction.

2b. Impact of not implementing a solution

The implications of not implementing the Modification include:

- Continued inefficiency in the calculated Uplift values that are computed for each Trading Period.

- Continued lack of alignment between the Trading and Settlement Code and the Bidding Code of Practice/SEM Committee Decisions, and concurrent continued lack of simplicity.

- Impact on Code Objectives

The proposed modification would the following Code Objectives:

1.3.5	to provide transparency in the operation of the Single Electricity Market;

1.3.6	to ensure no undue discrimination between persons who are parties to the 	Code

- Development Process

The Modification Proposal was first presented by the Market Monitor at Meeting 21 of the Modifications Committee on 2 April 2009 where it was agreed that the Generators would provide SEMO with an update of the materiality of any under recovery of Start Up and No Load costs prior to SEMO conducting any further analysis for the Proposal.

The Modifications Committee agreed at Meeting 22 on 4 June 2009 to issue a letter to the SEM Committee in response to General Direction (SEM-08-179). The Committee in its recommendation suggested that the SEM Committee consider revisiting the Modification Proposal in light of the RA review of locational signals and the level of analysis and Impact Assessment necessary to consider the Modification Proposal.

A letter of response was received from the SEM Committee and discussed by the Modifications Committee at Meeting 23 on 28 July 2009. There was a request by the SEM Committee to defer the Modification Proposal to allow the SEM Committee to further consider the issue.

An update was provided by the RAs at Meeting 24 of the Modifications Committee on 29 September 2009, the RAs requested that the Modifications Committee follow due process and come to a decision on the Proposal, Mod_12_09, and include their views as outlined in the letter to the SEM Committee in the Final Recommendation Report. ESBPG put forward an alternative option to Mod_12_09 at Meeting 24. The Committee agreed to schedule a Working Group to assess the options.

A Working Group was scheduled post Meeting 24 to consider three options with the aim to have an agreed position on the preferred option(s) in advance of Meeting 25 of the Modifications Committee. The original Proposal, the alternative option and a third option were presented to the Working Group (see Appendix 3 of this report for Working Group Report). It is noted that the third option considered the implications of not proceeding further until the ongoing review of locational signals was complete. There was general agreement that it was not necessary to wait until the locational signals review was complete and SEMO were asked to seek a high level Impact Assessment on Option 1 (Mod_12_09) and Option 2 (ESBPG alternative) in advance of the upcoming Modifications Committee meeting. In addition, further consideration of Options 1 and 2 was required via a worked example and this was provide by SEMO following the Working Group meeting.

ESBPG presented an alternative Modification Proposal (Mod_45_09) at Meeting 25, amounting to a slightly reworked version of their previously presented Option 2 discussed at the Working Group. SEMO provided the results of a high level Impact Assessment and a synopsis of both Modification Proposals to the Committee. The Committee agreed to take a vote on both proposals.

- Assessment of Alternatives

Following the presentation of a second option by ESBPG to the Modifications Committee at Meeting 25, a Working Group was scheduled for 15 October 2009 to consider three options available at the time, the first being the option as presented in the original Modification Proposal, the second being the alternative raised by ESBPG, and the third effectively optioning to do nothing pending the outcome of the locational signals review.

ESBPG raised a subsequent Modification Proposal (Mod_45_09) at Meeting 25 of the Modifications Committee on 3 December 2009. Mod_45_09 was recommended for approval by majority vote of the Modifications Committee.

- Working Group and/or Consultation

A Working Group was held on 15 October 2009 (please see appendix 3 of this report for further detail).

- Impact on other Codes/Documents

General Direction SEM-08-179 – This Proposal would require that D.2. in Section 6 be repealed, to be replaced with the draft <D.5>.

Grid Code – This Proposal would require a modification to the Grid Code as outlined in Annex 2 of SEM-08-179.

- Impact on Systems and Resources

The Modification Proposal will impact on SEMO systems. A high level Impact Assessment was sought by SEMO from the vendor following the Working Group, the results of which were provided for the Committee’s consideration at Meeting 25 on 3 December 2009. Indicative cost estimates result in Central Market System changes of less than €37k. Generators COD calculation processes would also be impacted.

- Modifications Committee views

Meeting 21 Modifications Committee views

The Market Monitor presented the Modification Proposal to the Modifications Committee. Concern expressed by the MO Alternate regarding the principle of the Modification Proposal with a suggestion to investigate possible alternative options. SEMO representative advised that the Modification Proposal would result in changes to the Central Market Systems. Generator Member objected to the suggestion of further assessment of the Modification Proposal given that the RAs were conducting a review on the policy for losses. Concern was expressed among Generator Members that currently Generators may not recover their full Start Up and No Load costs through SMP. Generators agreed to provide information to SEMO on the materiality of any shortfall prior to the Market Operator commencing further work on the Modification Proposal. The Chair suggested the RAs reconsider the date of implementation of the SEM Committee Direction. The Modifications Committee agreed to defer the Modification Proposal.

Meeting 22 Modifications Committee views

SEMO received one response from Generators. One Generator Member advised he had sent the analysis to the Market Monitoring Unit following a misunderstanding from Meeting 21 and agreed to forward the information to SEMO post Meeting 22. The Committee agreed to send a letter for the SEM Committee requesting a review of SEM Direction SEM-08-179. The Modifications Committee deferred the Modification Proposal.

Meeting 23 Modification Committee views

An update was provided by the Secretariat following a letter of response from the SEM Committee to the Modifications Committee letter (please see appendix 3 for the Working Group Report containing copies of letter). RAs requested further time to discuss the Modification Proposal with the aim of providing an update for September Modifications Committee Meeting (Meeting 24).

Meeting 24 Modifications Committee views

The RA Member provided an update following further consideration by the SEM Committee requesting the Modifications Committee to follow due process and vote on Modification Proposals and produce an FRR rather than request the SEM Committee to amend or withdraw General Direction SEM-08-179. ESBPG put forward alternative algebra to the Modifications Committee proposing to adjust a constraint in the Uplift calculation to ensure market prices reflect that units are settled on their loss adjusted quantities. The Modifications Committee was in agreement that an inconsistency existed in the market pricing and settlement and there is a necessity to explore the options to correct this. The SEMO Alternate advised that both the original proposal and the potential alternative as proposed by ESB PG would have systems impacts. The Committee was in agreement that a Working Group be scheduled with the aim to have an agreed position and impact assessment carried out on the preferred option(s) in advance of Meeting 25 of the Modifications Committee on 3 December.

Meeting 25 Modifications Committee views

ESB PG presented an alternative Modification Proposal Mod_45_09 to the Committee. The Proposer presented the benefits of Mod_45_09 in comparison to that of Mod_12_09. The SEMO Alternate presented the results of a high level impact assessment for both options and a recap from the Working Group and outlined the benefits associated with each proposal with the use of examples. He advised that both Modification Proposals address the overall issue but using different methods and the Committee may vote based on the option they believe to be the correct method to address the issue. An observer commented on the preference of the Market Monitoring Unit of Mod_12_09 and expressed her agreement with the original Modification Proposal. A Supplier Member drew attention to the benefits from a fuel efficiency perspective of the alternative Modification Proposal (Mod_45_09) and there was general agreement with this comment. An observer questioned whether Security of Supply may be affected if the Modification Proposal were to go ahead as it may threaten the incentive of new build. The Committee noted that Mod_12_09 was put forward following SEM Direction in December 2008. The Committee agreed to vote on both Modification Proposals.

Views of Voting Members

The following advice was received from those Members who recommended the Proposal for rejection:

Supplier Member - Stephen Walsh, ESB CS:

Two mutually exclusive methods for applying loss adjustments to fixed Start Up and No Load costs. The argument for Mod_45_09 was that it leads to a more realistic schedule of unit commitment. This is due to using the actual costs incurred, without scaling. The schedule of unit commitment seeks to minimize the production cost. Having the most realistic costs will give the best solution. It will also be better for environmental reasons due to fewer emissions from the fuel consumed during production.

Generator Member - Grainne O’Shea, ESB PG:

Mod_12_09 and Mod_45_09 are mutually exclusive modifications to the Code. ESBPG strongly believes that Mod_12_09 is incorrect and that Mod_45_09 addresses the issue correctly in line with the Code Objectives.

Supplier Alternate - Jill Murray, Bord Gais Energy:

BG Energy does not believe that it is appropriate to loss adjust Start Up and No Load costs as they are not marginal costs and do not vary whether the energy is consumed at the station gate or at the trading point. With respect to the two Modification Proposals that were proposed to comply with the direction of the RAs in Decision Paper SEM-08-179, BG Energy is of the view that Mod_45_09 better meets the Objectives of the SEM in minimizing the production costs when setting the MSQ and therefore rejects Mod_12_09 in favour of Mod_45_09.

Supplier Member & Chair - Iain Wright, Airtricity:

In relation to Constraints and Make Whole payments, the fundamental principle is that they should correct for the difference between Dispatch Production Cost and Schedule Production Cost.  Clause 4.17 says that No Load Cost is, “an hourly cost that is invariant with the level of Output” and it is therefore clear that, in the algebra, costs are represented by constants. Offer prices are required to reflect actual costs, so that the difference between scheduled and actual costs should not be adjusted in any way that results in costs being misrepresented. For example:  If a generator’s loss factor is 0.9 and its No Load Cost of is €1000/hour and the unit is actually dispatched for half an hour compared with a market dispatch of one hour, then the cost to the Generator is €500, but payment is for €1000. The constraint payment is therefore €500.

As proposed in 12_09, the constraint payment would reflect (dispatched – scheduled) * 0.9 = €450.  This is self-evidently wrong.

Therefore Mod 12_09 doesn’t reflect the objectives of the TSC and (as clearly explained in ESB PGen’s presentation) its acceptance would contravene the requirement to minimise production cost.

Recommendation

This Modification Proposal was ‘Recommended for Rejection’ by the Modifications Committee by Majority vote as follows:

Iain Wright, Jill Murray, Grainne O’Shea, Stephen Walsh

Garrett Blaney (Recommended for Approval).

William Steele (Abstained).

- Proposed Legal Drafting

No alternative legal drafting proposed.

Legal Review

Complete.

- Implementation Timescale, Costs and Resources

The Modifications Committee recommend this Modification Proposal is not implemented in the Trading and Settlement Code.

- Appendices

Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |
| Paul Bell | March 16th 2009 |  | Standard |  | Mod_12_09 |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Paul Bell |  | Telephone number: +4428 9031 6338 |  | e-mail address: paul.bell@niaur.gov.uk |  |  |
| Modification Proposal Title: |  | Loss Adjustments in Constraint and Make Whole Payments |  |  |  |  |
| Trading and Settlement Code change (delete as appropriate) |  |  |  |  |  | Section(s) affected by Modification Proposal |
| Code Change |  |  |  |  |  | 4.136 4.140 |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  |  | 4.5 |
| Modification Proposal Description Clearly show proposed code change using tracked changes, & include any necessary explanatory information |  |  |  |  |  |  |
| 4.136 For each Generator Unit u in each Trading Period h, the Market Operator shall calculate the Constraint Payments (CONPuh) as set out below, and the calculated value of CONPuh can be either positive or negative: Drafter’s Comment: The change above replaces the variables DNLC, MNLC, DSUC and MSUC with their loss-adjusted equivalents ‘XXXXLF’. ---------------------------------- 4.140 For The Market Operator shall procure that Make Whole Payments shall be calculated on a Billing Period basis for each Generator Unit u in Billing Period b, as follows: Where 1. MWPub is the Make Whole Payment for Generator Unit u in Billing Period b; 2. MOPuh is the Market Offer Price of Generator Unit u in Trading Period h; 3. SMPh is the System Marginal Price for Trading Period h; 4. MSQLFuh is the Loss-Adjusted Market Schedule Quantity for Generator Unit u in Trading Period h; 5. TPD is the Trading Period Duration; 6. MNLCLFuh is the Loss-Adjusted Market No Load Cost for Generator Unit u in Trading Period h; 7. MSQCCLFuh is the Loss-Adjusted Market Schedule Quantity Cost Correction for Generator Unit u in Trading Period h; 8. MSUCLFuh is the Loss-Adjusted Market Start Up Cost for Generator Unit u in Trading Period h; 9. the summation Σ is over all Trading Periods h in Billing Period b excluding any Trading Periods h in which the Generator Unit is Under Test. Drafter’s Comment: The change above replaces the variables MNLC and MSUC with their loss-adjusted equivalents ‘XXXXLF’. |  |  |  |  |  |  |
| Modification Proposal Justification Clearly state the reason for the Modification & how it furthers the Code Objectives |  |  |  |  |  |  |
| The modification is needed in order to align the methodology that Generator Units use to recoup the cost of transmission losses associated with Offers for No-Load and Start-Up with that used to recoup transmission-loss costs reflected in Price-Quantity Pairs. The proposal is linked to the SEM Committee Direction SEM-08-179 which directs that the incremental cost of transmission losses must be reflected in Price-Quantity pairs, and that it is intended to direct this also should be the case for No-Load and Start-Up Costs once this Modification is implemented. In the interim there is an inefficiency in the calculated values for Uplift because the Generator Units may not reflect transmission losses in their Start-Up and No-Load costs, in accordance with the standing interim Direction. As such, the proposed modification would in particular further the following objectives of the Code: 5. to provide transparency in the operation of the Single Electricity Market; 6. to ensure no undue discrimination between persons who are parties to the Code |  |  |  |  |  |  |
| Implication of not implementing the Modification Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met The implications of not implementing the Modification include: - Continued inefficiency in the calculated Uplift values that are computed for each Trading Period. - Continued lack of alignment between the Trading and Settlement Code and the Bidding Code of Practice / SEM Committee Decisions, and concurrent continued lack of simplicity. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@SEM-O.com |  |  |  |  |  |  |

Appendix 2 – Alternative & Combined Proposals

Note: there is a correction to the algebra of the alternative solution, please see Part B of the appendix for an updated version of the alternative solution

Mod_45_09

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal |  |  | Number: |
| ESB PG | 19 November 2009 |  | Standard |  |  | Mod_45_09 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Donal Lucey |  | Telephone number: 01-7026835 |  | e-mail address: donal.lucey@esb.ie |  |  |
| Modification Proposal Title: Loss Adjustments in the calculation of the Cost of running in the Procedure to calculate final Uplift values |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | Code |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | Appendix N N.75 |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 6.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| Cost of running - The Cost of Running (CRukt) for each Price Maker Generator Unit u in that part of Contiguous Operation Period k which falls in the first Trading Day t of the relevant Optimisation Time Horizon shall be calculated as follows: CRukt=h in k∩h intMSFuh×MOPuh+MNLCuh+MSQCCuh×TPD+STCukt CRukt=h in k∩h intMSQuh×MOPuh+MNLCuhCLAFuh+MSQCCLFuh×TPD+STCuktCLAFuh Where: MOPuh is the Market Offer Price of Generator Unit u in Trading Period h - MSQuh is the Market Schedule Quantity for Generator Unit u in Trading Period h - MNLCuh is the Market No Load Cost for Generator Unit u in Trading Period h - MSQCCuh is the Market Schedule Quantity Cost Correction for Generator Unit u in Trading Period h - TPD is the Trading Period Duration - STCukt is the Start Cost to be recovered within that part of Contiguous Operation Period k which falls within Trading Day t - h in k∩h in t is a summation over all Trading Periods h which are both within Contiguous Operation Period k and within the Trading Day t in the relevant Optimisation Time Horizon - CLAFuh is the combined loss adjustment factor for Generator Unit u in Trading Peroid h |  |  |  |  |  |  |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| - The objective function of the MSP Software is to minimise the overall production costs over a given optimisation horizon - The recovered of start up and no load cost by generator is via uplift payments - The objective function of the uplift calculation is to ensure that the marginal generator unit recovers it’s full cost of running This modification ensures the objectives as stated above in 1 and 3 are satisfied. Modification Mod12_09_Uplift does not satisfy objective 1. The proposed modification would in particular further the following objectives of the Code: 1.3.5. to provide transparency in the operation of the Single Electricity Market; 1.3.6. to ensure no undue discrimination between persons who are parties to the Code |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| The implications of not implementing the Modification include: - Continued inefficiency in the calculated Uplift values that are computed for each Trading Period - SMP will continue to not reflect underlying generator bid costs - The Marginal generator will under recovers as bid costs on a trading day basis |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Mod_45_09 marked up

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: (to be assigned by Secretariat) |  | Type of Proposal (please delete as appropriate) |  |  | Number: (to be assigned by Secretariat) |
| ESB PG |  |  | Standard |  |  |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Donal Lucey |  | Telephone number: 01-7026835 |  | e-mail address: donal.lucey@esb.ie |  |  |
| Modification Proposal Title: Loss Adjustments in the calculation of the Cost of running in the Procedure to calculate final Uplift values |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | Trading and Settlement code |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | Appendix N N.75 |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 6.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| Cost of running - The Cost of Running (CRukt) for each Price Maker Generator Unit u in that part of Contiguous Operation Period k which falls in the first Trading Day t of the relevant Optimisation Time Horizon shall be calculated as follows: CRukt=h in k∩h intMSQuh×MOPuh+MNLCuh+MSQCCuh×TPD+STCukt CRukt=h in k∩h intMSQuh×MOPuh+MNLCuhCLAFuh+MSQCCuh×TPD+STCuktCLAFuh Where: MOPuh is the Market Offer Price of Generator Unit u in Trading Period h - MSQuh is the Market Schedule Quantity for Generator Unit u in Trading Period h - MNLCuh is the Market No Load Cost for Generator Unit u in Trading Period h - MSQCCuh is the Market Schedule Quantity Cost Correction for Generator Unit u in Trading Period h - TPD is the Trading Period Duration - STCukt is the Start Cost to be recovered within that part of Contiguous Operation Period k which falls within Trading Day t - h in k∩h in t is a summation over all Trading Periods h which are both within Contiguous Operation Period k and within the Trading Day t in the relevant Optimisation Time Horizon - CLAFuh is the combined loss adjustment factor for Generator Unit u in Trading Peroid h |  |  |  |  |  |  |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| - The objective function of the MSP Software is to minimise the overall production costs over a given optimisation horizon - The recovered of start up and no load cost by generator is via uplift payments - The objective function of the uplift calculation is to ensure that the marginal generator unit recovers it’s full cost of running This modification ensures the objectives as stated above in 1 and 3 are satisfied. Modification Mod12_09_Uplift does not satisfy objective 1. The proposed modification would in particular further the following objectives of the Code: 5. to provide transparency in the operation of the Single Electricity Market; 6. to ensure no undue discrimination between persons who are parties to the Code |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| The implications of not implementing the Modification include: - Continued inefficiency in the calculated Uplift values that are computed for each Trading Period - SMP will continue to not reflect underlying generator bid costs - The Marginal generator will under recovers as bid costs on a trading day basis |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Appendix 3 – Working Group Report

## Working Group Report 1

## Mod_12_09

## Loss Adjustments in Constraint and Make Whole Payments

October 15th 2009

10.30am – 1pm

EirGrid Conference Centre, The Oval

Table of Contents

Attendees	17

Introduction	17

Recap on Modification Proposal - NIAUR	18

Alternative Solution – ESBPG	18

Three Options - SEMO	18

Q & A Session / Discussion	19

Recommendations	19

Actions	19

Appendix 1	20

A) Working Group Agenda	20

B) Terms of Reference	20

Appendix 2	23

A) Mod_12_09 (removed to avoid duplication)	23

B) Alternative Algebra	23

C) SEMO Slides	24

Appendix 3	24

A) Modifications Committee Letter to the SEM Committee	24

B) SEM Committee Response to Modifications Committee Letter	26

Attendees

| Name | Organisation |
| --- | --- |
| Jill Murray | Bord Gais Energy |
| Philip Newsome | CER |
| Breandán Mac Mathúna | EirGrid |
| Mark Needham | EirGrid |
| Shane Rourke | EirGrid |
| Rodney Doyle (Chair) | EirGrid |
| Simon Ward | Endesa Ireland |
| Mark Alexander | Energia |
| Donal Lucey | ESB PG |
| Des Mason | ESB |
| Stephen Walsh | ESB CS |
| Grainne O’Shea | ESB PG |
| Paul Bell | NIAUR |
| Sinead O’Hare | NIE Energy |
| Aodhagan Downey | SEMO |
| Niamh Delaney | SEMO |
| Stephanie Fargher | SEMO |
| Aisling O’Donnell | SEMO |
| Michael Preston | SONI |
| Eamonn O’Donoghue | Tynagh Energy |
| Kevin Hannafin | Viridian P&E |

Introduction

Mod_12_09: Loss Adjustments in Constraint and Make Whole Payments was received by the Secretariat on March 16th 2009. It was presented at Meeting 21 of the Modifications Committee on April 2nd 2009 where it was agreed generators would provide SEMO with an update of the materiality of any under recovery of Start Up and No Load costs prior to SEMO conducting any further analysis.

At Meeting 22, it was agreed to write a letter to the SEM Committee from the Modifications Committee regarding the General Direction and Modification. The letter, sent on July 7th 2009, indicated that the Modification would require substantial analysis and impact assessment. It went on to recommend that the SEM Committee consider revisiting the Modification and General Direction SEM-08-179 in light of the RA review of locational signals (please see appendix 3 a for Modifications Committee letter to SEMC). The SEM Committee issued a letter in response to the Modifications Committee letter on July 23rd 2009 indicating that they would consider the issue further and asked that a decision be deferred until the September meeting (Meeting 24) when they would provide an update (please see appendix 3 b for SEMC letter of response).

At Meeting 24 of the Modifications Committee on September 29th, the RAs stated that the General Direction as issued still stands. They asked that the Modification Committee come to decision on the proposed Mod_12_09 and include their views as outlined in the letter to the SEMC in the Final Recommendation Report. ESBPG presented an alternative option to Mod_12_09. The Committee agreed to establish a Working Group to consider both options with the aim to have an agreed position and impact assessment carried out on the preferred option(s) in advance of Meeting 25 of the Mods Committee on December 3rd.

The Working Group discussed three options with respect to the proposed Modification: Mod_12_09, ESBPG’s proposal and third option that considered deferring the Modification pending the outcome of review of the treatment of losses in SEM.

Recap on Modification Proposal - NIAUR

The proposer explained the Modification Mod_12_09, which seeks to correct the issue of incorrect price signalling in the market. The error is a result of an inconsistency in the Code in relation to the Uplift component of SMP being calculated using MSQ quantities but Energy Payments being based on MSQLF, loss adjusted MSQ.

The SEM Committee wished to provide clarity in relation to the incorporation of losses in Commercial Offer Data to ensure that a consistent approach was being adopted by all Generator Participants. It published the SEMC Direction SEM-08-179, which directed Generator Participants to loss adjust the incremental component of their COD and not the No-Load Cost and Start-Up Cost components.

It acknowledged the inconsistency between the calculation of Uplift and the calculation of Energy Payments. It indicated that it intended to propose a Modification to the Constraint and Make Whole Payment calculations so the direction could be repealed to state that Generator Participants should prudently incorporate losses into all components of their COD – incremental, no-load and start-up costs. This would ensure that the SMP, as it is currently calculated, would recover a Generator Unit’s cost of running.

Alternative Solution – ESBPG

The proposer of the alternative solution did not present on the alternative proposed change to the Uplift algebra following discussions with the proposer of the Modification in advance of the Working Group. It was found that the alternative algebra would result in an over recovery of energy costs. ESBPG indicated to the Working Group that they are in agreement with the changes proposed in the original proposal.

Three Options - SEMO

The SEMO Alternate to the Modifications Committee presented slides covering both the original and alternative solution along side a third option.

Option 1: Mod_12_09. Generator Units incorporate losses into all components of COD – incremental no-load and start-up as described above.

Option 2: Proposed a correction to the ESBPG alternative algebra in order to take loss factors into account in the calculation of the cost of running. This change would achieve the same results as the original proposal with a different approach. In Option 2, Generator Units loss-adjust incremental costs only. By loss adjusting MSQ in the Uplift calculation the energy payment will recover all a Generator Unit’s running costs.

Option 3: Highlighted that the review of locational signals is currently under way by the RAs, the outcome of which may affect the way losses are treated in the market and will therefore determine whether the above changes are necessary. It was acknowledged that both Options 1 and Option 2 address the root of the issue but both will require potentially costly changes to the Central Market Systems. Currently, Generators are made whole as a result of Make Whole Payments so any instances of energy payments being less than the cost of running are captured in this payment. Option 3 proposes to continue with the current rules and await the outcome of the locational signals review.

Q & A Session / Discussion

There was discussion around the timelines for implementing a change. An EirGrid representative referred to ongoing work with the RAs on policy options for treatment of losses in SEM. A consultation is expected in quarter four of 2009 with a RA Decision expected early next year with the intention of implementing any changes by October 2010.

No impact assessment has been conducted on option 1 or 2 to date; the Central Market Systems release for April 2010 has reached its capacity while the October 2010 release is currently being scoped.

The group agreed that either Option 1 or 2 should be progressed and that Option 3 was not really appropriate given that the impetus for the change came from a SEMC General Direction.

There were mixed opinions among the group as to the most favourable option to pursue. The main area of contention was whether it was appropriate to loss-adjust No-Load and Start-Up costs. The SEMO Alternate commented that loss-adjusting Incremental, No-Load and Start-Up costs (Option 1) is adopting an average cost approach to the application of loss factors whereas loss adjusting Incremental costs only (Option 2) is adopting marginal cost approach to the application of loss factors.

It was acknowledged that the SEMC put forward Option 1 and they have deemed this approach to be appropriate. Whether Option 2 is appropriate and represents a better solution in terms of cost, achieving the objectives of the General Direction and furthering the T&SC objectives will become clearer following the Impact Assessment and Market Participants’ individual analysis.

Recommendations

The Working Group have not finalised an agreed recommendation for the Modifications Committee. As the meeting was the first opportunity Market Participants had to view the revised Option 2, it was agreed that time was needed to examine both options in detail.

Actions

The Working Group requested time to review the algebra prior to making a recommendation to the Modifications Committee.

SEMO to request a high level impact assessment from the vender on options 1 and 2.

Participants to submit examples to SEMO of the effects each option may have on their scheduling and dispatch.

ESBPG to indicate whether they intend to formally submit Option 2 as a modification.

A second Working Group may be scheduled in advance of the next Modifications Committee Meeting if deemed necessary by the Working Group participants. A provisional date of November 18th 2009 is proposed should there be a requirement to have another meeting.

WG Appendix 1

A) Working Group Agenda

|  | Agenda Item | Proposer | Time |
| --- | --- | --- | --- |
|  | Coffee / Tea on Arrival |  | 10.30 – 10.45pm |
|  | Introduction / Timetable / Notification of Chair / Terms of Reference of Group | AOD | 5 mins |
|  | MMU Presentation | Paul Bell | 20 mins |
|  | ESBPG Presentation | Donal Lucey | 20 mins |
|  | SEMO Presentation | Aodhagan Downey | 20 mins |
|  | Q&A / Discussion Session | SEMO | 30 mins |
| 4. | Recap / Actions | Chair | 20 mins |
| 5. | Agreed Recommendations for December Modifications Committee Meeting | Chair | 10 mins |
| 6. | Post Working Group Timetable | AOD | 5 mins |
| 7. | Close | AOD | 5 mins |
|  | Lunch 1.00pm |  |  |

B) Terms of Reference

Draft Terms of Reference for Members of Working Group on Mod_12_09

Background

The Modifications Committee requested at Meeting 24 on Sept 29th 2009 that a Working Group be set up to discuss associated issues raised by Mod_12_09: Loss Adjustments in Constraint and Make Whole Payments.

The SEM Committee issued a General Direction (SEM-08-179) on 16th Dec 2008 on the subject of “Transmission Loss-Adjustment in Commercial Offer Data”. The direction sought to remove any ambiguity in relation to the application of loss factors to Commercial Offer Data (COD). It stated that a Generator Unit should loss adjust the incremental price element of its COD, but should not loss adjust  Start Up and No Load costs.

The Issue:

Uplift is calculated using a Generator Unit’s MSQ but the Generator Unit is settled on MSQxCLAF

The Solutions:

Option 1

This option was put forward by the Market Monitoring Unit (MMU) in Mod_12_09 and is in line with the General Direction. A Generator Unit would loss adjust all components of its COD including its Start Up and No Load Costs. This would ensure that SMP x MSQ x CLAF would recover all costs based on the Generator Unit’s MSQ and its COD. However, to ensure consistency the Constraint and Make Whole Payment calculations would need to be modified.

Option 2

ESBPG put forward an alternative solution whereby a Generator Unit would loss adjust only those components of Commercial Offer Data that are dependent on MSQ viz. their Offer Price. For the avoidance of doubt, it would not loss-adjust its Start Up and No Load Costs. This is currently the case. To ensure that the Generator Unit recovers all its costs associated its MSQ and COD, the Uplift calculation would need to be modified to reflect that units are settled on MSQ x CLAF.

Option 3

Leave rules as they are. In the case where a unit would experience a shortfall in revenue due to Uplift being set based on MSQ and settlement being based on MSQ x CLAF, the Make Whole Payment ensure that they would recover these costs.

Objectives

The objectives of the Working Group are:

- to provide an overview of 3 options and merits of each.

- to listen to views of all parties on the implications of each.

- to agree on a preferred option(s).

- to nominate a party, if required, to draft any amendments to Mod_12_09 for submission to Meeting 25 of the Modifications Committee.

- to nominate a party, if required, to draft any new modifications for submission to Meeting 25 of the Modifications Committee.

- to direct SEMO, if required, on behalf of the Modifications Committee to proceed with an Impact Assessment of the preferred option(s).

- to recommend to the Modifications Committee, subject to any required Impact Assessments, the preferred option(s) for their consideration.

The objectives above are to be completed by Meeting 25 of the Modifications Committee on 3rd Dec 2009.

Scope

The Working Group will:

- Consider all 3 options in the context of

  - General Direction (SEM-08-179)

  - Bidding Code of Practice (SEM-07-430: Annex A)

  - Trading and Settlement Code v5.1

  - Objectives of Function to include Start Up and No Load Costs in SMP (AIP-SEM-142-06).

- Consider the potential implications for all Parties of each of the 3 options.

- Consider the potential implications of the locational signals Review on each of the 3 options.

Deliverables

- If required, a nominated party to make any amendments to Mod_12_09 for submission to Modifications Secretariat by COB 19th Nov 2009

- If required, a nominated party to draft a new modification on alternative proposal (Option 2) for submission to Modifications Secretariat by COB 19th Nov 2009.

- A nominated party to present case for option 3 at Meeting 25 of Modifications Committee.

- If required, a direction to SEMO to proceed with an outline or full Impact Assessment(s).

- A report to the Modifications Committee detailing the proceedings and final recommendations of the Working Group.

Stakeholders

Market Participants, Regulatory Authorities, System Operators, Meter Data Providers, Market Operator, Interested Parties.

Roles and Responsibilities

- Chair to direct the Working Group – TBD

- Market Monitoring Unit to present case for option 1.

- ESBPG to present case for option 2.

- SEMO to present case for option 3.

- Stakeholders to feed into the group - direction, analysis of problem, opinion and recommendations.

Resources

Independent Chair with a good understanding of the SEM and issue being discussed.

SEMO Secretariat

Representative from each of the following:

- SEMO

- MMU

- ESBPG

Resources will be expected to attend, present and participate in the Working Group and carry out required preparation and follow up action on action items assigned.

Work Breakdown Structure

The following will take place at the Working Group:

- MMU to present on option 1

- ESBPG to present on option 2

- SEMO to present on option 3

- Discussion of 3 options

- Agree preferred option(s) and final recommendations

- Chair to nominate parties for deliverables 1, 2 and 3 as required

- Chair to direct SEMO to carry out Impact Assessment(s) as required

- SEMO Secretariat to draft report on proceedings and final recommendations

Schedule

Working Group will take place on the morning of the 14th Oct 2009 from 10:30-13:00 in the conference centre in EirGrid head office, The Oval, Shelbourne Rd., Dublin 4.

Next key milestone Modifications Committee Meeting 25 on December 3rd 2009.

Risks and Restraints

There is a risk that the Working Group will stray into wider issues in relation to the General Direction, the BCOP, Treatment of Losses in SEM, Price Formation in SEM, which may not be associated with the terms of reference of the Working Group. In order to mitigate this risk, a suitable independent chair with sufficient understanding of the SEM is required.

WG Appendix 2

A) Mod_12_09 (removed to avoid duplication in FRR)

B) Alternative Algebra

The proposed modification to the make whole payment calculation to include TLAF adjustment to FSNL and Starts is flawed. The SEM uplift calculation is designed to make every generation unit whole however this constraint is currently not expressed correctly. The following details the current constraint formula and the proposed change.

Current Formulas

Select a set of values of Uplift (UPLIFTh) for each Trading Period h in Trading Day t which give the minimum value of

α×

subject to that set of values of UPLIFTh satisfying the following constraints:

1.	h in k∩h in tUPLIFTh+SPh×MSQuh×TPD≥CRukt for each Price Maker Generator Unit u (excluding Pumped Storage Units, Interconnector Units and Generator Units Under Test)

2.	UPLIFTh≥0 for all Trading Periods h in Trading Day t; and

u∗h in tUPLIFTh+SPh×MSQuh×TPD≤1+δ×REVMINt

CRukt=h in k∩h intMSQuh×MOPuh+MNLCuh+MSQCCuh×TPD+STCukt

Updated Formulas Taking into account TLAFs

Select a set of values of Uplift (UPLIFTh) for each Trading Period h in Trading Day t which give the minimum value of

α×

subject to that set of values of UPLIFTh satisfying the following constraints:

1.	h in k∩h in tUPLIFTh+SPh×MSQuh×TPD×TLAFuh≥CRukt for each Price Maker Generator Unit u (excluding Pumped Storage Units, Interconnector Units and Generator Units Under Test)

2.	UPLIFTh≥0 for all Trading Periods h in Trading Day t; and

u∗h in tUPLIFTh+SPh×MSQuh×TPD×TLAFuh≤1+δ×REVMINt

CRukt=h in k∩h intMSQuh×MOPuhTLAFuh+MNLCuh+MSQCCuh×TPD+STCukt

C) SEMO Slides

Please see attached SEMO Power Point presentation (Attach_WG_12_09).

Appendix 3

A) Modifications Committee Letter to the SEM Committee

The SEM Committee 
c/o Paul O’Neill

SEM Committee Secretariat,

Commission for Energy Regulation,

The Exchange,	
Belgard Square North,

Tallaght

Dublin 24

07 July 2009

Dear SEM Committee Members,

RE: SEM Committee GENERAL Direction SEM-08-179: Transmission loss-adjustment in commercial offer data

On behalf of the Modifications Committee, I refer to the above General Direction issued on 18th December 2008, and the subsequent Modification 12_09 raised by the Market Monitor on 16th March 2009.

The Modifications Committee is aware that consideration is being given to a future policy in relation to the treatment of losses in SEM.  The Modifications Committee believe that any changes to the current policy will almost certainly affect the nature of the change described in General Direction SEM-08-179 and further in Modification 12_09. The Modifications Committee is conscious that the SEM Committee made the General Direction prior to the commencement of the review of locational signals.

In considering Modification 12_09, representatives from SEMO advised the Modifications Committee that the nature of the Modification would require substantial analysis and impact assessment to evaluate what may be significant changes to the Central Market Systems.

The Modifications Committee having considered the above two points believes that it may be beneficial to revisit the Direction in light of the current review of locational signals.

In relation to future General Directions of a similar nature, the Modifications Committee requests that it be afforded an opportunity to review and comment prior to such a Direction and believes that this would enhance the transparency and efficiency of the market and the overall regulatory process.

In making this suggestion the Modifications Committee does not seek to undermine the SEM Committee’s regulatory discretion, nor does it ignore the need for regulators to act in an expeditious manner when appropriate. The Modifications Committee suggests that neither of these principles would be compromised by informing the Modifications Committee in advance of a Direction that will have a significant influence on the shape of the market, thus allowing the Modifications Committee to offer its insight, and those of its constituents, where appropriate.

Representatives of the Modifications Committee would be happy to meet with the SEM Committee to discuss the specific Direction and Modification further and to continue working towards a robust, efficient and competitive single electricity market.

Thank you in advance for considering this request.

Yours Sincerely

SEM Modifications Committee

B) SEM Committee Response to Modifications Committee Letter

Combined Loss Adjustment Factor. CLAF = TLAF x DLAF.