## Slide 1: REMOVING BARRIERS FOR DSUs ON THE NATIONAL GRID
Patrick Liddy
Activation Energy Ltd
patrick.liddy@activationenergy.ie
01 442 8801
087 960 1725

## Slide 2: Single Electricity Market
All electricity being bought/sold must pass through the Market Pool
Cheapest units must run first (where technically feasible)
Includes process for Reserve and Capacity
Market
Pool
Notes: <number>

## Slide 3: What is a DSU?
Demand Side Unit
Bids in Demand reduction
  Similar to how generators bid in generation
Dispatchable load reduction
  Switch something off
  Switch onsite backup generators on
Get paid for
  demand reduction if provided
  capacity to provide demand reduction

## Slide 4: Benefits
To system
  Low cost, instantly available capacity
  High quality, reliable supply
To suppliers
  Improved margins
    Sites reduce demand at times of peak market price
  Opportunity to reduce fixed portion of tariff
Notes: <number>

## Slide 5: Benefits
To Ireland Inc
  Improved Security of Supply
    Distributed/diversified generation
  Reduced system costs for all
    Reduced capacity costs
  Environmental
To DSUs
  Financial benefit from existing asset
Notes: <number>

## Slide 6: Justifications
Government Policy – 40% Renewables Target
CER – Draft Strategic Plan 2010-2014
  4.5 Demand Side Participation – Greater customer awareness of their role in reducing emissions in the energy sector
  Action - We will make customers more “energy aware” and will encourage all participants in the energy sector to deliver improved information on energy efficiency, demand side participation and the environmental impact of the energy sector to their customers.
Demand Side Management in Ireland (SEI/Kema Report)
  The All Island Market will allow direct participation by demand sites that will be able to bid into the pool.
National Energy Efficiency Action Plan (NEEAP):
  We will significantly expand our Demand Side Management initiatives
Notes: <number>

## Slide 7: Justifications
Trading & Settlement Code Objectives
  1.3.3 “to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market”
  1.3.4 “to promote competition in the single electricity wholesale market on the island of Ireland”
  1.3.6 “to ensure no undue discrimination between persons who are parties to the Code”.
  1.3.7 “to promote the short-term and long-term interests of consumers of electricity on the island of Ireland with respect to price, quality, reliability, and security of supply of electricity”
Article 6 of the EU Energy Services Directive:
  1. Member States shall ensure that energy distributors, distribution system operators and/or retail energy sales companies:
  (b) refrain from any activities that might impede the demand for and delivery of energy services and other energy efficiency improvement measures, or hinder the development of markets for energy services and other energy efficiency improvement measures. The Member State concerned shall take the necessary measures to bring such activities to an end where they occur.
  3. Member States shall ensure that there are sufficient incentives, equal competition and level playing fields for market actors other than energy distributors, distribution system operators and retail energy sales companies, such as ESCOs, installers, energy advisors and energy consultants, to independently offer and implement the energy services, energy audits and energy efficiency improvement measures described in paragraph 2(a)(i) and (ii).
Notes: <number>

## Slide 8: Barrier
If a Generator requires a supply from the Grid, it can use a nominated Supplier known as an “Associated Supply Unit” (ASU)
For DSU
  a single Supplier Unit which is a Trading Site Supplier Unit, with which the Demand Reduction is associated;
Notes: <number>

## Slide 9: Modification Committee
Activation Energy submitted a Modification Proposal in July
Notes: <number>

## Slide 10: TSSU Issue
Trading Site Supplier Unit
Notes: <number>

## Slide 11: The Electricity System

## Slide 12: The Electricity System

## Slide 13: Demand and Instruction
The Electricity System

## Slide 14: Flow of Electricity
The Electricity System

## Slide 15: Flow of Money

## Slide 16: Simple Model

## Slide 17
DSU Case

## Slide 18
DSU Case

## Slide 19
DSU Case

## Slide 20: DSU Problem – Meter Data
DSU Case

## Slide 21: Issues
Metering Data
Notes: <number>

## Slide 22: Problem
A single DSU can be made up of a number of sites
  Receive an instruction to reduce demand by 8MW
  Could provide it by reducing by 2+1+3+2MW across 4 sites
This would create a challenge for MRSO/MDP to apply demand reductions to each site
Activation Energy propose restrictions
  The DSU be a single Demand Site (therefore removing the need to split up the reduction/costs)
  If a number of sites, the DSU must have a single Associated Supplier Unit and have informed the ASU that it is a DSU before agreeing a contract (effectively it would work if the supplier were charging all the sites the same rate for supply, and so remove the need for splitting up the costs)
Notes: <number>