T&SC Modifications Committee

- Final Recommendation Report (FRR)

- Mod_32_10:

Dual Rated Units Clarifications

- Version 1.0

22 October 2010

- Background

This Modification was received by the Secretariat on 16 September 2010 as a standard proposal and presented at Meeting 31 of the Modifications Committee on 30 September 2010.

- Purpose of Proposed Modification

2a. Justification for Modification

This Modification provides clarification of the information required for Generator Units that are Dual Rated Units.  In providing clarity on the data required for Dual Rated Generator Units.

Provision of Dual Rated Unit Flag

The current drafting in 2.34 in Mod_34_08 requires that it must be specified that a unit is Dual Rated upon Registration.  The first proposed change adds this flag into Table H.2 of the Code, which indicates the data required as part of a Participation Notices.  In addition, a definition of Dual Rated Unit Flag is added to the Glossary to the Code.

Provision of Secondary Fuel Type

Currently, clause 4.48 of the Code requires submission by the System Operator a Rating Flag which denotes whether a Dual Rated Generator Unit is operating on its Primary Fuel Type or Secondary Fuel Type.  This Modification adds the Secondary Fuel Type to Table H.2 as data required upon Registration.

Definition of Rating Flag

Currently, the definition of Rating Flag within the Glossary to the Code is ambiguous, where the phrase “on a per minute basis” could be interpreted as:

Each minute; or

To the nearest minute.

The intention of this definition is that changes in fuel type used by a Dual Rated Generator Unit (as designated by the Rating Flag) should be submitted by the relevant System Operator to the nearest minute.  The proposed change therefore clarifies the definition of Rating Flag.

2b. Impact of not implementing a solution

If this Modification is not implemented, there will be insufficient clarity surrounding the Registration submission requirements and definitions of key terms for Dual Rated Generator Units.

- Impact on Code Objectives

This Modification furthers Code Objectives #3 and #5 as follows:

3.	to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;”

5.	to provide transparency in the operation of the Single Electricity Market

- Development Process

The proposal was drafted by a SEMO Member and presented at Meeting 31 of the Modifications Committee. The proposal arose as a result of a previously approved Modification (Mod_34_08 Dual Rated Generator Amendment). A number of clarifications were sought in advance of implementation of Mod_34_08 and this proposal seeks to address the necessary clarifications.

- Assessment of Alternatives

- No alternatives assessed.

- Working Group and/or Consultation

- Working Group/Consultation not considered necessary.

- Impact on other Codes/Documents

- No impact on other codes or documents identified.

- Impact on Systems and Resources

- No impact on systems or resources identified.

- Modifications Committee views

- This is a clarification Modification Proposal linked to Mod_34_08 Dual Rated Generator Amendment; scheduled for inclusion in the 8th Scheduled Release. SEMO advised that this Modification Proposal is not altering any substantive features to the original proposal. A concern was raised regarding whether or not it would be the generators indicating the flag. It was stated that the submission of the flag concerns registration and is not the dispatch. The Committee were in favour of the proposal and agreed to vote on the proposal (Mod_32_10) at the Meeting.

- Recommendation

- This Modification was ‘Recommended for Approval’ by the Modifications Committee by Unanimous vote as follows:

- Andrew Burke - Generator Member

- Brian Mongan - Generator Alternate

- Grainne O’Shea - Generator Member

- Iain Wright - Supplier Member

- Jill Murray - Supplier Alternate

- Kevin Hannafin - Generator Member

- Killian Morgan – Supplier Member

- William Steele – Supplier Member

- Proposed Legal Drafting

As set out in the original Modification Proposal (see Appendix 1).

- Legal Review

Complete.

- Implementation Timescale, Costs and Resources

It is recommended that this Modification (Mod_32_10) be made effective on a Trading Day basis within one working day of the RA decision.

Appendix 1 – Original Modification Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date Proposal received by Secretariat: (to be assigned by Secretariat) | Type of Proposal (please delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |  |  |  |
| Sep 16 2010 | Standard |  | Mod_32 10 |  |  |  |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |  |
| Name: Jonathan Jennings |  | Telephone number: 01 2370321 |  | e-mail address: jonathan.jennings@sem-o.com |  |  |  |
| Modification Proposal Title: Dual Rated Units: Clarifications |  |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | TSC & AP |  |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | Appendix H, Table H.1 Glossary |  |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 7.0 |  |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |  |
| Appendix H, H.2: Table H.1 – Data, required from Party (or Applicant as applicable) registering the Unit Name; Term; Relevant Units; Validation Registration Data. Dual Rated Unit Flag; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units; Yes. Secondary Fuel Type; All Dual Rated Generator Units; Yes. Glossary Definitions: Dual Rated Unit Flag; means a flag to indicate whether a Generator Unit is a Dual Rated Unit.. Rating Flag; means a boolean flag submitted for a Dual Rated Generator Unit denoting whether its Primary or Secondary Fuel Type is currently in use. Rating Flag can be set to denote Primary Fuel Type or Secondary Fuel Type and will be submitted to the nearest minute when a change in the fuel used has occurred. This flag will toggle when a unit has switched from operating using its Primary Fuel Type to Secondary Fuel Type or vice versa.. |  |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |  |
| This Modification provides clarification of the information required for Generator Units that are Dual Rated Units. In providing clarity on the data required for Dual Rated Generator Units, this Modification furthers Code Objectives #3 and #5 as follows: “3. to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;” “5. to provide transparency in the operation of the Single Electricity Market;” Provision of Dual Rated Unit Flag The current drafting in 2.34 in Mod_34_08 requires that it must be specified that a unit is Dual Rated upon Registration. The first proposed change adds this flag into Table H.2 of the Code, which indicates the data required as part of a Participation Notices. In addition, a definition of Dual Rated Unit Flag is added to the Glossary to the Code. Provision of Secondary Fuel Type Currently, clause 4.48 of the Code requires submission by the System Operator a Rating Flag which denotes whether a Dual Rated Generator Unit is operating on its Primary Fuel Type or Secondary Fuel Type. This Modification adds the Secondary Fuel Type to Table H.2 as data required upon Registration. Definition of Rating Flag Currently, the definition of Rating Flag within the Glossary to the Code is ambiguous, where the phrase “on a per minute basis” could be interpreted as: - Each minute; or - To the nearest minute. The intention of this definition is that changes in fuel type used by a Dual Rated Generator Unit (as designated by the Rating Flag) should be submitted by the relevant System Operator to the nearest minute. The proposed change therefore clarifies the definition of Rating Flag. |  |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |  |
| If this Modification is not implemented, there will be insufficient clarity surrounding the Registration submission requirements and definitions of key terms for Dual Rated Generator Units. |  |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |  |