## Conference Call Note:

## Mod_33_10

## Unit Under Test Process

13 January 2011

15:30-16:00

The purpose of this Conference Call was to discuss the action recorded at Meeting 32:

SO’s to examine the process for coming off test.

SEMO outlined Modification Proposal 33_10_ Unit Under Test Process that was approved by the RA’s and effective since the 11th January.

Example of Unit Under Test Notice:

New Request:         Effective Date: 25/11/2010                      Start Date: 25/11/2010                           End Date: 20/12/2010

| Operational Date | 23rd Nov @10am | By 12noon Step 6 | By12:30 Step 7 | By 16:00 Step 8 | By: 16:30 Step 9 | By: 17:00 Step 10 | 17:00 + Step 11 | 24TH Nov @ 09:50am | 24TH Nov @10am | 25th Nov to 19th Dec @10am |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ex- Ante run for TD 24/11/10 | Received request | Seek TSO approval | TSO respond to Accept/Reject | Accept of reject request in MPI. Run MF to DS in MOI. | Close out support works call | PT can submit Nomination Profiles | MPR_TOD_CLOSE | Ex- Ante run for TD 25/11/10 | Ex- Ante run for TD 26/11 to 20/12/2010 |  |
| Under Test Status | Unit Off under test |  |  |  |  |  |  |  | Unit Under Test | Unit Under Test |  |

Example of request to come off test early:

Previous Request:         Effective Date: 25/11/2010                      Start Date: 25/11/2010                           End Date: 20/12/2010

Reduce End Date:         Effective Date: 02/12/2010                      Start Date: 02/12/2010                            End Date: 02/12/2010

| Operational Date | 30th Nov @10am | @12noon | @12:30 | @16:00 | @16:30 | @17:00 + | 01st Dec @10am | 2nd Dec @10am |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Ex- Ante run for TD 01/12/10 | Received request | Seek TSO approval | TSO Accept/Reject | SEMO process request through system | PT can submit relevant information | Ex- Ante run for TD 02/12/10 | Ex- Ante run for TD 03/12/10 |
| Under Test Status | Unit Under Test |  |  |  |  |  | Unit Under Test | Unit Off under test |

Discussion:

Generator representatives verbalised that the notice period of 2 Working Days is too short, and that there is not enough time to cater for coming off test early.

TSO representative raised the issue of whether daily profiles or requests would overcome the above difficulty.

TSO’s put forward 3 options to be considered to address the concerns.

- Option 1: Test Approvals could be done at Gate Closure reducing the notice time to1 Working Day.

- Option 2: VTOD- approved data sets would allow for greater flexibility and certainty for Generators going under test.

- Option 3: Move from Working Day to Calendar Day testing.

Generators were in favour of Options 1 and 3.

TSO’s were  in favour of Option 3, however noted no IA’s on any of the above options have taken place to date.

SEMO advised they can implement any of the Options.

Actions:

- TSO’s to further investigate all Options

- Update to be provided at next Modifications Committee Meeting

- Secretariat to circulate TSO comments on FRR_65_08 with Conference Call note (Closed- see below)

Please see below TSO comments to be included in FRR_65_08 Generator Unit Short Term Test Status:

This modification has the potential to remove and/or mitigate the issues experienced by generators and the TSOs with the current, manual and at times inflexible generator under test process. We are concerned that this modification would thus be delayed further and issues such as inflexibility with the notification time for the ‘end date’ would continue for the foreseeable future.

Regarding the recovery of start costs following the end of a Short Term Test, the TSOs did not include this design as it did not

consider it in scope given the original intention of the Modification. Should the RAs consider it appropriate for start costs to be paid for the scenarios 5-7, then the TSOs will develop the appropriate amendment to the modification.

The TSOs would like to clarify that the treatment of Eligible Availability is in line with current TSC rules i.e. Version 2 of this Mod proposes to not amend the EA calculation. Thus capacity payments should remain as currently calculated.

The SEM Testing Tariffs are expected to be consulted upon in Spring 2011 and in this paper it is proposed that separate tariffs would be designed for Commissioning Phase and  for Testing Post Commissioning.