T&SC Modifications Committee

Final Recommendation Report (FRR)

Mod_33__10:

Unit Under Test Process

Version 1.0

20 December 2010

- Background

This Modification was initially received by the Secretariat on 16 September 2010 as a standard proposal and presented at Meeting 31 of the Modifications Committee on 30 September 2010. An alternative version was received by the Secretariat on 11 November 2010 and presented at Meeting 32 on 25 November 2010.

- Purpose of Proposed Modification

2a. Justification for Modification

This Modification Proposal sets out in AP4 a clear set of steps for and the timings involved in a Generator Unit being granted Under Test status.

In addition, the Modification Proposal changes the deadline by which the Generator Unit must submit a Generator Unit Under Test Notice from five Working Days before the test to two Working Days before the test.

In place of the five Working Day notice currently provided, a Generator Unit Under Test Request email is sent to the Market Operator and System Operators with Unit Under Test Start and End Dates five Working Days before the test (or by 09:00 two Working Days before the test with the agreement of the relevant System Operator).

This gives the System Operator and the Market Participant sufficient time to agree on the feasibility of the test and the associated timings and profiles prior to the submission two Working Days before the test of the formal application in the form of the Generator Unit Under Test Notice.

This increases the likelihood that the submitted Generator Unit Under Test Notice will be approved by the System Operator and reduces any additional workload on the Market Operator involved with dealing with a rejected Generator Unit Under Test Notice It also provides clarity to all parties regarding their obligations and the timelines associated with those obligations.

Current Process

Participants shall submit a Generator Unit Under Test Notice to the Central Market System at least five Working Days in advance of the Unit Under Test Start Date.

Separately Participants shall submit the proposed dates of the test and the Nomination Profiles to System Operator.

SEMO will seek approval from System Operator regarding the Generator Unit Under Test Notice.

SEMO will accept or reject request in MPI on D-4.

Market participants can submit nomination profiles on D-3 and up until 10:00am on D-1

Participants need to have Nomination Profile, Unit Under Test Start Date and Unit Under Test Start End Date agreed with System Operator prior to entering information into Market Operator System by 12:00 D-5. It is operationally difficult to alter a Generator Unit Under Test Notice once accepted into  Central Market System

Proposed Process

The Modification Proposal updates the Glossary to define a Generator Unit Under Test Request. The requirements regarding the Generator Unit Under Test Request are started in Trading and Settlement Code section 5.170A.

The Unit Under Test process is outlined in the Code in Appendices F and J and a set of procedural steps has been created in Agreed Procedure 4.

The proposed process remains a five day process but is initiated by an email to the System Operator and Market Operator. Market Operator will only check the MPI at D-2, so early submissions will not be picked up by Market Operator; however, the Market Operator will be aware of the request from the email.

Within the time period between the email and submission into Market Operator systems, the System Operator and Participant have the opportunity to discuss the details of the proposed test and agree the Unit Under Test Start Date, Unit Under Test Start End Date and Nomination Profile.

This Modification Proposal will make the process more efficient.

2b. Impact of not implementing a solution

Without this change there will continue to be confusion among some Market Participants regarding the steps involved in applying for Under Test status.

The Unit Under Test process will continue to be operationally more intensive and less flexible.

- Impact on Code Objectives

This Modification Proposal furthers the following Code objective:

1.3.6  to provide transparency in the operation of the Single Electricity Market;

- Development Process

The proposal was drafted by a SEMO Member and presented at Meeting 31 of the Modifications Committee on 30 September 2010. During discussion at the meeting, a concern was raised due to confusion regarding the wording of “request” and “notice”, as they seem to signify the same meaning. At Meeting 31, an action was put on SEMO to submit an alternative version including legal drafting changes of the Modification at the next Meeting.

Thus, at Meeting 32 on 25 November 2010, an alternative version of the Modification was presented. The Modification Proposal was Recommended for Approval at the meeting with an action on the SOs to meet with generators in order to discuss any concerns regarding implementation of the Modification.

- Assessment of Alternatives

Two versions were considered over the lifecycle of the Modification Proposal. After Meeting 31, the onus was on SEMO to submit an alternative version of the Modification at Meeting 32, and to ensure that legal drafting changes were included in the alternative version. At Meeting 32, Mod_33_10_V2 was presented and recommended for approval unanimously by the committee.

- Working Group and/or Consultation

Working Group/Consultation not considered necessary.

- Impact on other Codes/Documents

No impact on other codes or documents identified.

- Impact on Systems and Resources

No impact on systems or resources identified.

- Modifications Committee views

A Supplier Alternate raised a query as to why it is the start date that is considered and not the end date? SEMO clarified that the Modification was not developed in order to move start dates but to clarify the process and to ensure that participants are aware of the steps. SEMO advised that the Modification has been discussed at the MOUGs and has received positive feedback. The Modification Proposal  proposes to improve the current process and will not incur any cost to the market. The Modification Proposal was recommended for approval at the meeting with an action on the SOs to meet with generators in order to discuss any concerns regarding implementation of the Modification.

Recommendation

This Modification was ‘Recommended for Approval’ by the Modifications Committee by Unanimous vote as follows:

Andrew Burke – Generator Member                Iain Wright – Supplier Member

Grainne O’Shea – Generator Member             Killian Morgan – Supplier Member

Ian Luney – Generator Member                       Jill Murray – Supplier Alternate

Kevin Hannifan – Generator Member

- Proposed Legal Drafting

  - In order for a Generator Unit to apply for Under Test status under this Code, a Participant shall submit a Generator Unit Under Test Notice which shall comprise a Unit Under Test Start Date and a Unit Under Test End Date as specified in Appendix F “Other Communications” and in accordance with Agreed Procedure 4 “Transaction Submission and Validation”. The submission of this data shall constitute an application by the Participant for Under Test status.

- 5.170A Prior to the submission of a Generator Unit Under Test Notice, a Participant shall submit a Generator Unit Under Test Request which shall propose a Unit Under Test Start Date and a Unit Under Test End Date as specified in Appendix F “Other Communications” and in accordance with Agreed Procedure 4 “Transaction Submission and Validation”.

# Glossary

| Generator Unit Under Test Request | means a notice submitted by a Generation Participant to the Market Operator and System Operator detailing its intention to apply for the status of Under Test as detailed in Appendix F: “Other Communications”. |
| --- | --- |

- APPENDIX F: OTHER COMMUNICATIONS

Generator Unit Under Test Notice

F.6 Agreed Procedure 4 "Transaction Submission and Validation" sets out the detail of all Generator Unit Under Test Notices, following the principles in paragraphs F.6A and F.7 below.

- F.6A Each Participant shall submit a Generator Unit Under Test Request to the Market Operator at least five Working Days in advance of Unit Under Test Start Date or, with the agreement of the relevant System Operator, no later than 09:00 two Working Days in advance of Unit Under Test Start Date. The Generator Unit Under Test Request will specify in all cases Unit Under Test Start Date, Unit Under Test End Date and the Generator Unit Under Test. The following shall also apply:

- 1. The Participant shall submit to the relevant System Operator the proposed Nomination Profile for each day of the Generator Unit Under Test Request within one hour of submission of the Generator Unit Under Test Request.

- 2. The Participant shall contact the relevant System Operator to verify the feasibility of the proposed application for Unit Under Test status and the proposed Nomination Profiles.

F.7 Participants shall submit a Generator Unit Under Test Notice to the Market Operator  no later than 12:00 two Working Days in advance of the Unit Under Test Start Date and, when submitting a notice to terminate a test period at least two Working Days in advance of the Unit Under Test End Date.  The Generator Unit Under Test Notice will specify in all cases the Unit Under Test Start Date and the Unit Under Test End Date, and the Generator Unit Under Test. The following shall also apply:

The Market Operator shall verify with the relevant System Operator that the Generator Unit proposed for Under Test status has been granted such a status in accordance with the relevant Grid Code; and

The Market Operator will ensure that Generator Unit Under Test Notices can be submitted by Participants through Type 2 or 3 Communications Channels.

- Appendix J : Market Operator and System Operator Data Transactions

- J.6 The Market Operator shall submit all Generator Unit Under Test Notices to the System Operators no later than 12:30 two Working Days before the Trading Day on which they are to become effective.

- J.7  The form of Generator Unit Under Test Notice is set out in Appendix F.

- J.8 The System Operator for the Currency Zone in which the Participant is registered shall validate the Generator Unit Under Test Notice and confirm to the Market Operator whether the Generator Unit is Under Test in accordance with paragraph 5.171.

# Agreed procedure 4: transaction submission and validation

- 2.2 Participant Data Transactions

For MPI Class data submissions and for data queries and report queries no Market Operator approval is required.

| Data Transaction | Class | Element of Data Transaction | Timeline |
| --- | --- | --- | --- |
| Data submission |  |  |  |
|  | MPR | Unit (Resource) Data | Effective date at least 2 Working Days from date of submission Unit Under Test End Date Effective Date at least 2 Working Days from date of submission Unit Under Test Start Date |

- 2.4 Default Rules Related to Offer Data Submission

- 2.4.7 Submission of Standing and Trading Offer Data

For the avoidance of doubt, Standing Offer Data and /or Trading Offer Data must be submitted by Participants using their designated Communication Channel (Type 2 Channel or Type 3 Channel). Outside of initial registration (process in Agreed Procedure 1 “Participant and Unit Registration and Deregistration”) or emergency communications (process in Agreed Procedure 7 “Emergency Communication”), the Market Operator will not enter such Offer Data on a Participant’s behalf. If a Participant fails to submit Offer Data for a particular Trading Day then that Participant’s Default Offer Data will be used.

    - Application for Generator Unit Under Test status

| # | Procedural Step | Timing | Mechanism | By / From | To | Linkage |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Submit a Generator Unit Under Test Request specifying in all cases the: - Unit Under Test Resource Name - Unit Under Test Start Date - Unit Under Test End Date | At least five Working Days before the proposed Unit Under Test Start Date Or with the agreement of the relevant System Operator no later than 09:00 two Working Days before the proposed Unit Under Test Start Date. | Email to TestRequest@sem-o.com | Market Participant | Market Operator |  |
| 2 | Open request and issue receipt | On receipt of Generator Unit Under Test Request email | Email | Market Operator | Market Participant |  |
| 3 | All emails to TestRequest@sem-o.com are automatically forwarded to the System Operators | On receipt of Generator Unit Under Test Request email | Email | Market Operator | System Operators |  |
| 4 | Submit a Nomination Profile for all Trading Dates as per Generator Unit Under Test Request. | Within 1 hour of the submission of the Generator Unit Under Test Request as outlined in Step 1 | Email | Market Participant | System Operator |  |
| 5 | Verify feasibility of proposed test with the relevant System Operator. If test details are not feasible, resubmit updated test dates and/or Nomination Profiles as required. | Up to 11:00 two Working Days in advance of the Unit Under Test Start Date | Phone/Email | Market Participant | Relevant System Operator |  |
| 6 | If the test is verified by the relevant System Operator, as set out in step 5, submit a Generator Unit Under Test Notice specifying in all cases the: - Unit Under Test Resource Name - Unit Under Test Start Date - Unit Under Test End Date - effective date (of test) N.B. – the effective date is a MPI requirement and must be the same as the Unit Under Test Start Date | By 12:00 two Working Days in advance of the Unit Under Test Start Date | MPI | Market Participant | Market Operator |  |
| 7 | Send Generator Unit Under Test Notice to relevant System Operator | By 12:30 two Working Days in advance of the Unit Under Test Start Date | Email | Market Operator | Relevant System Operator |  |
| 8 | Accept or reject the Generator Unit Under Test Notice & send a notification to the Market Operator. | By 16:00 two Working Days in advance of the Unit Under Test Start Date | Email | System Operator | Market Operator |  |
| 9 | Process the Generator Unit Under Test Notice: - if accepted, change the Generator Unit's status to Under Test - Otherwise, reject request and end process. | By 16:30 two Working Days in advance of the Unit Under Test Start Date | MPI | Market Operator |  |  |
| 10 | Close request and alert that the Generator Unit Under Test Notice has been processed | By 17:00 two Working Days in advance of the Unit Under Test Start Date | Email | Market Operator | Market Participant and System Operators |  |
| 11 | Submit Nomination Profiles (as specified in 5.12 to 5.14 and in accordance with the relevant Grid Code). | By 10:00 on TD-1 | MPI | Market Participant | Market Operator |  |

Legal Review

Complete

- Implementation Timescale, Costs and Resources

It is recommended that this Modification (Mod_33_10) be made effective on a Settlement Day basis within one working day of the RA decision.

Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: (to be assigned by Secretariat) |  | Type of Proposal (please delete as appropriate) |  |  | Number: (to be assigned by Secretariat) |
| SEMO | 16 Sep 2010 |  | Standard / Urgent |  |  | Mod_33_10 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Deirdre Hughes |  | Telephone number: 012370115 |  | e-mail address: deirdre.hughes@sem-o.com |  |  |
| Modification Proposal Title: Unit Under Test process |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | Agreed Procedure 4 T&S Code 5.170, |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | 5.170 Glossary Appendix J: Market Operator and System Operator Data Transactions Appendix F: Other Communications Agreed Procedure 4 “Transaction Submission and Validation” |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 7.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| - 5.170In order for a Generator Unit to apply for Under Test status under this Code, a Participant shall submit a Generator Unit Under Test Notice which shall comprise a Unit Under Test Start Date and a Unit Under Test End Date as specified in Appendix F “Other Communications” and in accordance with Agreed Procedure 4 “Transaction Submission and Validation”. The submission of this data shall constitute an application by the Participant for Under Test status. - 5.170A Prior to the submission of a Generator Unit Under Test Notice, a Participant shall submit a Generator Unit Under Test Request which shall propose a Unit Under Test Start Date, a Unit Under Test End Date and a Nomination Profile as specified in Appendix F “Other Communications” and in accordance with Agreed Procedure 4 “Transaction Submission and Validation”. Glossary Generator Unit Under Test Request; means a notice submitted by a Generation Participant to the Market Operator and System Operator detailing its intention to apply for the status of Under Test as detailed in Appendix F: “Other Communications”.. - Appendix F: Other Communications Generator Unit Under Test Notice - F.6 Agreed Procedure 4 "Transaction Submission and Validation" sets out the detail of all Generator Unit Under Test Notices, following the principles in paragraphs F.6A and F.7 below. - F.6A Participants shall submit a Generator Unit Under Test Request to the Market Operator at least five Working Days in advance of Unit Under Test Start Date. The Generator Unit Under Test Request will specify in all cases the Nomination Profiles, Unit Under Test Start Date, Unit Under Test End Date and the Generator Unit Under Test. The following shall also apply: - 1. The relevant System Operator shall contact the Participant regarding the feasibility of the proposed application for Unit Under Test status and the proposed Nomination Profiles. - F.7 Participants shall submit a Generator Unit Under Test Notice to the Market Operator no later than 12:00 two Working Days in advance of the Unit Under Test Start Date and, when submitting a notice to terminate a test period at least two Working Days in advance of the Unit Under Test End Date. The Generator Unit Under Test Notice will specify in all cases the Unit Under Test Start Date and the Unit Under Test End Date and the Generator Unit Under Test. The following shall also apply: - 1. The Market Operator shall verify with the relevant System Operator that the Generator Unit proposed for Under Test status has been granted such a status in accordance with the relevant Grid Code; and - 2. The Market Operator will ensure that Generator Unit Under Test Notices can be submitted by Participants through Type 2 or 3 Communications Channels. - Market Operator and System Operator Data Transactions - The Market Operator shall submit all Generator Unit Under Test Notices to the System Operators no later than 12:30 two Working Days before the Trading Day on which they are to become effective. - The form of Generator Unit Under Test Notice is set out in Appendix F. - The System Operator for the Currency Zone in which the Participant is registered shall validate the Generator Unit Under Test Notice and confirm to the Market Operator whether the Generator Unit is Under Test in accordance with paragraph 5.171. Agreed Procedure 4: Transaction Submission and Validation - 1.1 Participant Data Transactions For MPI Class data submissions and for data queries and report queries no Market Operator approval is required. Data Transaction; Class; Element of Data Transaction; Timeline. Data submission. MPR; Unit (Resource) Data; Effective date at least 2 Working Days from date of submissionUnit Under Test End Date Effective Date at least 2 Working Days from date of submission Unit Under Test Start Date. - 1.4 Default Rules Related to Offer Data Submission - 1.4.7 Submission of Standing and Trading Offer Data For the avoidance of doubt, Standing Offer Data and /or Trading Offer Data must be submitted by Participants using their designated Communication Channel (Type 2 Channel or Type 3 Channel). Outside of initial registration (process in Agreed Procedure 1 “Participant and Unit Registration and Deregistration”) or emergency communications (process in Agreed Procedure 7 “Emergency Communication”), the Market Operator will not enter such Offer Data on a Participant’s behalf. If a Participant fails to submit Offer Data for a particular Trading Day then that Participant’s Default Offer Data will be used. - Application for Generator Unit Under Test status #; Procedural Step; Timing; Mechanism; By / From; To; Linkage. 1; Submit a Generator Unit Under Test Request specifying in all cases the: - Unit Under Test Resource Name - Unit Under Test Start Date - Unit Under Test End Date - Nomination Profiles for all Trading Days between Unit Under Test Start Date and Unit Under Test End Date inclusive; At least five Working Days before the proposed Unit Under Test Start Date; Email to TestRequest@sem-o.com; Market Participant; Market Operator. 2; Open request and issue receipt; On receipt of Generator Unit Under Test Request email; Email; Market Operator; Market Participant. 3; All emails to TestRequest@sem-o.com are automatically forwarded to the System Operators; On receipt of Generator Unit Under Test Request email; Email; Market Operator; System Operators. 4; Issue receipt; On receipt of Generator Unit Under Test Request email; Email; Relevant System Operator; Market Participant. 5; Verify feasibility of test and advise Market Participant; By 12:00 two Working Days in advance of the Unit Under Test Start Date; Various; Relevant System Operator; Market Participant. 6; If test is not feasible, resubmit updated details of test contained in Generator Unit Under Test Request and continue from Step 5.; By 12:00 two Working Days in advance of the Unit Under Test Start Date; Email; Market Participant; Relevant System Operator. 7; Submit a Generator Unit Under Test Notice specifying in all cases the: - Unit Under Test Resource Name - Unit Under Test Start Date - Unit Under Test End Date - effective date (of test) N.B. – the effective date is a MPI requirement and must be the same as the Unit Under Test Start Date; By 12:00 two Working Days in advance of the Unit Under Test Start Date; MPI; Market Participant; Market Operator. 8; Send Generator Unit Under Test Notice to relevant System Operator; By 12:30 two Working Days in advance of the Unit Under Test Start Date; Email; Market Operator; Relevant System Operator. 9; Accept or reject the Generator Unit Under Test Notice & send a notification to the Market Operator.; By 16:00 two Working Days in advance of the Unit Under Test Start Date; Email; System Operator; Market Operator. 10; Process the Generator Unit Under Test Notice: - if accepted, change the Generator Unit's status to Under Test - Otherwise, reject request and end process.; By 16:30 two Working Days in advance of the Unit Under Test Start Date; MPI; Market Operator. 11; Close request and alert that the Generator Unit Under Test Notice has been processed; By 17:00 two Working Days in advance of the Unit Under Test Start Date; Email; Market Operator; Market Participant and System Operators. 12; Submit Nomination Profiles (as specified in 5.12 to 5.14 and in accordance with the relevant Grid Code).; By 10:00 on TD-1; MPI; Market Participant; Market Operator. |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| Justification This Modification Proposal sets out in AP4 a clear set of steps for and the timings involved in a Generator Unit being granted Under Test status. In addition, the Modification Proposal changes the deadline by which the Generator Unit must submit a Generator Unit Under Test Notice from five Working Days before the test to two Working Days before the test. In place of the five Working Day notice currently provided, a Generator Unit Under Test Request email is sent to the Market Operator and System Operators with Unit Under Test Start and End Dates and Nomination Profiles five Working Days before the test. This gives the System Operator and the Market Participant sufficient time to agree on the feasibility of the test and the associated timings and profiles prior to the submission two Working Days before the test of the formal application in the form of the Generator Unit Under Test Notice. This increases the likelihood that the submitted Generator Unit Under Test Notice will be approved by the System Operator and reduces any additional workload on the Market Operator involved with dealing with a rejected Generator Unit Under Test Notice It also provides clarity to all parties regarding their obligations and the timelines associated with those obligations. Current Process - Participants shall submit a Generator Unit Under Test Notice to the Central Market System at least five Working Days in advance of the Unit Under Test Start Date. - Separately Participants shall submit the proposed dates of the test and the Nomination Profiles to System Operator. - SEMO will seek approval from System Operator regarding the Generator Unit Under Test Notice. - SEMO will accept or reject request in MPI on D-4. - Market participants can submit nomination profiles on D-3 and up until 10:00am on D-1 Participants need to have Nomination Profile, Unit Under Test Start Date and Unit Under Test Start End Date agreed with System Operator prior to entering information into Market Operator System by 12:00 D-5. It is operationally difficult to alter a Generator Unit Under Test Notice once accepted into Central Market System Proposed Process The Modification Proposal updates the Glossary to define a Generator Unit Under Test Request. The requirements regarding the Generator Unit Under Test Request are started in Trading and Settlement Code section 5.170A. The Unit Under Test process is outlined in the Code in Appendices F and J and a set of procedural steps has been created in Agreed Procedure 4. The proposed process remains a five day process but is initiated by an email to the System Operator and Market Operator. Market Operator will only check the MPI at D-2, so early submissions will not be picked up by Market Operator; however, the Market Operator will be aware of the request from the email. Within the time period between the email and submission into Market Operator systems, the System Operator and Participant have the opportunity to discuss the details of the proposed test and agree the Unit Under Test Start Date, Unit Under Test Start End Date and Nomination Profile. This Modification Proposal will make the process more efficient. Code Objective This Modification Proposal furthers the following Code objective: 1.3.6 to provide transparency in the operation of the Single Electricity Market; |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) Without this change there will continue to be confusion among some Market Participants regarding the steps involved in applying for Under Test status. The Unit Under Test process will continue to be operationally more intensive and less flexible. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.

Appendix 2 – Alternative Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (please delete as appropriate) |  |  | Number: (to be assigned by Secretariat) |
| SEMO | 11 November 2010 |  | Standard |  |  | Mod_33_10_v2 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Deirdre Hughes |  | Telephone number: 012370115 |  | e-mail address: deirdre.hughes@sem-o.com |  |  |
| Modification Proposal Title: Unit Under Test process v2 |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | Agreed Procedure 4 T&S Code 5.170, |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | 5.170, Glossary, Appendix J: Market Operator and System Operator Data Transactions, Appendix F: Other Communications, Agreed Procedure 4 “Transaction Submission and Validation” |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 7.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| - In order for a Generator Unit to apply for Under Test status under this Code, a Participant shall submit a Generator Unit Under Test Notice which shall comprise a Unit Under Test Start Date and a Unit Under Test End Date as specified in Appendix F “Other Communications” and in accordance with Agreed Procedure 4 “Transaction Submission and Validation”. The submission of this data shall constitute an application by the Participant for Under Test status. - 5.170A Prior to the submission of a Generator Unit Under Test Notice, a Participant shall submit a Generator Unit Under Test Request which shall propose a Unit Under Test Start Date and a Unit Under Test End Date as specified in Appendix F “Other Communications” and in accordance with Agreed Procedure 4 “Transaction Submission and Validation”. # Glossary Generator Unit Under Test Request; means a notice submitted by a Generation Participant to the Market Operator and System Operator detailing its intention to apply for the status of Under Test as detailed in Appendix F: “Other Communications”.. - APPENDIX F: OTHER COMMUNICATIONS Generator Unit Under Test Notice F.6 Agreed Procedure 4 "Transaction Submission and Validation" sets out the detail of all Generator Unit Under Test Notices, following the principles in paragraphs F.6A and F.7 below. - F.6A Each Participant shall submit a Generator Unit Under Test Request to the Market Operator at least five Working Days in advance of Unit Under Test Start Date or, with the agreement of the relevant System Operator, no later than 09:00 two Working Days in advance of Unit Under Test Start Date. The Generator Unit Under Test Request will specify in all cases Unit Under Test Start Date, Unit Under Test End Date and the Generator Unit Under Test. The following shall also apply: - 1. The Participant shall submit to the relevant System Operator the proposed Nomination Profile for each day of the Generator Unit Under Test Request within one hour of submission of the Generator Unit Under Test Request. - 2. The Participant shall contact the relevant System Operator to verify the feasibility of the proposed application for Unit Under Test status and the proposed Nomination Profiles. F.7 Participants shall submit a Generator Unit Under Test Notice to the Market Operator no later than 12:00 two Working Days in advance of the Unit Under Test Start Date and, when submitting a notice to terminate a test period at least two Working Days in advance of the Unit Under Test End Date. The Generator Unit Under Test Notice will specify in all cases the Unit Under Test Start Date and the Unit Under Test End Date, and the Generator Unit Under Test. The following shall also apply: The Market Operator shall verify with the relevant System Operator that the Generator Unit proposed for Under Test status has been granted such a status in accordance with the relevant Grid Code; and The Market Operator will ensure that Generator Unit Under Test Notices can be submitted by Participants through Type 2 or 3 Communications Channels. - Appendix J : Market Operator and System Operator Data Transactions - J.6 The Market Operator shall submit all Generator Unit Under Test Notices to the System Operators no later than 12:30 two Working Days before the Trading Day on which they are to become effective. - J.7 The form of Generator Unit Under Test Notice is set out in Appendix F. - J.8 The System Operator for the Currency Zone in which the Participant is registered shall validate the Generator Unit Under Test Notice and confirm to the Market Operator whether the Generator Unit is Under Test in accordance with paragraph 5.171. # Agreed procedure 4: transaction submission and validation - 2.2 Participant Data Transactions For MPI Class data submissions and for data queries and report queries no Market Operator approval is required. Data Transaction; Class; Element of Data Transaction; Timeline. Data submission. MPR; Unit (Resource) Data; Effective date at least 2 Working Days from date of submission Unit Under Test End Date Effective Date at least 2 Working Days from date of submission Unit Under Test Start Date. - 2.4 Default Rules Related to Offer Data Submission - 2.4.7 Submission of Standing and Trading Offer Data For the avoidance of doubt, Standing Offer Data and /or Trading Offer Data must be submitted by Participants using their designated Communication Channel (Type 2 Channel or Type 3 Channel). Outside of initial registration (process in Agreed Procedure 1 “Participant and Unit Registration and Deregistration”) or emergency communications (process in Agreed Procedure 7 “Emergency Communication”), the Market Operator will not enter such Offer Data on a Participant’s behalf. If a Participant fails to submit Offer Data for a particular Trading Day then that Participant’s Default Offer Data will be used. - Application for Generator Unit Under Test status #; Procedural Step; Timing; Mechanism; By / From; To; Linkage. 1; Submit a Generator Unit Under Test Request specifying in all cases the: - Unit Under Test Resource Name - Unit Under Test Start Date - Unit Under Test End Date; At least five Working Days before the proposed Unit Under Test Start Date Or with the agreement of the relevant System Operator no later than 09:00 two Working Days before the proposed Unit Under Test Start Date.; Email to TestRequest@sem-o.com; Market Participant; Market Operator. 2; Open request and issue receipt; On receipt of Generator Unit Under Test Request email; Email; Market Operator; Market Participant. 3; All emails to TestRequest@sem-o.com are automatically forwarded to the System Operators; On receipt of Generator Unit Under Test Request email; Email; Market Operator; System Operators. 4; Submit a Nomination Profile for all Trading Dates as per Generator Unit Under Test Request.; Within 1 hour of the submission of the Generator Unit Under Test Request as outlined in Step 1; Email; Market Participant; System Operator. 5; Verify feasibility of proposed test with the relevant System Operator. If test details are not feasible, resubmit updated test dates and/or Nomination Profiles as required.; Up to 11:00 two Working Days in advance of the Unit Under Test Start Date; Phone/Email; Market Participant; Relevant System Operator. 6; If the test is verified by the relevant System Operator, as set out in step 5, submit a Generator Unit Under Test Notice specifying in all cases the: - Unit Under Test Resource Name - Unit Under Test Start Date - Unit Under Test End Date - effective date (of test) N.B. – the effective date is a MPI requirement and must be the same as the Unit Under Test Start Date; By 12:00 two Working Days in advance of the Unit Under Test Start Date; MPI; Market Participant; Market Operator. 7; Send Generator Unit Under Test Notice to relevant System Operator; By 12:30 two Working Days in advance of the Unit Under Test Start Date; Email; Market Operator; Relevant System Operator. 8; Accept or reject the Generator Unit Under Test Notice & send a notification to the Market Operator.; By 16:00 two Working Days in advance of the Unit Under Test Start Date; Email; System Operator; Market Operator. 9; Process the Generator Unit Under Test Notice: - if accepted, change the Generator Unit's status to Under Test - Otherwise, reject request and end process.; By 16:30 two Working Days in advance of the Unit Under Test Start Date; MPI; Market Operator. 10; Close request and alert that the Generator Unit Under Test Notice has been processed; By 17:00 two Working Days in advance of the Unit Under Test Start Date; Email; Market Operator; Market Participant and System Operators. 11; Submit Nomination Profiles (as specified in 5.12 to 5.14 and in accordance with the relevant Grid Code).; By 10:00 on TD-1; MPI; Market Participant; Market Operator. |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| Justification This Modification Proposal sets out in AP4 a clear set of steps for and the timings involved in a Generator Unit being granted Under Test status. In addition, the Modification Proposal changes the deadline by which the Generator Unit must submit a Generator Unit Under Test Notice from five Working Days before the test to two Working Days before the test. In place of the five Working Day notice currently provided, a Generator Unit Under Test Request email is sent to the Market Operator and System Operators with Unit Under Test Start and End Dates five Working Days before the test (or by 09:00 two Working Days before the test with the agreement of the relevant System Operator). This gives the System Operator and the Market Participant sufficient time to agree on the feasibility of the test and the associated timings and profiles prior to the submission two Working Days before the test of the formal application in the form of the Generator Unit Under Test Notice. This increases the likelihood that the submitted Generator Unit Under Test Notice will be approved by the System Operator and reduces any additional workload on the Market Operator involved with dealing with a rejected Generator Unit Under Test Notice It also provides clarity to all parties regarding their obligations and the timelines associated with those obligations. Current Process - Participants shall submit a Generator Unit Under Test Notice to the Central Market System at least five Working Days in advance of the Unit Under Test Start Date. - Separately Participants shall submit the proposed dates of the test and the Nomination Profiles to System Operator. - SEMO will seek approval from System Operator regarding the Generator Unit Under Test Notice. - SEMO will accept or reject request in MPI on D-4. - Market participants can submit nomination profiles on D-3 and up until 10:00am on D-1 Participants need to have Nomination Profile, Unit Under Test Start Date and Unit Under Test Start End Date agreed with System Operator prior to entering information into Market Operator System by 12:00 D-5. It is operationally difficult to alter a Generator Unit Under Test Notice once accepted into Central Market System Proposed Process The Modification Proposal updates the Glossary to define a Generator Unit Under Test Request. The requirements regarding the Generator Unit Under Test Request are started in Trading and Settlement Code section 5.170A. The Unit Under Test process is outlined in the Code in Appendices F and J and a set of procedural steps has been created in Agreed Procedure 4. The proposed process remains a five day process but is initiated by an email to the System Operator and Market Operator. Market Operator will only check the MPI at D-2, so early submissions will not be picked up by Market Operator; however, the Market Operator will be aware of the request from the email. Within the time period between the email and submission into Market Operator systems, the System Operator and Participant have the opportunity to discuss the details of the proposed test and agree the Unit Under Test Start Date, Unit Under Test Start End Date and Nomination Profile. This Modification Proposal will make the process more efficient. Code Objective This Modification Proposal furthers the following Code objective: 1.3.6 to provide transparency in the operation of the Single Electricity Market; |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| Without this change there will continue to be confusion among some Market Participants regarding the steps involved in applying for Under Test status. The Unit Under Test process will continue to be operationally more intensive and less flexible. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.