T&SC Modifications Committee

Final Recommendation Report (FRR)

Mod_35_10:

Clarification of Technical Offer Data Requirements

Version 1.0

11 November 2010

- Background

This Modification was received by the Secretariat on 16 September 2010 as a standard proposal and presented at Meeting 31 of the Modifications Committee on 30 September 2010.

- Purpose of Proposed Modification

2a. Justification for Modification

This Modification removes obligations on the Market Operator regarding notification of acceptance of Validation Data Set Number. It also proposes various clarifications and adjustments to the data submission requirements relating to Registration Data (Appendix H) and Offer Data (Appendix I).

The proposed changes are:

Paragraph 3.42H

The text of the approved Modification Proposal – set out in FRR_47_08 – that will become effective on the 8th Scheduled Release Deployment Date is modified. The obligation on the Market Operator to notify the Participant on acceptance of a Validation Data Set Number contained in paragraph 3.42H is removed.

Table H.2

- Firm Access Quantity (Site) (MW): Require FAQS to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Fixed Unit Load (MW): Change to clarify that this data item is not required for Demand Side Units and Netting Generator Units.

- Unit Load Scalar: Change to clarify that this data item is not required for Demand Side Units and Netting Generator Units.

- Generator Aggregator Flag: Clarifying that this field is a flag denoting if a Unit is a Generator Aggregator.

- Non Dispatchable Quantity: Change to clarify that this data item is required by the Central Market Systems for Demand Side Units.

- Netting Generator Flag: Change to clarify that this data item is not required for Demand Side Units in Central Market Systems.

- Non Firm Access Quantity: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Station ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Station Name: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Unit Location ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Physical Location ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Station Address: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems.

- Commission Test Certificate: Change to clarify that this data item is not required for Demand Side Units in Central Market Systems.

- Qualified Communication Channels: Change to clarify that this data item is not required within Central Market Systems for Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units.

- Licence Expiry Date: This data item is required by the Central Market Systems for all Generator Units, excluding Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units.

- Generator Aggregator System Operator Agreement: Not previous designated as Validation Registration Data (VRD).  This item should be VRD, to be validated as part of the Registration process by the relevant System Operator.

- Maximum Generation: proposes the removal of duplicate element (i.e. Maximum Generation appears in Table H.2 twice).

- Maximum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data.

- Minimum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data.

- Target Reservoir Level Percentage: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data.

- End Point of Start Up Period: This is a registration value within the Central Market Systems but is currently designated as Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Technical Offer Data (i.e. can be submitted and approved daily) and is therefore proposed to be re-designated as Validation Registration Data.

Clause I.12

- Minimum Generation: Proposes that Minimum Generation is removed from clause I.12, as this value is also contained within Table H.2.  This change is consistent with the design of the Central Market Systems.

- End Point of Start Up Period: Proposes the removal of “End Point of Start Up Period” from I.12, with this item being moved to Table H.2.

Clause I.17

- Target Reservoir Level Percentage: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data.

- Maximum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data.

- Minimum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code.  However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data.

Glossary

Defines the clarified item which denotes a Generator Unit as a Generator Aggregator (the requirement to submit the data item is in Table H.2).

2b. Impact of not implementing a solution

If this Modification is not implemented, there will continue to be a lack of clarity with respect to the data submission requirements for various unit types.

- Impact on Code Objectives

This Modification furthers Code Objectives #3 and #5 as follows:

“3. To facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;”

“5. To provide transparency in the operation of the Single Electricity Market;”

- Development Process

The proposal was drafted by SEMO and presented at Meeting 31 of the Modifications Committee.

- Assessment of Alternatives

No alternatives assessed.

- Working Group and/or Consultation

Working Group/Consultation not considered necessary.

- Impact on other Codes/Documents

# No impact on other codes or documents identified.

- Impact on Systems and Resources

# No impact on systems or resources identified.

- Modifications Committee views

A Generator Alternate raised an issue regarding the justification for the request for some of the data from Participants and its use upon submission. It was argued that some of the generic data items may not be necessary for certain generator types, in which case the obligation to submit them should be removed. A discussion took place regarding with whom the responsibility should lie to identify the data items that may not be relevant for certain generator types. There was a suggestion that Participants provide SEMO with a list of items they feel are superfluous. It was felt that SEMO could then assess the necessity for submission of such information. Generator Alternate felt the onus should be with SEMO to identify whether data is used or not.

SEMO advised that the issue raised by Participants is separate to that of the Modification presented and further noted that this was a large piece of work which could divert resources from what Participants may believe to be more important projects. There was recognition among the group that this should take a lower priority to other work streams but should be included in the list of work items.

A Supplier Alternate queried the removal of the obligation to submit Qualified Communications Channels. This was checked and while there is no requirement in the CMS for such a data item, there is a requirement for Qualified Communication Channels for all Generator Units except Netting Generator Units and this has been amended accordingly.

Following the discovery of this error, the Modification Proposal was subjected to a further rigorous check. It was discovered that some of the changes that were believed to be deletions of obligations on DSUs to submit a data item were in fact deletions from exemptions to submit the data items, effectively introducing the obligation. This was not the intention of the Modification Proposal and this has been reflected in the legal drafting section.

Recommendation

This Modification was ‘Recommended for Approval’ by the Modifications Committee by Unanimous vote as follows:

Andrew Burke - Generator Member

Brian Mongan - Generator Alternate

Grainne O’Shea - Generator Member

Kevin Hannafin - Generator Member

Jill Murray  - Supplier Alternate

Killian Morgan – Supplier Member

Iain Wright - Supplier Member

William Steele – Supplier Member

- Proposed Legal Drafting (Put forward by SEMO following meeting 31.)

Following Meeting 32, on review of this FRR, SEMO noted in a rigorous check of the FRR that the Modification should include the below changes, which differ from that of the original proposal as recommended for approval by the Committee.

It was discovered that some of the changes that were believed to be deletions of obligations on DSUs to submit a data item were in fact deletions from exemptions to submit the data items, effectively introducing the obligation. This was not the intention of the Modification Proposal and this has been reflected in the legal drafting section.

As set out in the original Modification Proposal (see Appendix 1) with the following amendments:

The changes to the following parts of Table H.2 in the Modification Proposal shall be replaced by the revised changes below:

Table H.2

| Firm Access Quantity (Site) (MW) | FAQSst | All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units | Yes |
| --- | --- | --- | --- |
| Non Firm Access Quantity |  | All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units. | Yes |
| Qualified Communication Channels |  | All Generator Units except Netting Generator Units | Yes |
| Unit Location ID |  | All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units | Yes |
| Physical Location ID |  | All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units | Yes |

Legal Review

Complete.

- Implementation Timescale, Costs and Resources

It is recommended that this Modification Proposal (35_10) be made effective on a Settlement Day basis with effect from the 8th Scheduled Release (November 2010).

Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |
| --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: (to be assigned by Secretariat) | Type of Proposal (please delete as appropriate) | Number: (to be assigned by Secretariat) |
| SEMO | 16 Sep 2010 | Standard | Mod_35_10 |
| Contact Details for Modification Proposal Originator |
| Name: Jonathan Jennings | Telephone number: 01 2370321 | e-mail address: jonathan.jennings@sem-o.com |
| Modification Proposal Title: Clarification of Technical Offer Data Requirements |
| Trading and Settlement Code and/or Agreed Procedure change? | TSC |
| Section(s) affected by Modification Proposal: | 3.42H (from Mod_47_08_v2) Table H.2 I.12 I.17 Glossary |
| Version Number of the Code/Agreed Procedure used in Modification drafting: | 7.0 |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |
| Validation of Data Transactions containing Validation Technical Offer Data 3.42H If a Participant submits a Data Transaction containing a Validation Data Set Number for a given Trading Day at least 10 minutes before Gate Closure, the relevant data submission shall be Accepted by the Market Operator. Table H.2 Name Term Relevant Units Validation Registration Data Firm Access Quantity (Site) (MW) FAQSst All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units Yes Fixed Unit Load (MW) FULu All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units Yes Unit Load Scalar ULSu All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units Yes Generator Aggregator Flag Aggregated Generator Units Yes Maximum Generation All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units. The Maximum Generation shall be submitted equal to the Registered Capacity of the Generator Unit. Yes Non Dispatchable Quantity Demand Side Units only Yes Netting Generator Flag All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Demand Side Units Yes Non Firm Access Quantity All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units. Yes Station ID All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units Yes Station Name All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units Yes Unit Location ID All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units Yes Physical Location ID All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units Yes Station Address All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units Yes Commission Test Certificate All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units Yes Qualified Communication Channels All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units Yes Licence Expiry Date All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units. Yes Generator Aggregator System Operator Agreement All Aggregated Generator Units Yes Maximum Storage Capacity Pumped Storage Units only Yes Minimum Storage Capacity Pumped Storage Units only Yes Target Reservoir Level Percentage Pumped Storage Units only Yes End Point of Start Up Period All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units Yes I.12 Each Participant shall submit Technical Offer Data to the Market Operator in respect of each of its Generator Units in accordance with the following provisions, subject to the exceptions outlined in paragraphs I.13 to I.18 inclusive: 1. Technical Offer Data shall be submitted before Gate Closure for the Trading Day to which the data relates, as set out in paragraph 4.4 and no more that 28 days before Gate Closure; 2. Data shall be submitted to reflect the real capabilities of the relevant Generator Unit net of Unit Load as set out in paragraph 4.26; 3. Data shall be submitted in respect of a Generator Unit such that it is consistent with data submitted for that Unit under the applicable Grid Code, scaled, where appropriate, by the appropriate Distribution Loss Adjustment Factor as set out in paragraph 4.27; 4. Certain Technical Offer Data items shall be classified as Validation Technical Offer Data as set out in this paragraph I.12 and in paragraphs I.17 and I.18; 5. A Forecast Availability Profile shall be submitted in accordance with paragraph 4.28; 6. A Forecast Minimum Output Profile shall be submitted in accordance with paragraph 4.29; 7. A Forecast Minimum Stable Generation Profile shall be submitted in accordance with paragraph 4.30; 8. A Short-Term Maximisation Capability, a Short-Term Maximisation Time and a Minimum Stable Generation shall be submitted and shall be classified as Validation Technical Offer Data; and In addition, for Generator Units, the relevant Participant shall submit the following data items : Name Validation Technical Offer Data Minimum On Time, Yes Minimum Off Time Yes Maximum On Time Yes Synchronous Start Up Time Hot Yes Synchronous Start Up Time Warm Yes Synchronous Start Up Time Cold Yes Block Load Cold Yes Block Load Hot Yes Block Load Warm Yes Deload Break Point Yes Deloading Rate 1 Yes Deloading Rate 2 Yes Dwell Time 1 Yes Dwell Time 2 Yes Dwell Time 3 Yes Dwell Time Trigger Point 1 Yes Dwell Time Trigger Point 2 Yes Dwell Time Trigger Point 3 Yes Load Up Break Point Cold (1) Yes Load Up Break Point Cold (2) Yes Load Up Break Point Hot (1) Yes Load Up Break Point Hot (2) Yes Load Up Break Point Warm (1) Yes Load Up Break Point Warm (2) Yes Loading Rate Cold (1) Yes Loading Rate Cold (2) Yes Loading Rate Cold (3) Yes Loading Rate Hot (1) Yes Loading Rate Hot (2) Yes Loading Rate Hot (3) Yes Loading Rate Warm (1) Yes Loading Rate Warm (2) Yes Loading Rate Warm (3) Yes Ramp Down Break Point 1 Yes Ramp Down Break Point 2 Yes Ramp Down Break Point 3 Yes Ramp Down Break Point 4 Yes Ramp Down Rate 1 Yes Ramp Down Rate 2 Yes Ramp Down Rate 3 Yes Ramp Down Rate 4 Yes Ramp Down Rate 5 Yes Ramp Up Break Point 1 Yes Ramp Up Break Point 2 Yes Ramp Up Break Point 3 Yes Ramp Up Break Point 4 Yes Ramp Up Rate 1 Yes Ramp Up Rate 2 Yes Ramp Up Rate 3 Yes Ramp Up Rate 4 Yes Ramp Up Rate 5 Yes Soak Time Cold (1) Yes Soak Time Cold (2) Yes Soak Time Trigger Point Cold (1) Yes Soak Time Trigger Point Cold (2) Yes Soak Time Hot (1) Yes Soak Time Hot (2) Yes Soak Time Trigger Point Hot (1) Yes Soak Time Trigger Point Hot (2) Yes Soak Time Warm (1) Yes Soak Time Warm (2) Yes Soak Time Trigger Point Warm (1) Yes Soak Time Trigger Point Warm (2) Yes Start of Restricted Range 1 Yes End of Restricted Range 1 Yes Start of Restricted Range 2 Yes End of Restricted Range 2 Yes Hot Cooling Boundary Yes Warm Cooling Boundary Yes Block Load Flag Yes Each Participant shall not submit individual Ramp Up Rates that will result in a Single Ramp Up Rate less than or equal to zero in the MSP Software and each Participant shall not submit individual Ramp Down Rates that will result in a Single Ramp Down Rate less than or equal to zero in the MSP Software. I.17 In respect of each Pumped Storage Unit, the relevant Participant shall submit Technical Offer Data as set out in paragraph I.12 with the following additions: 1. A Pumped Storage Cycle Efficiency shall be classified as Validation Technical Offer Data and shall be submitted in accordance with paragraph 5.113; 2. A Forecast Minimum Output Profile and a Forecast Availability Profile shall be submitted as set out in paragraphs 5.114 and 5.115 respectively; and 3. A Pumping Capacity, which shall be classified as Validation Technical Offer Data. Glossary Generator Aggregator Flag means a flag to indicate that a Generator Unit is a Generator Aggregator. |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |
| This Modification removes obligations on the Market Operator regarding notification of acceptance of Validation Data Set Number. It also proposes various clarifications and adjustments to the data submission requirements relating to Registration Data (Appendix H) and Offer Data (Appendix I). The proposed changes are: Paragraph 3.42H The text of the approved Modification Proposal – set out in FRR_47_08 – that will become effective on the 8th Scheduled Release Deployment Date is modified. The obligation on the Market Operator to notify the Participant on acceptance of a Validation Data Set Number contained in paragraph 3.42H is removed. Table H.2 Firm Access Quantity (Site) (MW): Require FAQS to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Fixed Unit Load (MW): Change to clarify that this data item is not required for Demand Side Units and Netting Generator Units. Unit Load Scalar: Change to clarify that this data item is not required for Demand Side Units and Netting Generator Units. Generator Aggregator Flag: Clarifying that this field is a flag denoting if a Unit is a Generator Aggregator. Non Dispatchable Quantity: Change to clarify that this data item is required by the Central Market Systems for Demand Side Units. Netting Generator Flag: Change to clarify that this data item is not required for Demand Side Units in Central Market Systems. Non Firm Access Quantity: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Station ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Station Name: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Unit Location ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Physical Location ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Station Address: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. Commission Test Certificate: Change to clarify that this data item is not required for Demand Side Units in Central Market Systems. Qualified Communication Channels: Change to clarify that this data item is not required within Central Market Systems for Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units. Licence Expiry Date: This data item is required by the Central Market Systems for all Generator Units, excluding Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units. Generator Aggregator System Operator Agreement: Not previous designated as Validation Registration Data (VRD). This item should be VRD, to be validated as part of the Registration process by the relevant System Operator. Maximum Generation: proposes the removal of duplicate element (i.e. Maximum Generation appears in Table H.2 twice). Maximum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. Minimum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. Target Reservoir Level Percentage: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. End Point of Start Up Period: This is a registration value within the Central Market Systems but is currently designated as Technical Offer Data under the Code. However, the October CMS release design does not include this item as Technical Offer Data (i.e. can be submitted and approved daily) and is therefore proposed to be re-designated as Validation Registration Data. Clause I.12 Minimum Generation: Proposes that Minimum Generation is removed from clause I.12, as this value is also contained within Table H.2. This change is consistent with the design of the Central Market Systems. End Point of Start Up Period: Proposes the removal of “End Point of Start Up Period” from I.12, with this item being moved to Table H.2. Clause I.17 Target Reservoir Level Percentage: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. Maximum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. Minimum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. Glossary Defines the clarified item which denotes a Generator Unit as a Generator Aggregator (the requirement to submit the data item is in Table H.2). This Modification provides clarification regarding the data submission for Registration Data (Appendix H) and Offer Data (Appendix I). In providing such clarity regarding the data required for various unit types, this Modification furthers Code Objectives #3 and #5 as follows: “3. to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;” “5. to provide transparency in the operation of the Single Electricity Market;” |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |
| If this Modification is not implemented, there will continue to be a lack of clarity with respect to the data submission requirements for various unit types. |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |