| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |
| SEMO | 11 Sep 2008 |  | Standard |  | Mod_52_08 |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Gill Nolan |  | Telephone number: 01 2370271 |  | e-mail address: gill.nolan@sem-o.com |  |  |
| Modification Proposal Title: |  | Extension of Section 7 Clauses for calculation of Eligible Availability for Energy Limited Units. |  |  |  |  |
| Trading and Settlement Code/ Agreed Procedure change? (delete as appropriate) |  |  |  |  |  | Section(s) affected by Modification Proposal |
| Trading and Settlement Code |  |  |  |  |  | 7.54, 7.55, 7.56, 7.57 |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  |  | V4.3 |
| Modification Proposal Description Clearly show proposed code change using tracked changes, & include any necessary explanatory information |  |  |  |  |  |  |
| This modification proposes to extend the interim calculations in section 7 for the maximisation of Eligible Availability for Energy Limited Units (Clauses 7.54, 7.55, 7.56 & 7.57) for an additional 4 months. 7.54 Until the date that is 1216 months after the Market Start Date, paragraph 5.104 shall be replaced with - 5.104 The Interim Eligible Availability (IEAuh) for each Energy Limited Generator Unit u in each Trading Period h in the period commencing at the start of the first Trading Period in each Capacity Period c and ending at the end of the last Trading Period of the first Trading Day t in each Capacity Period shall be calculated as follows: Given λh and Iφh, select values of IEAuh to maximise: h=ah=bIEAuh×VCPWFh×CPVScVCPWFh×CPVSc+IECPWFh×CPESc×λh subject to the following conditions: - h=ah=bIEAuh≤Maxh=ah=bMaxMSQuh,0,SELutTPD +SELu(t−1)TPD x 0.25 - ∀h:IEAuh≥Max MSQuh,0 - ∀h:IEAuh≤APuh Where 1. VCPWFh is the Variable Capacity Payments Weighting Factor in Trading Period h; 2. CPVSc is the Capacity Period Variable Sum in Capacity Period c; 3. IECPWFh is the Interim Ex-Post Capacity Payments Weighting Factor in Trading Period h; 4. CPESc is the Capacity Period Ex-Post Sum in Capacity Period c; 5. λh is the Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; 6. Iφh is the Interim Ex-Post Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; 7. SELut is the Accepted Energy Limit for Energy Limited Generator Unit u in Trading Day t expressed in terms of generation, amended in accordance with paragraphs 5.97 or 5.101 as appropriate; 7. SELu(t-1) is the Accepted Energy Limit for Energy Limited Generator Unit u in Trading Day t-1 expressed in terms of generation, amended in accordance with paragraphs 5.97 or 5.101 as appropriate; 8. TPD is the Trading Period Duration; 9. MSQuh is the Market Schedule Quantity for Energy Limited Generator Unit u in Trading Period h; 10. APuh is the Availability Profile for Energy Limited Generator Unit u in Trading Period h; 11. h=ah=b is a summation over all Trading Periods h in the range a to b, where a is the first Trading Period in each Capacity Period c and b is the last Trading Period in the first Trading Day t to commence in each Capacity Period. 7.55 Until the date that is 1216 months after the Market Start Date, paragraph 5.105 shall be replaced with - 5.105 The Interim Eligible Availability (IEAuh) for each Energy Limited Generator Unit u in each Trading Period h in the last Trading Day commencing in each Capacity Period c, where each such Trading Period lies within such Capacity Period c shall be calculated as follows: Given λh and Iφh, select values of IEAuh to maximise: h=ah=bIEAuh×VCPWFh×CPVScVCPWFh×CPVSc+IECPWFh×CPESc×λh subject to the following conditions: - h=ah=bIEAuh≤Maxh=ah=bMaxMSQuh,0,SELutTPD x 0.75 - ∀h:IEAuh≥Max MSQuh,0 - ∀h:IEAuh≤APuh Where: - VCPWFh is the Variable Capacity Payments Weighting Factor in Trading Period h; - CPVSc is the Capacity Period Variable Sum in Capacity Period c; - IECPWFh is the Interim Ex-Post Capacity Payments Weighting Factor in Trading Period h; - CPESc is the Capacity Period Ex-Post Sum in Capacity Period c; - λh is the Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; - Iφh is the Interim Ex-Post Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; - SELut is the Accepted Energy Limit for Energy Limited Generator Unit u in Trading Day t expressed in terms of generation, amended in accordance with paragraphs 5.97 or 5.101 as appropriate; - TPD is the Trading Period Duration; - MSQuh is the Market Schedule Quantity for Energy Limited Generator Unit u in Trading Period h; - APuh is the Availability Profile for Energy Limited Generator Unit u in Trading Period h; - h=ah=b is a summation over all Trading Periods h in the range a to b, where a is the first Trading Period in the last Trading Day t to commence in each Capacity Period c and b is the last Trading Period in each Capacity Period c. 7.56 Until the date that is 1216 months after the Market Start Date, paragraph 5.107 shall be replaced with - 5.107 The Eligible Availability (EAuh) for each Energy Limited Generator Unit u for each Trading Period h in the period commencing at the start of the first Trading Period in each Capacity Period c and ending at the end of the last Trading Period of the first Trading Day t in each Capacity Period shall be calculated as follows: Given λh and Φh, select values of EAuh to maximise: h=ah=bEAuh×VCPWFh×CPVScVCPWFh×CPVSc+ECPWFh×CPESc×λh subject to the following conditions: - h=ah=bEAuh≤Maxh=ah=bMaxMSQuh,0,SELutTPD +SELu(t−1)TPD x 0.25 - ∀h:EAuh≥Max MSQuh,0 - ∀h:EAuh≤APuh Where - VCPWFh is the Variable Capacity Payments Weighting Factor in Trading Period h; - CPVSc is the Capacity Period Variable Sum in Capacity Period c; - ECPWFh is the Ex-Post Capacity Payments Weighting Factor in Trading Period h; - CPESc is the Capacity Period Ex-Post Sum in Capacity Period c; - λh is the Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; - φh is the Ex-Post Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; - SELut is the Accepted Energy Limit for Energy Limited Generator Unit u in Trading Day t expressed in terms of generation, amended in accordance with paragraphs 5.97 or 5.101 as appropriate; - SELu(t-1) is the Accepted Energy Limit for Energy Limited Generator Unit u in Trading Day t-1 expressed in terms of generation, amended in accordance with paragraphs 5.97 or 5.101 as appropriate; - TPD is the Trading Period Duration; - MSQuh is the Market Schedule Quantity for Energy Limited Generator Unit u in Trading Period h; - APuh is the Availability Profile for Energy Limited Generator Unit u in Trading Period h; h=ah=b is a summation over all Trading Periods h in the range a to b, where a is the first Trading Period in each Capacity Period c and b is the last Trading Period in the first Trading Day t to commence in each Capacity Period. 7.57 Until the date that is 1216 months after the Market Start Date, paragraph 5.108 shall be replaced with: - 5.108 The Eligible Availability (EAuh) for each Energy Limited Generator Unit u in each Trading Period h in the last Trading Day commencing in each Capacity Period c, where each such Trading Period lies within such Capacity Period c shall be calculated as follows: Given λh and φh, select values of EAuh to maximise: h=ah=bEAuh×VCPWFh×CPVScVCPWFh×CPVSc+ECPWFh×CPESc×λh subject to the following conditions: - h=ah=bEAuh≤Maxh=ah=bMaxMSQuh,0,SELutTPD x 0.75 - ∀h:EAuh≥Max MSQuh,0 - ∀h:EAuh≤APuh Where - VCPWFh is the Variable Capacity Payments Weighting Factor in Trading Period h; - CPVSc is the Capacity Period Variable Sum in Capacity Period c; - ECPWFh is the Ex-Post Capacity Payments Weighting Factor in Trading Period h; - CPESc is the Capacity Period Ex-Post Sum in Capacity Period c; - λh is the Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; - φh is the Ex-Post Loss of Load Probability value determined as part of the Capacity Payment calculations to provide a capacity weighting in each Trading Period h and is determined in accordance with Appendix M “Description of the Function for the Determination of Capacity Payments”; - SELut is the Accepted Energy Limit for Energy Limited Generator Unit u in Trading Day t expressed in terms of generation, amended in accordance with paragraphs 5.97 or 5.101 as appropriate; - TPD is the Trading Period Duration; - EAuh is the Eligible Availability for Energy Limited Generator Unit u in Trading Period h; - APuh is the Availability Profile for Energy Limited Generator Unit u in Trading Period h; - h=ah=b is a summation over all Trading Periods h in the range a to b, where a is the first Trading Period in the last Trading Day t to commence in each Capacity Period c and b is the last Trading Period in each Capacity Period c. |  |  |  |  |  |  |
| Modification Proposal Justification Clearly state the reason for the Modification & how it furthers the Code Objectives |  |  |  |  |  |  |
| Background A weighting factor is used to allocate spare capacity when calculating Eligible Availability (EA) across a Trading Day for Energy Limited units as specified in section 5.103 and 5.106 of the Code to maximise Capacity Payments. A separate calculation is specified for the last Trading Day of the month as specified in 5.105 and 5.108 as there are some inputs to the calculation that are not available for the last six hours of that Trading Day. The Ex -Post Capacity Payments Weighting Factor for the last 6 hours of that Trading Day can not be calculated until the end of the following month. The last 6 hours of the last Trading Day of the month (which fall in the next month or capacity period) consequently also require separate calculations. These are specified in 5.104 and 5.107. The calculation of Eligible Availability in the T&SC is modified for the last and the first day of month so that the maximisation of EA will occur across the period where all the required input data is available. For the last trade day of the month, the maximisation of Eligible Availability occurs over the first 18 hours of the trading day. Corresponding to the reduction in the maximisation period, we allocate only 75% of the energy limit for the trading day to the calculation. Similarly, for the first trade day of the month, the maximisation of Eligible Availability occurs over the last 6 hours of the trading day. Corresponding to the reduction in the maximisation period, we allocate only 25% of the energy limit for the trading day to the calculation. The calculations maximise the product of Eligible Availability and the Weighting Factor subject to following constraints, - For each Trading Period, Eligible Availability (EA) is less than the Availability Profile (AP), - For each Trading Period, EA is greater than Market Schedule Quantity (MSQ), and - The sum of Eligible Availability across the optimisation period is less than the Energy Limit. Issue Addressed by Mod 82_07 There was a potential conflict between two of these criteria on the last day of the month and the first day of the month. It was possible that the sum of the MSQ across the maximisation period could be greater than the pro-rated energy limit (i.e. 75% or 25% of the energy limit, as applicable). If this scenario occurred, there would be no solution to the problem, and the systems would not produce a result for Eligible Availability for that energy limited unit for that maximisation period. If this occurred, the unit would not receive capacity payments where it does not have an Eligible Availability. This would result in the capacity payments pot being divided among remaining units, and every other unit with eligible availability will receive a slightly larger share of the capacity pot, as the pot will be shared between less units. Solution put in place by Mod 82_07 The solution proposed in Mod 82_07, which was implemented in Section 7 of the TSC as clauses 7.54 – 7.57, was to increase the energy limit for the maximisation period so that EA can be set equal to MSQ in the event that the sum of the MSQs exceeds the allocated proportion of the energy limit. Some notes on clauses 7.54 – 7.57: - The solution aligns the treatment of Energy Limited Generator Units with the treatment of Pumped Storage for the first six and the last 18 hours of the capacity period. The solution therefore brought the treatment of Energy Limited Units in line with an existing precedent set out in the code. - If the SEM systems can’t solve, there is no EA set for that energy limited unit, and as such the unit will not receive capacity payments for the relevant time interval. The solution results in the energy limited unit receiving capacity payments in these maximisation periods, in line with the intention of the capacity payments mechanism. Modifications Committee discussion on Mod 82_07: Mod 82_07 proposed to alter amend clauses 5.104, 5.105, 5.107 and 5.108 to put in place the solution outlined above. However, the Modifications Committee made the decision that the solution would be reflected instead in Section 7 (Clauses 7.54 – 7.57) so that the results could be monitored and re-examined at a later date. The required changes were implemented in the SEM systems so that the systems reflect the calculations in 7.54 – 7.57. Justification for this modification proposal: Clauses 7.54 – 7.57 expire at the end of October 2008. This modification proposes to extend these provisions for an additional 4 months. Once a full year of data is available in December, SEMO will carry out analysis to determine whether this modification has had an impact on EA for Energy Limited Units and as such on the Capacity Payments Mechanism and if yes, the materiality of that impact. An extension of 4 months will allow the time for this analysis to take place and a further modification to be raised. T&SC Objectives - This modification aims to further the following objectives of the T&SC: - to facilitate the efficient discharge by the Market Operator of the obligations imposed upon it by its Market Operator Licences; - to facilitate the efficient, economic and coordinated operation, administration and development of the Single Electricity Market in a financially secure manner; and - to ensure no undue discrimination between persons who are parties to the Code; |  |  |  |  |  |  |
| Implication of not implementing the Modification Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met |  |  |  |  |  |  |
| If this modification is not implemented, the clauses in Section 7 will expire at the end of October 2008 and the SEM systems will not be compliant with the enduring calculations in 5.104, 5.105, 5.107 and 5.108. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@SEM-O.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.