Trading & Settlement Code

Modifications Committee

Final Recommendation Report

for

Mod_56_08

Registration Data for Interconnectors

Version 1.0

14th October 2008

- Background

This Modification was raised to move two clauses concerning Registration Data from Section 	7 of the T&SC into the enduring Code.

- Purpose of Proposed Modification

2a. Justification for Modification

- This modification proposes to move clauses 7.5 and 7.26 from Section 7 of the T&SC into the 	enduring Code. These clauses require the submission, upon registration, of additional data 	regarding whether or not an Interconnector can be dispatched at zero.

- This is useful information for SEM to have for any new Interconnector and it is also a parameter 	required in Agreed Procedure 2.

- As such, SEMO proposes to move these two clauses into the enduring Code, which will mean 	that there will be an ongoing requirement for any Interconnector to provide information about 	whether or not that unit can be dispatched at zero upon registration.

2b. Impact of not implementing a solution

The requirement for an Interconnector to submit data relating to whether or not it can be 	dispatched at zero would lapse at the end of October 2008. Participants would no longer be 	required to submit this useful information. In addition, Agreed Procedure 2 would no longer align 	with the T&SC in this area.

- Development Process

The proposal was developed by SEMO Market Development.

- Assessment of Alternatives

None considered

- Consultation

N/A

- Implementation Timescale, Costs and Resources

Implementation Timescale: as soon as is practicable prior to Nov 1st 2008

- Impact on Code Objectives

- This modification aims to further the following objective

1.3.5: to provide transparency in the operation of the Single Electricity Market.

- Impact on other Codes/Documents

None

- Modifications Committee views

An explanation of the modification proposal was given by the MO Member. No queries were raised by the Modifications Committee.

This Modification was Recommended for Approval (unanimously): T Gill, S Walsh, M 	Hayden, M Walsh, W Steele, E Chukwureh

- Proposed Legal Drafting

- 2.75    Notwithstanding paragraph 2.33, the Interconnector Registration Data for an Interconnector  shall comprise:

- 16.  Whether or not the Interconnector is capable of being dispatched at zero and this shall be submitted only through a Type 1 Communication Channel.

- 7.5    Until the date that is 12 months after the Market Start Date, the following shall be inserted after paragraph 2.75.15:

“16.	Whether or not the Interconnector is capable of being dispatched at zero and this shall be submitted only through a Type 1 Communication Channel.”

- 7.26   Until the date that is 12 months after the Market Start Date, Glossary definitions for Interconnector Technical Data, Minimum Interconnector Import Level and Minimum Interconnector Export Level  shall be replaced with:

- “Interconnector Technical Data means, for each Interconnector, the subset of Interconnector Registration Data which comprises Aggregate Import Capacity,  Aggregate Export Capacity, Aggregate Interconnector Ramp Rate, Minimum Interconnector Import Level, Minimum Interconnector Export Level and whether or not the Interconnector is capable of being dispatched at zero.”;

“Minimum Interconnector Import Level means the level (expressed as a number in MW which is positive, including zero) the value of which relates to the minimum stable level at which that Interconnector may be dispatched to import energy.  A value of zero is equated with the case in which no such minimum level applies.  A value which is greater than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Import Level.  The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero.”;

and

“Minimum Interconnector Export Level means the level (expressed as a number in MW which is negative or zero), the absolute value of which relates to the minimum stable level at which that Interconnector may be dispatched to export energy.  A value of zero is equated with the case in which no such minimum level applies.  A value which is less than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Export Level.  The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero”.

- Glossary

- Interconnector Technical Data means, for each Interconnector, the subset of Interconnector Registration Data which comprises Aggregate Import Capacity,  Aggregate Export Capacity, Aggregate Interconnector Ramp Rate, Minimum Interconnector Import Level, and Minimum Interconnector Export Level and whether or not the Interconnector is capable of being dispatched at zero.

- Minimum Interconnector Import Level means the level (expressed as a number in MW which is positive, including zero) the value of which relates to the minimum stable level at which that Interconnector may be dispatched to import energy.  A value of zero is equated with the case in which no such minimum level applies.  A value which is greater than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Import Level.  The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero.

- Minimum Interconnector Export Level means the level (expressed as a number in MW which is negative or zero), the absolute value of which relates to the minimum stable level at which that Interconnector may be dispatched to export energy.  A value of zero is equated with the case in which no such minimum level applies.  A value which is less than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Export Level.  The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero.

- Legal review

No additional legal comments

Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |
| SEMO | Sep 11 2008 |  | Standard |  | Mod_56_08 |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Gill Nolan |  | Telephone number: +353 (0)1 2370271 |  | e-mail address: gill.nolan@sem-o.com |  |  |
| Modification Proposal Title: |  | Registration Data for Interconnectors |  |  |  |  |
| Trading and Settlement Code/ Agreed Procedure change? (delete as appropriate) |  |  |  |  |  | Section(s) affected by Modification Proposal |
| Trading and Settlement Code |  |  |  |  |  | Section 2, Section 7 and Glossary |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  |  | V4.3 |
| Modification Proposal Description Clearly show proposed code change using tracked changes, & include any necessary explanatory information |  |  |  |  |  |  |
| Section 2 - 2.75 Notwithstanding paragraph 2.33, the Interconnector Registration Data for an Interconnector shall comprise: - the Aggregate Import Capacity; - the Aggregate Export Capacity; - the Aggregate Interconnector Ramp Rate, which must be a number greater than zero; - the Minimum Interconnector Import Level; - the Minimum Interconnector Export Level; - the identity of the person nominated to register as Interconnector Administrator; - the identity of the person nominated to register as Participant in respect of the Interconnector Error Unit; - the name address and contact details (including email and fax) of the Party (or Applicant, as applicable) to which the Interconnector is registered; - the proposed date from which it is intended that the Interconnector be registered, which date shall be no earlier than 20 Working Days from the date the Participation Notice is sent to the Market Operator; - evidence of compliance with metering requirements; - evidence that all necessary Connection Agreements are in place, valid and effective; - evidence that all necessary Use of System Agreements are in place, valid and effective; - evidence that the Party holds a valid Licence as applicable (including an authorisation or exemption) for the activities that it is proposing to undertake in respect of the Interconnector; - the identity of any other Party which is an Affiliate of that Party; and - such other Registration Data as are required by the Market Operator pursuant to Appendix H “Participant and Unit Registration and Deregistration” and Agreed Procedure 1 “Participant and Unit Registration and Deregistration” - Whether or not the Interconnector is capable of being dispatched at zero and this shall be submitted only through a Type 1 Communication Channel. - Section 7 - 7.5 Until the date that is 12 months after the Market Start Date, the following shall be inserted after paragraph 2.75.15: “16. Whether or not the Interconnector is capable of being dispatched at zero and this shall be submitted only through a Type 1 Communication Channel.” - 7.26 Until the date that is 12 months after the Market Start Date, Glossary definitions for Interconnector Technical Data, Minimum Interconnector Import Level and Minimum Interconnector Export Level shall be replaced with: - “Interconnector Technical Data means, for each Interconnector, the subset of Interconnector Registration Data which comprises Aggregate Import Capacity, Aggregate Export Capacity, Aggregate Interconnector Ramp Rate, Minimum Interconnector Import Level, Minimum Interconnector Export Level and whether or not the Interconnector is capable of being dispatched at zero.”; “Minimum Interconnector Import Level means the level (expressed as a number in MW which is positive, including zero) the value of which relates to the minimum stable level at which that Interconnector may be dispatched to import energy. A value of zero is equated with the case in which no such minimum level applies. A value which is greater than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Import Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero.”; and “Minimum Interconnector Export Level means the level (expressed as a number in MW which is negative or zero), the absolute value of which relates to the minimum stable level at which that Interconnector may be dispatched to export energy. A value of zero is equated with the case in which no such minimum level applies. A value which is less than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Export Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero”. - Glossary - Interconnector Technical Data means, for each Interconnector, the subset of Interconnector Registration Data which comprises Aggregate Import Capacity, Aggregate Export Capacity, Aggregate Interconnector Ramp Rate, Minimum Interconnector Import Level, and Minimum Interconnector Export Level and whether or not the Interconnector is capable of being dispatched at zero. - Minimum Interconnector Import Level means the level (expressed as a number in MW which is positive, including zero) the value of which relates to the minimum stable level at which that Interconnector may be dispatched to import energy. A value of zero is equated with the case in which no such minimum level applies. A value which is greater than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Import Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero. - Minimum Interconnector Export Level means the level (expressed as a number in MW which is negative or zero), the absolute value of which relates to the minimum stable level at which that Interconnector may be dispatched to export energy. A value of zero is equated with the case in which no such minimum level applies. A value which is less than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Export Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero. |  |  |  |  |  |  |
| Modification Proposal Justification Clearly state the reason for the Modification & how it furthers the Code Objectives |  |  |  |  |  |  |
| - This modification proposes to move two clauses from Section 7 of the T&SC into the enduing Code. The relevant clauses are 7.5 and 7.26. These clauses require the submission of additional data upon registration about whether or not an Interconnector can be dispatched at zero. - This is useful information for SEM to have for any new Interconnector and it is also a parameter required in Agreed Procedure 2. - As such, SEMO propose to move these two clauses into the enduring Code, which has the result that there is an ongoing requirement for any Interconnector to provide information about whether or not that unit can be dispatched at zero upon registration. - This modification aims to further the following objective - 1.3.5: to provide transparency in the operation of the Single Electricity Market. |  |  |  |  |  |  |
| Implication of not implementing the Modification Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met |  |  |  |  |  |  |
| - If this modification is not implemented, clauses 7.5 and 7.26 will expire at the end of October 2008. As such, there will be no requirement for an Interconnector to provide information upon registration about whether or not the Interconnector can be dispatched at zero. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@SEM-O.com |  |  |  |  |  |  |

Appendix 2 – Alternative & Combined Proposals

N/A

Appendix 3 – Working Group Report

N/A

Appendix 4 - Impact Assessments

N/A

Appendix 5 - Consultation Responses

N/A