| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |
| SEMO | Sep 11 2008 |  | Standard |  | Mod_56_08 |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Gill Nolan |  | Telephone number: +353 (0)1 2370271 |  | e-mail address: gill.nolan@sem-o.com |  |  |
| Modification Proposal Title: |  | Registration Data for Interconnectors |  |  |  |  |
| Trading and Settlement Code/ Agreed Procedure change? (delete as appropriate) |  |  |  |  |  | Section(s) affected by Modification Proposal |
| Trading and Settlement Code |  |  |  |  |  | Section 2, Section 7 and Glossary |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  |  | V4.3 |
| Modification Proposal Description Clearly show proposed code change using tracked changes, & include any necessary explanatory information |  |  |  |  |  |  |
| Section 2 - 2.75 Notwithstanding paragraph 2.33, the Interconnector Registration Data for an Interconnector shall comprise: - the Aggregate Import Capacity; - the Aggregate Export Capacity; - the Aggregate Interconnector Ramp Rate, which must be a number greater than zero; - the Minimum Interconnector Import Level; - the Minimum Interconnector Export Level; - the identity of the person nominated to register as Interconnector Administrator; - the identity of the person nominated to register as Participant in respect of the Interconnector Error Unit; - the name address and contact details (including email and fax) of the Party (or Applicant, as applicable) to which the Interconnector is registered; - the proposed date from which it is intended that the Interconnector be registered, which date shall be no earlier than 20 Working Days from the date the Participation Notice is sent to the Market Operator; - evidence of compliance with metering requirements; - evidence that all necessary Connection Agreements are in place, valid and effective; - evidence that all necessary Use of System Agreements are in place, valid and effective; - evidence that the Party holds a valid Licence as applicable (including an authorisation or exemption) for the activities that it is proposing to undertake in respect of the Interconnector; - the identity of any other Party which is an Affiliate of that Party; and - such other Registration Data as are required by the Market Operator pursuant to Appendix H “Participant and Unit Registration and Deregistration” and Agreed Procedure 1 “Participant and Unit Registration and Deregistration” - Whether or not the Interconnector is capable of being dispatched at zero and this shall be submitted only through a Type 1 Communication Channel. - Section 7 - 7.5 Until the date that is 12 months after the Market Start Date, the following shall be inserted after paragraph 2.75.15: “16. Whether or not the Interconnector is capable of being dispatched at zero and this shall be submitted only through a Type 1 Communication Channel.” - 7.26 Until the date that is 12 months after the Market Start Date, Glossary definitions for Interconnector Technical Data, Minimum Interconnector Import Level and Minimum Interconnector Export Level shall be replaced with: - “Interconnector Technical Data means, for each Interconnector, the subset of Interconnector Registration Data which comprises Aggregate Import Capacity, Aggregate Export Capacity, Aggregate Interconnector Ramp Rate, Minimum Interconnector Import Level, Minimum Interconnector Export Level and whether or not the Interconnector is capable of being dispatched at zero.”; “Minimum Interconnector Import Level means the level (expressed as a number in MW which is positive, including zero) the value of which relates to the minimum stable level at which that Interconnector may be dispatched to import energy. A value of zero is equated with the case in which no such minimum level applies. A value which is greater than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Import Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero.”; and “Minimum Interconnector Export Level means the level (expressed as a number in MW which is negative or zero), the absolute value of which relates to the minimum stable level at which that Interconnector may be dispatched to export energy. A value of zero is equated with the case in which no such minimum level applies. A value which is less than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Export Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero”. - Glossary - Interconnector Technical Data means, for each Interconnector, the subset of Interconnector Registration Data which comprises Aggregate Import Capacity, Aggregate Export Capacity, Aggregate Interconnector Ramp Rate, Minimum Interconnector Import Level, and Minimum Interconnector Export Level and whether or not the Interconnector is capable of being dispatched at zero. - Minimum Interconnector Import Level means the level (expressed as a number in MW which is positive, including zero) the value of which relates to the minimum stable level at which that Interconnector may be dispatched to import energy. A value of zero is equated with the case in which no such minimum level applies. A value which is greater than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Import Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero. - Minimum Interconnector Export Level means the level (expressed as a number in MW which is negative or zero), the absolute value of which relates to the minimum stable level at which that Interconnector may be dispatched to export energy. A value of zero is equated with the case in which no such minimum level applies. A value which is less than zero means that the Interconnector may not be dispatched at any level strictly between zero and the Minimum Interconnector Export Level. The Interconnector Registration Data separately records whether or not the Interconnector may be dispatched at zero. |  |  |  |  |  |  |
| Modification Proposal Justification Clearly state the reason for the Modification & how it furthers the Code Objectives |  |  |  |  |  |  |
| - This modification proposes to move two clauses from Section 7 of the T&SC into the enduing Code. The relevant clauses are 7.5 and 7.26. These clauses require the submission of additional data upon registration about whether or not an Interconnector can be dispatched at zero. - This is useful information for SEM to have for any new Interconnector and it is also a parameter required in Agreed Procedure 2. - As such, SEMO propose to move these two clauses into the enduring Code, which has the result that there is an ongoing requirement for any Interconnector to provide information about whether or not that unit can be dispatched at zero upon registration. - This modification aims to further the following objective - 1.3.5: to provide transparency in the operation of the Single Electricity Market. |  |  |  |  |  |  |
| Implication of not implementing the Modification Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met |  |  |  |  |  |  |
| - If this modification is not implemented, clauses 7.5 and 7.26 will expire at the end of October 2008. As such, there will be no requirement for an Interconnector to provide information upon registration about whether or not the Interconnector can be dispatched at zero. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@SEM-O.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.