| MODIFICATION PROPOSAL FORM |  |  |  |
| --- | --- | --- | --- |
| MODIFICATION PROPOSAL - SUBMISSION FORM |  |  |  |
| Modification Proposal submitted by | Date of Submitting Proposal: | Type of Proposal (delete as appropriate) | Modification Proposal Number: (to be assigned by Secretariat) |
| Gill Lalor | 09/08/2007 | Urgent | Mod_29_07 |
| Contact Details for Modification Proposal Originator ( if not a member) |  |  |  |
| Name: Gill Lalor |  | Telephone number: +353 1 6371717 |  |
| Address: |  |  |  |
| e-mail address: gill.lalor@eirgrid.com |  |  |  |
| Modification Proposal Title; | Appendix K – Market Data Transactions Section 7.31 & 7.32 |  |  |
| Trading and Settlement Code section(s) affected by Modification Proposal |  |  |  |
| Appendix K Section 7.31 & 7.32 |  |  |  |
| Modification Proposal Description Clearly state the desired amendment and all text formula changes to the code and/or Attach further information if necessary |  |  |  |
| - The Data Transactions in this Appendix include: Data Transactions from System Operator to Market Operator - System Parameters - Generator Unit Technical Characteristics - Demand Control - System Characteristics - Energy Limited Generator Unit Technical Characteristics - Loss of Load Probability for the Capacity Period - Ex-Post Loss of Load Probability Table - Dispatch Instruction and SO Interconnector Trades - SO Interconnector Trades - Annual Load Forecast - Monthly Load Forecast - Four Day Load Forecast - Wind Power Unit Forecast - Uninstructed Imbalance Parameters - Testing Tariffs Data Transactions from Interconnector Administrator to Market Operator - Interconnector Available Transfer Capacity - Active Interconnector Unit Capacity Holding Data Transactions from Market Operator to Interconnector User - Modified Interconnector Unit Nominations |  |  |  |
| - DATA TRANSACTION AND ITS DATA RECORDS - System Parameters Data Transaction - The Data Records for the System Parameters Data Transaction are described in Table K.1, and the Submission Protocol in Table K.2. Table K.1 - System Parameters Data Transaction Data Records Participant Name. Unit ID. Trading Period. Transmission Loss Adjustment Factors, TLAFuh. Table K.2 - System Parameters Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; Unlimited One containing data for each unit per Trading Period for the calendar year. Frequency of Data Transactions; Annually. First Submission time; As available. Last Submission time; At least two months prior to the start of each Year, or prior to the registration of a new Generator Unit. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; Updates only. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| - Generator Unit Technical Characteristics Data Transaction - The Data Records for the Generator Unit Technical Characteristics Data Transaction are described in Table K.3 and the Submission Protocol in Table K.4. Table K.3 - Generator Unit Technical Characteristics Data Transaction Data Records Trading Day (all variables below are for all Trading Periods in this Trading Day). Participant Name. Unit ID. Effective Time. Issue Time. Outturn Availability, spot values, by Unit ID. Outturn Minimum Stable Generation, spot values, by Unit ID. Outturn Minimum Output, spot values, by Unit ID. Table K.4 - Generator Unit Technical Characteristics Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; Each Generator Unit, each Trading Day One containing data for each change in availability per Generator Unit during the day. Frequency of Data Transactions; Daily. First Submission time; After end of Trading Day. Last Submission time; By 14:00 on the next day following the relevant Trading Day As required to resolve a Data Query where the Data Records in the Transaction are discovered to be in error. Permitted frequency of resubmission prior to last submission time; In accordance with the Settlement Calendar Unlimited. Required resubmission subsequent to last submission time; By 14:00, 2 days after the relevant Trading Day ends. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| - System Characteristics Data Transaction - The Data Records for the System Technical Characteristics Data Transaction are described in Table K.7 and the Submission Protocol in Table K.8. Table K.5 - System Characteristics Data Transaction Data Records System Operator. Trading Day. Average System Frequency in Trading Period h, AVGFRQh. Nominal System Frequency in Trading Period h, NORFRQh. Table K.6 - System Characteristics Data Transaction Submission Protocol Sender; Relevant System Operators. Recipient; Market Operator. Number of Data Transactions; Each One per Trading Period, each for the Trading Day. Frequency of Data Transactions; Daily. First Submission time; After end of Trading Day. Last Submission time; By 14:00 on the next Working Day following the relevant Trading Day. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Energy Limited Generator Unit Technical Characteristics Data Transaction - The Data Records for the Energy Limited Generator Unit Technical Characteristics Data Transaction are described in Table K.9 and the Submission Protocol in Table K.10. Table K.7 - Energy Limited Generator Unit Technical Characteristics Data Transaction Data Records Participant Name. Unit ID. Trading Date. Re-declared value of Energy Limit, SELut. Table K.8 - Energy Limited Generator Unit Technical Characteristics Data Transaction Submission Protocol Sender; Relevant System Operators. Recipient; Market Operator. Number of Data Transactions; Each One per Energy Limited Generator Unit, each for the Trading Day. Frequency of data Transactions; Daily. First Submission time; After end of Trading Day. Last Submission time; By 14:00 on the day following the end of the relevant Trading Day. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Loss of Load Probability for the Capacity Period Data Transaction - The Data Records for the Loss of Load Probability for the Capacity Period Data Transaction are described in Table K.11 and the Submission Protocol in Table K.12. Table K.9 - Loss of Load Probability for the Capacity Period Data Transaction Data Records Trading Periods in the Capacity Period. Loss of Load Probability for each in Trading Period h λh in the Capacity Period (λh). Table K.10 - Loss of Load Probability Table for the Capacity Period Data Transaction Submission Protocol Sender; Relevant System Operators. Recipient; Market Operator. Number of Data Transactions; One per Year, and as updated under Appendix M One per Trading Period for the calendar month. Frequency of Data Transactions; Monthly. First Submission time; As available. Last Submission time; At least 20 Working Days before the start of the Year 16:00 on 24th of each month. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 1 (manual) Type 3 (computer to computer). Process for data validation; None. |
| Ex-Post CPM Margin to Loss of Load Probability Table Data Transaction - The Data Records for the CPM Margin to Ex-Post Loss of Load Probability Table Data Transaction are described in Table K.13 and the Submission Protocol in Table K.14. Table K.11 - CPM Margin to Ex-Post Loss of Load Probability Table Transaction Data Records Input Margin (IM) MW values, from 0MW to Total Conventional Capacity (TCCy). Output Loss of Load Probability (OLOLPIM) for all MW values from 0MW to Total Conventional Capacity (TCCy). Table K.12 - CPM Margin to Ex-Post Loss of Load Probability Table Transaction Submission Protocol Sender; Relevant System Operators. Recipient; Market Operator. Number of Data Transactions; One table per Year, subject to Appendix M. Frequency of Data Transactions; Annually. First Submission time; As available. Last Submission time; 20 Working Days before the start of the Year. Permitted frequency of resubmission prior to last submission time; Once, subject to Appendix M Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 1 (manual). Process for data validation; None. |
| Dispatch Instruction and SO Interconnector Trades Data Transaction - The Data Records for the Dispatch Instruction and SO Interconnector Trades Data Transaction are described in Table K.15 and the Submission Protocol in Table K.16. Table K.13 - Dispatch Instruction and SO Interconnector Trades Data Transaction Data Records Participant ID (Not submitted for SO Interconnector Trades). Participant Name. Unit ID. Instruction Timestamps. Instruction Issue Time. Instruction Code. Ramp Rates. Trading Day. Trading Period. Dispatch Instruction and Ramp Rate associated with that Dispatch Instruction data per Unit ID. Time and Occurrence of any Maximisation Instructions, by Unit. SO Interconnector Import Price (SIIPlh). SO Interconnector Export Price (SIEPlh). SO Interconnector Import Quantity (SIIQlh). SO Interconnector Export Quantity (SIEQlh). Table K.14 - Dispatch Instruction Data and SO Interconnector Trades Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; By Trading Day and Trading Period One per dispatch instruction per Generator Unit during the calendar day. Frequency of Data Transactions; Daily. First Submission time; After end of Trading Day. Last Submission time; By 14:00 on the day on which the relevant Trading Day ends As required to resolve a Data Query where the Data Records in the Transaction are discovered to be in error. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; By 14:00, 2 days after the relevant Trading Day ends. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| SO Interconnector Trade Annual Load Forecast Data Transaction - The Data Records for the SO Interconnector Trade Annual Load Forecast Data Transaction are described in Table K.17 and the Submission Protocol in Table K.18. Table K.15 - SO Interconnector Trade Annual Load Forecast Data Transaction Data Records Year. Annual Load Forecast values for each Trading Period in the relevant Year. Jurisdiction. Interconnector. Trading Period. SO Interconnector Import Price (SIIPIh). SO Interconnector Export Price (SIEPIh). SO Interconnector Import Quantity (SIIQIh). SO Interconnector Export Quantity (SIEQIh). Table K.16 - SO Interconnector Trade Annual Load Forecast Data Transaction Submission Protocol Sender; Relevant System Operators. Recipient; Market Operator. Number of Data Transactions; Annually Once containing data for each Trading Period per Interconnector for the Optimisation Time Horizon. Frequency of Data Transactions; Daily. First Submission time; As available After end of Trading Day. Last Submission time; Four Months before start of Year By 14:00 on the day on which the relevant Trading Day ends As required to resolve a Data Query where the Data Records in the Transaction are discovered to be in error. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; By 14:00, 2 days after the relevant Trading Day ends (only required if changed from indicative submission). Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Annual Load Forecast Data Transaction - The Data Records for the Annual Load Forecast Data Transaction are described in Table K.19 and the Submission Protocol in Table K.20. Table K.17 - Annual Load Forecast Data Transaction Data Records Monthly Load Forecast values for each Trading Period in the relevant Month. Period Type. Trading Period. Jurisdiction. Load Forecast values. Assumptions. Table K. 18 – Annual Load Forecast Data Transaction Submission Protocol Sender; Relevant System Operators. Recipient; Market Operator. Number of Data Transactions; Monthly One per Trading Period per Jurisdiction for the Calendar Year. Frequency of Data Transactions; Annually. First Submission time; As available. Last Submission time; Four months before the start of Month. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Monthly Load Forecast Data Transaction - The Data Records for the Monthly Load Forecast Data Transaction are described in Table K.21 and the Submission Protocol in Table K.22. Table K.21 - Monthly Load Forecast Data Transaction Data Records Monthly Load Forecast values for each Trading Period in the relevant Month. Period Type. Trading Period. Jurisdiction. Load Forecast values. Assumptions. Table K. 22 – Monthly Load Forecast Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; Monthly One per Trading Period per Jurisdiction for the calendar month. Frequency of Data Transactions; Monthly. First Submission time; Four months before the start of Month. Last Submission time; One day before the start of Month. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Four Day Load Forecast Data Transaction - The Data Records for the Four Day Load Forecast Data Transaction are described in Table K.23 and the Submission Protocol in Table K.24. Table K.23 - Four Day Load Forecast Data Transaction Data Records Four Day Load Forecast Data Records. Four Day Load Forecast values for each Trading Period in the relevant four day period. Period Type. Trading Period. Jurisdiction. Load Forecast values. Assumptions. Table K.24 - Four Day Load Forecast Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; Daily One per Trading Period per Jurisdiction for the following 4 calendar days. Frequency of Data Transactions; Daily. First Submission time; As available. Last Submission time; Before 09:30, D-1. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Wind Power Unit Forecast Data Transaction - The Data Records for the Wind Power Unit Forecast Data Transaction are described in Table K.25 and the Submission Protocol in Table K.26. Table K.25 - Wind Power Unit Forecast Data Transaction Data Records Dates and Trading Periods. Period Type. Unit ID. Trading Period. Jurisdiction. Wind Power Unit. Output Forecast for each Wind Power Unit. Assumptions. Output Forecast for each Wind Power Unit that is connected in the relevant Jurisdiction for each Trading Period over the following two Trading Days,. Table K.26 - Wind Power Unit Forecast Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; As available One per Trading Period Wind Unit per Jurisdiction for the following 2 Trading Days. Frequency of Data Transactions; Every 6 hours. First Submission time; As updated. Last Submission time; Before 09:30, D-1 00:10 D-2. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Uninstructed Imbalance Parameter Data Transaction - The Data Records for the Uninstructed Imbalance Parameter Data Transaction are described in Table K.27 and the Submission Protocol in Table K.28. Table K.27 – Uninstructed Imbalance Parameter Data Records Engineering Tolerance (ENGTOL). MW Tolerance (MWTOLt) for each Trading Day t. System per Unit Regulation parameter (UREG). Discount for Over Generation (DOGuh) for each Generator Unit u in each Trading Period h. Premium for Under Generation (PUGuh) for each Generator Unit u in each Trading Period h. Table K.28 - Uninstructed Imbalance Parameter Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; Once per Year, and within Year with the approval of the Regulatory Authorities. First Submission time; As available. Last Submission time; On receipt of the Regulatory Authorities' determination on the values of the Uninstructed Imbalance Parameters and no later than two months before the start of the Year or within 5 Working Days of receipt whichever is the later. Permitted frequency of resubmission; Unlimited. Valid Communication Channels; Type 1 (manual). Process for data validation; None. |
| Testing Tariffs Data Transaction - The Data Records for the Testing Tariffs Data Transaction are described in Table K.29 and the Submission Protocol in Table K.30. Table K.29 - Testing Tariffs Data Transaction Records Testing Tariff (TTARIFFuh) applicable to Generator Unit Under Test u in Trading Period h, for all Generator Units within the Currency Zone of the System Operator. Table K.30 - Testing Tariffs Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; Once per Year, and within Year with the approval of the Regulatory Authorities. First Submission time; As available. Last Submission time; On receipt of the Regulatory Authorities' determination on the values of the Testing Tariffs and no later than two months before the start of the Year or within 5 Working Days of receipt whichever is the later. Permitted frequency of resubmission; Unlimited. Valid Communication Channels; Type 1 (manual). Process for data validation; None. |
| Interconnector Available Transfer Capacity Data Transaction - The Data Records for the Interconnector Available Transfer Capacity Data Transaction are described in Table K.31 and the Submission Protocol in Table K.32. Table K.31 - Interconnector Available Transfer Capacity Data Transaction Data Records Interconnector. Trading Period. Maximum Import Available Transfer Capacity for each Trading Period in Optimisation Time Horizon z. Maximum Export Available Transfer Capacity for each Trading Period in Optimisation Time Horizon z. Table K.32 - Interconnector Available Transfer Capacity Data Transaction Submission Protocol Sender; Interconnector Administrator. Recipient; Market Operator. Number of Data Transactions; Unlimited One per Trading Period per Interconnector for the Optimisation Time Horizon. Frequency of Data Transactions; Annual. Submission Time; On the day prior to Gate Closure for that Trading Day, before 09:30. ` In the event of a change in the magnitude ao Available Transfer Capacity in either direction, resubmission is possible until 12:00 on the day on which the relevant Trading Day ends, and should be made by Gate Closure for the relevant Trading Day if practically possible.. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; In the event of a change in the magnitude of Available Transfer Capacity in either direction, resubmission is possible until 12:00 on the day on which the relevant Trading Day ends, and should be made by Gate Closure for the relevant Trading Day if practically possible. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Active Interconnector Unit Capacity Holding Data Transaction - The Data Records for the Active Interconnector Unit Capacity Holding Data Transaction are described in Table K.33 and the Submission Protocol in Table K.34. Table K.33 – Active Interconnector Unit Capacity Holding Data Transaction Data Records Trading Day and Trading Periods. Participant Name. Interconnector. Interconnector Unit. Trading Period. Held capacity (Active Interconnector Unit Import Capacity Holding and the Active Interconnector Unit Export Capacity Holding) on the Interconnector for each Trading Period for each Interconnector Unit in the Optimisation Time Horizon beginning at the start of the relevant Trading Day. Table K.34 – Active Interconnector Unit Capacity Holding Data Transaction Submission Protocol Sender; Interconnector Administrator. Recipient; Market Operator. Number of Data Transactions; One per Interconnector Unit One per Trading Period per Interconnector Unit for the Optimisation Time Horizon. Frequency of Data Transactions; Daily. First Submission time; After completion of all appropriate Active Interconnector Unit Capacity Holding allocations. Last Submission time; Before Gate Closure for the relevant Trading Day. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; None. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| Modified Interconnector Unit Nominations Data Transaction - The Data Records for the Modified Interconnector Unit Nominations Data Transaction are described in Table K.35 and the Submission Protocol in Table K.36. Table K.35 - Modified Interconnector Unit Nominations Data Transaction Data Records Participant Name. Interconnector. Interconnector Unit. Trading Period. Modified Interconnector Unit Nominations for all Interconnector Units registered to that Participant for all Trading Periods in the Optimisation Time Horizon starting on the relevant Trading Day. Table K.36 - Modified Interconnector Unit Nominations Data Transaction Submission Protocol Sender; Market Operator. Recipient; Each Interconnector User in respect of its Interconnector Unit(s). Number of Data Transactions; One per Trading Day, updated as required under paragraph 5.65 One per Trading Period per Interconnector Unit for the Optimisation Time Horizon. Frequency of Data Transactions; Daily. First Submission time; As available. Last Submission time; Before 12:00 11:45 on the day prior to the relevant Trading Day, and as available when updated under paragraph 5.65. Permitted frequency of resubmission prior to last submission time; Unlimited. Required resubmission subsequent to last submission time; Updated as required under paragraph 5.65. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. |
| - Until the date that is 12 months after the Market Start Date, paragraphs K.2.156, K.5 and K.6 of Appendix K “Market Data Transactions” shall be replaced with: “K.2.156 Interconnector Available Transfer Capacity, which is a transaction from the relevant System Operator to the Market Operator. K.5 Intentionally blank. K.6 Intentionally blank.” |  |  |  |
| - Until the date that is 12 months after the Market Start Date, the first line of Table K.302 in Appendix K “Market Data Transactions” shall be replaced with: Sender; Relevant System Operator. |
| Modification Proposal Justification Clearly state the reason for the Modification. Attach further information if necessary |  |  |  |
| The solution for Market data Transactions does not correspond in all cases what is currently included in Appendix K of the Code. In order to bring the solution delivery into compliance with the Code, the modifications above are proposed to the Code. This Modification addresses inconsistencies between TSO systems design and the Code on Market Data Transactions and the protocol for such submissions. It provides further information on the nature of interfaces with non-Trading Parties in terms of agreed design. Update of section 7.12 & 7.13 is also necessary as a consequence of the above modifications to Appendix K (update of tables) |  |  |  |
| Implication of not implementing the Modification |  |  |  |
| Market Systems will not be aligned with the Code, and will result in the Parties involved in market data Transactions being in breach of the Code. |  |  |  |
| Please return this form to Secretariat - e-mail ( modifications@allislandmarket.com ), fax ( tbc ), postal address ( tbc ) |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Sections xx of the Code, which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.