| MODIFICATION PROPOSAL FORM |  |  |  |
| --- | --- | --- | --- |
| MODIFICATION PROPOSAL - SUBMISSION FORM |  |  |  |
| Modification Proposal submitted by | Date of Submitting Proposal: | Type of Proposal (delete as appropriate) | Modification Proposal Number: (to be assigned by Secretariat) |
| Gill Lalor | 09/08/2007 | Urgent | Mod_31_07 |
| Contact Details for Modification Proposal Originator ( if not a member) |  |  |  |
| Name: Gill Lalor |  | Telephone number: +353 1 6371717 |  |
| Address: |  |  |  |
| e-mail address: gill.lalor@eirgrid.com |  |  |  |
| Modification Proposal Title: | Technical Offer Data – Cooling Boundary Data |  |  |
| Trading and Settlement Code section(s) affected by Modification Proposal |  |  |  |
| I.12 |  |  |  |
| Modification Proposal Description Clearly state the desired amendment and all text formula changes to the code and/or Attach further information if necessary |  |  |  |
| - I.12 Each Participant shall submit Technical Offer Data to the Market Operator in respect of each of its Generator Units in accordance with the following provisions, subject to the exceptions outlined in paragraphs I.13 to I.18 inclusive: - Technical Offer Data shall be submitted before Gate Closure for the Trading Day to which the data relates, as set out in paragraph 4.4 and no more that 28 days before Gate Closure; - Data shall be submitted to reflect the real capabilities of the relevant Generator Unit net of Unit Load as set out in paragraph 4.26; - Data shall be submitted in respect of a Generator Unit such that it is consistent with data submitted for that Unit under the applicable Grid Code, scaled, where appropriate, by the appropriate Distribution Loss Adjustment Factor as set out in paragraph 4.27; - A Forecast Availability Profile shall be submitted in accordance with paragraph 4.28; - A Forecast Minimum Output Profile shall be submitted in accordance with paragraph 4.29; - A Forecast Minimum Stable Generation Profile shall be submitted in accordance with paragraph 4.30; - A Short-Term Maximisation Capability, a Minimum Generation (which shall not be used under the Code) and a Maximum Generation shall be submitted. The Maximum Generation shall be submitted equal to the Registered Capacity of the Generator Unit; and - In addition, for Generator Units, the relevant Participant shall submit the following data items : - Minimum On Time, - Minimum Off Time, - Maximum On Time, - Synchronous Start Up Time Hot, - Synchronous Start Up Time Warm, - Synchronous Start Up Time Cold, - Block Load Cold, - Block Load Hot, - Block Load Warm, - Deload Break Point, - Deloading Rate 1, - Deloading Rate 2, - Dwell Time 1, - Dwell Time 2, - Dwell Time 3, - Dwell Time Trigger Point 1, - Dwell Time Trigger Point 2, - Dwell Time Trigger Point 3, - End Point of Start Up Period, - Load Up Break Point Cold (1), - Load Up Break Point Cold (2), - Load Up Break Point Hot (1), - Load Up Break Point Hot (2), - Load Up Break Point Warm (1), - Load Up Break Point Warm (2), - Loading Rate Cold (1), - Loading Rate Cold (2), - Loading Rate Cold (3), - Loading Rate Hot (1), - Loading Rate Hot (2), - Loading Rate Hot (3), - Loading Rate Warm (1), - Loading Rate Warm (2), - Loading Rate Warm (3), - Ramp Down Break Point 1, - Ramp Down Break Point 2, - Ramp Down Break Point 3, - Ramp Down Break Point 4, - Ramp Down Rate 1, - Ramp Down Rate 2, - Ramp Down Rate 3, - Ramp Down Rate 4, - Ramp Down Rate 5, - Ramp Up Break Point 1, - Ramp Up Break Point 2, - Ramp Up Break Point 3, - Ramp Up Break Point 4, - Ramp Up Rate 1, - Ramp Up Rate 2, - Ramp Up Rate 3, - Ramp Up Rate 4, - Ramp Up Rate 5, - Soak Time Cold (1), - Soak Time Cold (2), - Soak Time Trigger Point Cold (1), - Soak Time Trigger Point Cold (2), - Soak Time Hot (1), - Soak Time Hot (2), - Soak Time Trigger Point Hot (1), - Soak Time Trigger Point Hot (2), - Soak Time Warm (1), - Soak Time Warm (2), - Soak Time Trigger Point Warm (1), - Soak Time Trigger Point Warm (2), - Start of Restricted Range 1, - End of Restricted Range 1, - Start of Restricted Range 2, and - End of Restricted Range 2., - Hot Cooling Boundary, and - Warm Cooling Boundary. - Each Participant shall not submit individual Ramp Up Rates that will result in a Single Ramp Up Rate less than or equal to zero in the MSP Software and each Participant shall not submit individual Ramp Down Rates that will result in a Single Ramp Down Rate less than or equal to zero in the MSP Software. |  |  |  |
| Modification Proposal Justification Clearly state the reason for the Modification. Attach further information if necessary |  |  |  |
| SEM systems require additional data for Hot Cooling Boundary and Warm Cooling Boundary. These are vital in Instruction Profiling and the MSP Software, as they are used to determine the warmth state of Units. If values are not submitted, may cause incorrect results from the MSP Software. |  |  |  |
| Implication of not implementing the Modification |  |  |  |
| SEM systems require these values to be submitted to ensure correct results from the MSP Software. Change to systems required to remove these values. |  |  |  |
| Please return this form to Secretariat - e-mail ( modifications@allislandmarket.com ), fax ( tbc ), postal address ( tbc ) |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Sections xx of the Code, which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.