| ### Final Recommendation Report of the Modifications Committee |  |  |  |
| --- | --- | --- | --- |
| Report Reference | FRR_36_07 | Modification Proposal Reference: | Mod_36_07 Definition of Pumped Storage Cycle Efficiency (SMO) |
| Date of Issue: | 28-Aug-07 | Category: | Urgent |
| Report Created By: | Modification Committee | Meeting No(s): | Meeting 02 |
| Reason for Issue: | For Regulatory Authority Decision |  |  |
| Section 1 (a) Summary of Modification Committee Recommendations |  |  |  |
| The Code did not state unambiguously how Pumped Storage Cycle Efficiency was defined; This Modification was to clarify how the MO interpreted it. Recommendation Summary Having considered the Proposed Modification at the abovementioned Meeting, the Modification Committee recommends - The Proposed Modification should be Made - With Implementation date of 30 September 2007 |  |  |  |
| (b) Rationale behind Modification Committee Recommendations |  |  |  |
| To clarify the Code as otherwise Incorrect values of Pumped Storage cycle efficiency may be submitted by Participants To avoid errors the UUC Software. |  |  |  |

| Section 2 (a) Summary of Impacted Parties |  |  | Detail of impact |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Generators |  | N |  |  |  |  |
| Suppliers |  | N |  |  |  |  |
| TSO |  | N |  |  |  |  |
| MO |  | Y | If Approved, Secretariat must make the required Code Updates |  |  |  |
| PES |  | N |  |  |  |  |
| (b) Summary of Impacted Documents/Systems |  |  | Detail of impact |  |  |  |
| Code Provisions |  | Y | Glossary definition |  |  |  |
| Business Processes |  | N |  |  |  |  |
| Legal requirements |  | N |  |  |  |  |
| Grid Code |  | N |  |  |  |  |
| Other |  | N |  |  |  |  |
| Systems |  | N | N/A if approved, as the systems have been built to the Proposed Modified version of the Code |  |  |  |
| - Proposed Modification (Original Draft) This section contains the text of the original draft of the modification proposal |  |  |  |  |  |  |
| Pumped Storage Cycle Efficiency; Means, for a Pumped Storage Unit, the percentage between the level of Demand required to pump a given quantity of water from the lower reservoir to the upper reservoir and the level of Generation provided by the release of that quantity of water from the upper reservoir to the lower reservoir through the Pumped Storage Unit turbine(s). Means, for a Pumped Storage Unit, a percentage value calculated from the level of Generation provided by the release of defined quantity of water from the upper reservoir to the lower reservoir through the Pumped Storage Unit turbine(s) divided by the level of Demand required to pump the same defined quantity of water from the lower reservoir to the upper reservoir.. Modification Proposal Justification SEM systems currently assume that the definition should mean the energy required to pump a quantity of water and resulting energy generated from that quantity of water. The definition includes the phrase “the percentage between”. It could be interpreted by Participants as: D = demand required to pump 1MW of water from lower to upper G = generation from that quantity of water PSCE = G/D (which would be between 0 and 1 normally) OR PSCE = D/G (which would give PSCE>1) Implication of not implementing the Modification Incorrect values of Pumped Storage cycle efficiency may be submitted by Participants. This will cause errors for the UUC Software. |
| - Proposed Modification (Recommended for Approval by Committee) This section contains the text of the Approved version of the modification proposal, if different from above |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |
| - Details of Alternative proposal raised If appropriate, a later version or a resubmitted Modification Proposal details should be entered here |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |
| - Dissenting or Other Opinions This section contains a summary of any objections to the approved modification proposal/ if appropriate, or feedback from the following: MO, TSO, Industry Expert or Consultant opinions |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |
| Section 3 Results of Modification Consultation |  |  |  |  |  |  |
| Q. | Consultation Question |  |  | Yes | No | Neutral |
|  | N/A |  |  |  |  |  |

| Section 4 (a) Committee’s Final Recommendation to the Regulatory Authority |  |  |  |
| --- | --- | --- | --- |
| On the basis of the above discussions, the Committee agreed a UNANIMOUS/MAJORITY Recommendation to the RA’s that this Proposed Modification SHOULD/ SHOULD NOT be made On the basis of the Proposal which incorporates the ORIGINAL/REVISED wording as detailed in Section 2. |  |  |  |
| (b) The Committee Recommends the following Implementation Approach and Timelines |  |  |  |
| The Implementation Date of the Proposal should be on: 30th September 2007 Assuming the RA Decision is made on/before [DATE]: N/A Or no earlier than: [DATE] Or no later than: [DATE] |  |  |  |
| (c) Proposed Modification Implementations Cost This section contains a summary of the cost associated with implementing the proposed modification. |  |  |  |
| Cost (€) | Vendor | SMO | Total Cost (€) |
| (d) Proposed Modification Estimated Effort Time This section contains details of the effort time required to design and develop the proposed modification.Include Detailed description of long it will take to perform each change |  |  |  |
| Effort Time (man days) (list each change below) | Vendor | SMO | Total Effort Time |
| Update T & S Code |  | ½ day | ½ day |
| Please complete this form and return it to Secretariat by e-mail to Modifications@allislandmarket.com |  |  |  |

Note: These man days and costs may need to reflect a combination of Vendor costs and SMO additional costs. Any further modifications to the outline rules may have an impact both on the estimated costs and the estimated implementation date of the change.