emergency CONFERENCE CALL MINUTES

MEETING No. 06, 17 October 2007

| ##### Attendee | ##### Role | ##### Company |
| --- | --- | --- |
| Members |  |  |
| Tanya Gill | Modification Panel Chairperson & Supplier Member | BGE |
| Ronan Doherty | Supplier Member (Alternate) | Airtricity Ltd |
| Karl Leavy | Supplier Member | ESB CS |
| William Steele | Supplier Member (Alternate) | NIE Supply |
| Stephen Walsh | Generator Member | ESB Power Generation |
| John Newman | Generator Member (Alternate) | Viridian Power Ltd |
| Gill Nolan | MO Member | MO, EirGrid |
| Niamh Delaney | MO Member (Alternate) | MO, EirGrid |
| Rodney Doyle | SO Member | TSO, EirGrid |
| Denis Kelly | MDP Member | NIE T&D |
| David Naughton | RA Member | RA: CER |
| Observers/Proposers |  |  |
| Michael Behan | Mod Proposer | SMO (Finance) |
| Jon O’Sullivan | Observer | SMO (SEMIT) |
| Tadhg O'Briain | Observer | RA: NIAUR |
| John Traynor | Observer | ESB |
| Ken Murray | Observer | RA: CER |
| Hugh Mullany | Observer | RA: CER |
| Mary d’Arcy | Modification Panel Secretariat | SMO, EirGrid |
| Andrew Jackson | Observer | Synergen |

Modification Proposal Discussion

| ##### Item | ##### Mod. | ##### Proposer | ##### Discussion Points | ##### Actions/Comments | ##### Outcome/Vote Result |
| --- | --- | --- | --- | --- | --- |
| 1 | Mod_77_07 Temporary manual System Operator validation of MPR Technical Offer Data used in EPUS (Agreed Procedure 4) | RA | D Naughton: Mod proposes to put in place a deadline by which TOD has to be submitted to MO before gate closure. 6th Oct, Market prices hit the Price Cap 21 times during Market Trials. A major factor were errors in GenCo Technical Offer Data (TOD). Mod proposes a process for data submission and validation with SO check for compliance with Grid Code. J O Sullivan: agrees there is an issue around TOD submission: SMO consulted with Independent GenCo’s, SO’s and ESB PGEN on this and a slightly altered process is suggested whereby; - Gen submit data by d-2 12 pm. - If no changes to default standing data, no need to submit TOD - If changes made: Participants can use MO ‘preapproved’ templates which contain the allowable datasets - If change outside scope of this dataset, it is submitted to SO for review & but may miss gate closure for 1st day. - SO will do sanity check on all TOD: R Doyle: agreed TSO committed to review all data destined for market systems and recommend where errors exist (process not yet started). Otherwise standard default data used; if too much data submitted or too late, no guarantee it will be accepted; Participants would have to accept that SO could say ‘No’ to any updates. J Traynor enquired about permanent solution? Suggested change to wording ‘identified or deemed ‘ to be materially incorrect. Ans: JO’S: SO’s & MO happy to look at enduring process later, useful to look also at nature and classification of data (from rare to regular operational changes). This Mod is a basis on which to improve the data review process. T Gill enquired how this Mod would remedy errors being entered; Ans: JOS Market should be able to hit Price cap (effect being a price spike); but only due to normal market forces, not data errors or data that is non Grid Code compliant. A complete review of TOD by people in charge of Grid Code will improve process; situation would be managed and controlled although in a manual fashion which isn't ideal. J Newman: can we submit data outside the Templates? JO’S: yes but any characteristics outside this needs good technical reason & as much notice given as possible.. In response to query from J Traynor: JO’S stated currently TSC does not allow for (and systems arent built to deal with) multiple stored data sets for different unit types (Combined cycle): this may be looked at in the future. S Walsh asked about submitting a pre-approved TOD after 12:00 noon D-2. Could it be approved after the deadline? (Because it does not need to go to the SO) JO’S: this could not be guaranteed, but it is possible to accept a TOD after 12:00 if it was one of the pre-approved TODs, depending on the workload. Discussion on 3 month window: Consensus that this can be moved to 4 months. MOP user group will discuss issues around Units of measurement to be used in templates | H Mullany to send references to additional T&SC provisions affected to SMO for redraft of Mod MO/SO’s to redraft Mod by c.o.b. Thursday 18th Oct (including reference to 3 months to be changed to 4) Committee to discuss on Monday 22nd October (Meeting 07) MO/RA’s to agree Implementation date | Outcome: Deferred (Agreed in Principle) |
| 2 | Mod_78_07 APPENDIX A: Standard Letter of Credit amendments | MO | Michael Behan introduced this Mod: the requirement is to change the name of the Beneficiary in the Standard Letter of Credit from AIME to SEMO. Committee: No comments |  | Outcome: Recommended for Approval Voted in Favour: - Tanya Gill - Ronan Doherty - Karl Leavy - William Steele - Stephen Walsh - John Newman |