| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |
| TSO Day 1+ Project | 22nd Jan 2009 |  | Standard |  | Mod_05_09 |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Sonya Twohig |  | Telephone number: +353 123 70372 |  | e-mail address: sonya.twohig@eirgrid.com |  |  |
| Modification Proposal Title: |  | Operational Readiness Confirmation for Variable Generator Units, Classification Change |  |  |  |  |
| Trading and Settlement Code/ Agreed Procedure change? |  |  |  |  |  | Section(s) affected by Modification Proposal |
| Code Agreed Procedure 1 Participant and Unit Registration and Deregistration |  |  |  |  |  | 2 Various |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  |  | Code 4.5 AP1, 4.5 |
| Modification Proposal Description Clearly show proposed code change using tracked changes, & include any necessary explanatory information |  |  |  |  |  |  |
| - 2.33 A Party (or Applicant, as applicable) shall apply to register any Units by completing a Participation Notice in respect of such Units which shall include the following information: - 1. whether the Unit concerned is a Generator Unit or Supplier Unit; - 2. if the Unit is a Generator Unit, details of the Trading Site to which that Unit shall be registered; - 3. the Currency Zone of the Unit; - 4. the name address and contact details (including email and fax) of the Participant to which the Unit is to be registered; - 5. the billing address of the Participant; - 6. full details of the bank account to which amounts payable by the Market Operator to that Participant shall be paid; - 7. the proposed Effective Date, being the Trading Day on which, from the start of the first Trading Period on that Trading Day, the Party intends that trading in respect of that Unit shall be effective. The proposed Effective Date shall be no earlier than 23 Working Days from the date the Participation Notice is sent to the Market Operator in accordance with this paragraph 2.33; - 8. the Communication Channels which the Participant designates pursuant to paragraph 3.8; - 9. evidence of compliance with metering requirements; - 10. evidence that the necessary Operational Readiness Confirmation is in place and is valid and effective where the Party wishes to register a Generator Unit as - a Variable Price Maker Generator Unit; - a Variable Price Taker Generator Unit, - 11. evidence that all necessary Connection Agreements are in place, valid and effective; - 12. evidence that all necessary Use of System Agreements are in place, valid and effective; - 13. evidence that the Party (or on registration by an Intermediary, the appointing Generator) holds a valid Licence (including an authorisation or exemption) to generate or supply electricity in the relevant Jurisdiction(s) (as appropriate) and details of all other Licences (including authorisations or exemptions relevant to the SEM); - 14 VAT details for all relevant Jurisdictions; - 15. any other participation roles which the Party (or Applicant as applicable) has or intends to have and the Effective Date from which it has or intends to have such capacity; - 16. in the case of a relevant Generator Unit, where no Trading Site Supplier Unit exists or is proposed, the identity of the Participant that it is intended shall record the Associated Supplier Unit; - 17. initial Default Data in respect of each Generator Unit, that may be used by the Market Operator in relation to that Unit; and - 18. such other Registration Data as is required by the Market Operator pursuant to Appendix H “Participant and Unit Registration and Deregistration” and Agreed Procedure 1 “Participant and Unit Registration and Deregistration”. - 2.53 Save as provided in paragraphs 2.53A to 2.56 below and as otherwise set out in Section 5, a Party (or Applicant, as applicable) registering a Generator Unit shall register such Unit as a Price Maker Generator Unit. 2.53A A Party (or Applicant, as applicable) who wishes to register a Generator Unit as a Variable Price Taker Generator Unit or a Variable Price Maker Generator Unit, but who does not have the necessary Operational Readiness Confirmation on application, may register as an Autonomous Generator Unit until such time as the Operational Readiness Confirmation has been granted, upon which date they shall submit a change of Classification request . - 2.56 Parties which have registered Units that have Priority Dispatch as Variable Generator Units or Predictable Generator Units may apply to change the Classification of such Unit(s) to Price Taker Generator Units or Price Maker Generator Units by application to the Market Operator, giving at least 29 days notice pursuant to Agreed Procedure 4 “Transaction Submission and Validation”. - 2.56A Subject to paragraph 2.56, any Participant shall not apply to change the Classification of any registered Generator Unit to: - a Variable Price Maker Generator Unit; - a Variable Price Taker Generator Unit; - unless an Operational Readiness Confirmation is in place, valid and effective and evidence has been provided to the Market Operator for that Generator Unit at the date of the change of classification request. Classification as Autonomous Generator Unit - A Generator Unit shall be classified as an Autonomous Generator Unit and a Price Taker Generator Unit if the Unit - isnot Dispatchable or - (b) is a Generator Unit (which is not classified as a Variable or a Predictable Generator Unit) whose Classification change to a Variable Generator Unit is not yet effective. - Glossary - Classification; - means the current classification of a Generation Unit as one of the categories defined in Section 5: Special Units.. - Autonomous Generator Unit; - means a Generator Unit that is not Dispatchable or subject to Active Power control by the relevant System Operator and which shall be registered as a Price Taker Generator Unit in accordance with paragraph 2.55. For the purposes of the Code, Interconnector Error Units, Netting Generator Units, and Generator Units (which are not classified as Variable or a Predictable Generator Units) whose Classification change to a Variable Generator Unitis not yet effective,shall be classified as Autonomous Generator Units under the Code.. - Operational Readiness Confirmation; - means the notice from the relevant System Operator that the Generator Unit has sufficiently demonstrated that they are dispatchable and/or controllable in order to discharge the appropriate obligations under the relevant Grid Code.. - Agreed Procedure 1 - The AP contains detailed amendments to each section therefore the AP including the detailed Procedural Steps has been included as an Appendix to this Modification. |
| Modification Proposal Justification Clearly state the reason for the Modification & how it furthers the Code Objectives |  |  |  |  |  |  |
| ### The Modification aims to address issues around: ### Registration of Units as Price Effecting where Grid Code obligations have not as yet been complied with or without having appropriate SO confirmations; Participants are not necessarily aware of all the practical pre-requisites for registering in the Market as Price Effecting Generator Unit. Currently a Participant 'Windfarm for example, may wish to be registered in the Market as a Variable Unit, e.g. VPTG, but the Participant may not be aware that a System Operator ‘confirmation’ or ‘certification’ is required to be provided, to evidence the fact that the Windfarm is dispatchable or controllable by the System Operator. This certification could take up to 4 months to be delivered. A workaround exists currently whereby the Market Operator or System Operator may register such a Unit as an Autonomous Generator Unit, until such time as the Wind Farm fulfils the requirements for classification as Variable. When the requirements are fulfilled, in theory a classification change can take place and the Unit can then be ‘re-registered’ as Variable Generator Unit. - Lack of provisions or timelines for this aspect of Registration There are currently no guidelines or provisions in AP1 or the Code for this element of the registration process. The situation as it is, is unclear and leaves the Market Operator or System Operator liable to disputes, if a Participant is unable to register as a Variable Unit due to these prerequisites. - Change in Unit Classification There are currently no guidelines or provisions in AP1 or the Code for a subsequent change in Unit classification.. - Definition of Autonomous The definition of Autonomous is proposed to change to ensure that there are no inconsistencies within the Code. 5 Other Corrections Other items in AP1 have been changes, for example, incorrect numbering and correction to the method of communication (references to fax which should be email). - The aim of this Modification is to reflect in the Code what has to occur in the actual registration process, and therefore mitigate any misunderstandings, or delays within the registration of generator units. The Modification aims to facilitate the following objectives in 1.3 of Trading and Settlement Code - to facilitate the efficient, economic and coordinated operation, administration and development of the Single Electricity Market in a financially secure manner; - to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market; |  |  |  |  |  |  |
| Implication of not implementing the Modification Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met |  |  |  |  |  |  |
| The situation as is would continue which is not transparent and may lead to unwarranted delays in Participant registration as well as confusion for new entrants. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@SEM-O.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.