| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal |  |  | Number: |
| TSO | 22 March 2011 |  | Standard |  |  | Mod_12_11 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Nicola Calvert |  | Telephone number: +44 (0) 28 90707 515 |  | e-mail address: Nicola.calvert@soni.ltd.uk |  |  |
| Modification Proposal Title: Interconnector Unit Loss Adjustment When Exporting |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | TSC |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | 4.46 (new) 4.46A |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 8.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| 4.46 Except for Loss-Adjusted Capacity Payments Eligible Availability (CPEALFuh) which are calculated in accordance with paragraph 4.111, then any variable which relates to a Generator Unit u that is not an Interconnector Unit in a Trading Period h, where XXXuh is the variable before application of Transmission Losses and Distribution Losses, and XXXLFuh is the variable after application of Transmission Losses and Distribution Losses, shall be calculated as follows: XXXLFuh = XXXuh x CLAFuh Where 1. CLAFuh is the Combined Loss Adjustment Factor for Generator Unit u in Trading Period h. 4.46A Except for Loss-Adjusted Capacity Payments Eligible Availability (CPEALFuh) which are calculated in accordance with paragraph 4.111, then any variable which relates to a Generator Unit u that is an Interconnector Unit in a Trading Period h, where XXXuh is the variable before application of Transmission Losses and Distribution Losses, and XXXLFuh is the variable after application of Transmission Losses and Distribution Losses, shall be calculated as follows: If XXXuh ≥0 then XXXLFuh = XXXuh x CLAFuh else XXXLFuh = XXXuhCLAFuh Where 1. CLAFuh is the Combined Loss Adjustment Factor for Generator Unit u in Trading Period h. |  |  |  |  |  |  |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| Currently, the Moyle Interconnector connects Scotland with Northern Ireland. In 2012, the EW Interconnector will connect Ireland with Wales. Each of these DC Interconnectors will incur losses associated with the transmission of electricity. Current Transmission Loss Adjustment factors (TLAF) for Interconnectors are based on the point of connection in SEM jurisdictions, plus an allowance for losses on the Interconnectors to the Connection Point (noting that DLAF for Interconnectors is equal to one). Within the current Code, adjustment for losses reflects the transfer of electricity between the Connection Point of a Unit and the Trading Boundary, where: - Connection Point: The point at which the Generator Unit or Supplier Unit is deemed to be connected within the SEM. - Trading Boundary: A notional balancing point for generation and supply and is the point of sale for trading in the SEM. For Moyle, the Connection Point (as per the definition of Connected) is Auchencrosh in Scotland (i.e. the remote end of the Interconnector). The TLAF for the Moyle Interconnector is currently approximately 0.98, which includes both the losses on the Moyle link and the losses to Ballycronanmore. This TLAF is based on the expected predominant direction of flow for the Interconnector (i.e. importing). Importing Case - When importing, energy is bought in BETTA, provided at the Connection Point and is sold in SEM at the Trading Boundary. - As a result of losses, “X” MW bought in BETTA becomes (X*0.98) MW which is paid for by the SEM. - As the TLAF (=CLAF) is calculated based on importing, this treatment is correct. Exporting Case - When exporting, energy is bought at the the Trading Boundary in SEM and is delivered to the Connection Point in BETTA. - As a result of losses, “X / 0.98” MW must be bought at the SEM Trading Boundary in order to deliver “X” MW to BETTA. - However, this is not as per the Code, which assumes that X*0.98 MW is purchased at the SEM Trading Boundary and “X” MW is delivered to BETTA. This treatment when exporting is incorrect, as it does not reflect the fact that (assuming that the losses related to the Moyle are around 2%), Interconnector Users seeking to export electricity would need to purchase more at the Trading Boundary than would be delivered to BETTA. This Modification proposes to adjust quantities for Interconnector Units (where required in accordance with the Code) when exporting by the reciprocal of the CLAF provided by the System Operator to the Market Operator. - If the relevant quantity (e.g. MSQ, DQ, MG) is greater than or equal to zero (i.e. importing), there is no change to the existing calculation. - If the relevant quantity (e.g. MSQ, DQ, MG) is less than zero (i.e. exporting), the loss adjustment is by (1/CLAF). This Modification Proposal furthers Code Objectives 2 and 6, in addressing the treatment of Interconnector Units when exporting in a consistent manner to that of other Generator Units delivering electricity to their defined Connection Point. 2. to facilitate the efficient, economic and coordinated operation, administration and development of the Single Electricity Market in a financially secure manner; 6. to ensure no undue discrimination between persons who are parties to the Code; |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| Currently, the implications of this loss-adjustment error are not significant (due to exporting volumes). However, the inclusion of the EW Interconnector and the potential future increase in the Moyle export capacity would result in this effect being potentially significant. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.