| ### Final Recommendation Report of the Modifications Committee |  |  |  |
| --- | --- | --- | --- |
| Report Reference | FRR_ 17_08 | Modification Proposal Reference: | Mod_17_08 |
| Date of Issue: | Draft 16/06/2008 | Category: | Standard |
| Mod Originator : | SEM-O | Meeting No(s): | Meeting 14 |
| Reason for Issue: | For Regulatory Authority Decision |  |  |
| Section 1 (a) Summary of Modification Committee Determination & detail of Proposal Development |  |  |  |
| This modification seeks to revise the definitions of Hot Cooling Boundary, Hot Start, Warm Cooling Boundary, Warm Start, Cold Start Recommendation Summary Having considered the Proposed Modification at the above Meeting, the Modification Committee recommends - The Proposed Modification should be made - With an Implementation date of 1 Working Day after the date of issue of the RA decision or on the same implementation date as the necessary correction to the Grid Code, whichever is later. |  |  |  |
| (b) Rationale behind Modification Committee Recommendations |  |  |  |
| If this modification is not implemented the Trading and Settlement Code will not be consistent and will not provide Participants with transparency in terms of how rules surrounding the application of warmth state-related data. |  |  |  |
| (c) Impact on Code Objectives (which objectives are better facilitated and how) |  |  |  |
| Note: Code Objectives - The following objective is furthered by this modification proposal: 1.3.5 to provide transparency in the operation of the Single Electricity Market; as it aims to remove inconsistency between definitions of Hot/Warm Cooling Boundary and Hot/Warm/Cold Start and provide transparency of the status at the Hot Cooling Boundary and/or Warm Cooling Boundary. |  |  |  |

| Section 2 (a) Summary of Impacted Parties |  |  |  |  | Detail of impact |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Generators |  |  | Y |  |  |  |  |  |  |
| Demand Side Units |  |  | N |  |  |  |  |  |  |
| Interconnector Units |  |  | N |  |  |  |  |  |  |
| Suppliers |  |  | N |  |  |  |  |  |  |
| Intermediaries |  |  | N |  |  |  |  |  |  |
| MDP |  |  | N |  |  |  |  |  |  |
| TSO |  |  | Y |  | Grid Code requires corresponding change and this will be raised at the Joint Grid Code Review Panel meeting |  |  |  |  |
| MO |  |  | Y |  |  |  |  |  |  |
| (b) Summary of Impacted Documents/Systems |  |  |  |  | Detail of impact |  |  |  |  |
| Code Provisions |  |  | Y |  |  |  |  |  |  |
| Business Processes |  |  | N |  |  |  |  |  |  |
| Legal Requirements |  |  | N |  |  |  |  |  |  |
| Grid Code |  |  | Y |  |  |  |  |  |  |
| Other Code |  |  | N |  |  |  |  |  |  |
| Systems |  |  | N |  |  |  |  |  |  |
| - Proposed Modification (Original Draft) This section contains the text of the original draft of the modification proposal |  |  |  |  |  |  |  |  |  |
| Hot Cooling Boundary; means the period of time, which must be less than that defined by the Warm Cooling Boundary, post Desynchronisation of a Generator Unit after which the Generator Unit’s Warmth State transfers from being Hot to being Warm.. Hot Start; means any Synchronisation of a Generator Unit that has previously not been Synchronised for a period of time shorter than or equal to its Accepted Hot Cooling Boundary. This data is provided within the submission of Technical Offer Data as described in Appendix I: “Offer Data”.. Warm Cooling Boundary; means the period of time, which must be greater than that defined by the Hot Cooling Boundary, post Desynchronisation of a Generator Unit after which the Generator Unit’s Warmth State transfers from being Warm to Cold.. Warm Start; means any Synchronisation of a Generator Unit that has previously not been Synchronised for a period of time equal to or longer than its Accepted Hot Cooling Boundary and shorter than or equal to its Accepted Warm Cooling Boundary.. Cold Start; means any Synchronisation of a Generator Unit that has previously not been Synchronised for a period of time longer than its Accepted Warm Cooling Boundary. This data is provided within the submission of Technical Offer Data as described in Appendix I: “Offer Data”.. Modification Proposal Justification As per the Code, the definitions of Hot/Warm Cooling Boundary and Hot/Warm/Cold Start are not consistent. As a result, the status at the Hot Cooling Boundary and/or Warm Cooling Boundary is not consistently defined within the Code. Example: Generator Unit A has a Hot Cooling Boundary of 2 hours and a Warm Cooling Boundary of 4 hours. If the Generator Unit is off at midday, the warmth status (based on the current definitions) of the Generator Unit will be as follows: 13:59:59; 14:00:00; 14:00:01; 15:59:59; 16:00:00; 16:00:01. Hot Cooling Boundary Definition; HOT; HOT; WARM. Hot Start Definition; HOT; WARM; WARM. Warm Cooling Boundary Definition; WARM; WARM; COLD. Warm Start Definition; WARM; COLD; COLD. The Central Market Systems utilise warmth state boundary data in the MSP Software (as part of the optimisation to determine Market Schedule Quantities) and in Settlement (to calculate Market Schedule Start-Up Cost and Dispatch Schedule Start-Up Cost). All current implementation within the Central Market Systems is consistent with the definitions of Hot Cooling Boundary and Warm Cooling Boundary. This Modification seeks to address the inconsistency by aligning the definitions that comprise warmth states for Generator Units. Implication of not implementing the Modification The Code will not be consistent and will not provide Participants with transparency in terms of how rules surrounding the application of warmth state-related data. |
| - Proposed Modification (Recommended for Approval by Committee) This section contains the text of the Approved version of the modification proposal, if different from above |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |
| - Details of Alternative or Combined proposal raised If appropriate, a later version or a resubmitted Modification Proposal details should be entered here |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |
| - Dissenting or Other Associated Opinions/Actions This section contains a summary of any objections to the approved modification proposal/ if appropriate, or feedback from the following: MO, TSO, Industry Expert or Consultant opinions |  |  |  |  |  |  |  |  |  |
| The TSOs will raise a change to the Grid Code as the Grid Code also contains the same inconsistent definitions. |  |  |  |  |  |  |  |  |  |
| (g) Legal review The outcome of any legal review of the proposed drafting changes |  |  |  |  |  |  |  |  |  |
| N/A |  |  |  |  |  |  |  |  |  |
| Section 3 Modification Consultation Outcome (what consultation was undertaken either formally or by representative members) |  |  |  |  |  |  |  |  |  |
| Q. | Consultation Question |  |  |  |  | Yes | No |  | Neutral |
|  | N/A |  |  |  |  |  |  |  |  |
| Section 4 (a) Committee’s Final Recommendation to the Regulatory Authority |  |  |  |  |  |  |  |  |  |
| Result of Vote: The Committee Recommended this Modification for Approval : (Majority) Votes in favour: I Luney, W Steele, E McAuley, G Blaney, I Wright, T Gill Abstention: D O'Connor The Committee makes a MAJORITY Recommendation to the RAs that this Proposed Modification SHOULD be made, on the basis of the Proposal which incorporates the ORIGINAL wording as detailed in Section 2. |  |  |  |  |  |  |  |  |  |
| (b) The Committee Recommends the following Implementation Approach and Timelines |  |  |  |  |  |  |  |  |  |
| This modification should be made on a Settlement Day basis. The Implementation Date of the Proposal should be 1 working day after the date of issue of the RA decision or on the same implementation date as the necessary correction to the Grid Code, whichever is later. |  |  |  |  |  |  |  |  |  |
| (c) Proposed Modification Implementations Cost This section contains a summary of the cost associated with implementing the proposed modification. |  |  |  |  |  |  |  |  |  |
| Cost (€) |  | Participant |  | Vendor |  | SEM-O |  | Total Cost (€) |  |
|  |  | N/A |  | N/A |  | N/A |  | N/A |  |
| (d) Proposed Modification Estimated Effort Time This section contains details of the effort time required to design and develop the proposed modification. Include Detailed description of long it will take to perform each change |  |  |  |  |  |  |  |  |  |
| Effort Time (man days) (list each change below) |  | Participant |  | Vendor |  | SEM-O |  | Total Effort Time |  |
| Eg Update to Code |  | N/A |  | N/A |  | ½ day |  | N/A |  |
| Please complete this form and return it to Secretariat by e-mail to Modifications@sem-o.com |  |  |  |  |  |  |  |  |  |

Note: These man days and costs may need to reflect a combination of Vendor costs and SMO additional costs. Any further modifications to the outline rules may have an impact both on the estimated costs and the estimated implementation date of the change.