08 July 2008								Our Ref: 36839

Trading and Settlement Code Modifications Committee

C/O Mary d’Arcy

SMO Modifications Committee Secretariat

The Oval

160 Shelbourne Rd

Dublin 4

SEM Committee Decision for the Regulatory Authorities to Approve Mod_17_08 (Recommendation Report FRR_17_08)

Dear Mary,

On 27th June 2008, the Modifications Committee submitted its Modification Recommendation Report with regard to a Proposed Modification, Mod_17_08 (Definition of Hot Cooling Boundary, Hot Start, Warm Cooling Boundary, Warm Start, Cold Start) in accordance with paragraph 2.231 of the SEM Trading and Settlement Code (the Code).

This Modification, proposed by the Market Operator, seeks to correct errors in the definitions of Hot Cooling Boundary, Hot Start, Warm Cooling Boundary, Warm Start and Cold Start in the Code.  These errors relate to the precise position of the division between the Cold, Warm and Hot states for generating plant.

The SEM Committee notes that the Modifications Committee agreed, with one abstention, to recommend to the Regulatory Authorities that this modification should be made.  The Modifications Committee also made the Regulatory Authorities aware that the same erroneous definitions exist in both Grid Codes and that the System Operators intend to raise a change to those documents.  The Modifications Committee therefore recommends implementation of this modification on the same date as the implementation of equivalent changes to the Grid Codes.

Considering the above, and in accordance with paragraph 2.218 of the Code, the SEM Committee decides that a modification be made in accordance with the Final Recommendation Report of the Modifications Committee (FRR_17_08). The RAs therefore direct that the modification as set out in FRR_17_08 be made on a Settlement Day basis with effect from the date when equivalent changes are given effect in the Grid Codes.

Yours sincerely,

_________________

David Naughton

Manager – Wholesale Electricity Market