ESBI Response to Actions Raised on 03/09/2010

Action1: Participants to determine the earliest GC time they can accommodate

The earliest GC closure ESBI could accommodate is 08.00 i.e. at the start of the working day.

Action2: Participants to consider which is more beneficial to them - a Production Schedule published after EA1  or no Production Schedule published after EA1  and an earlier Production Schedule published after EA2  (by virtue of an earlier gate closure).

ESBI note the comments from the system operator with regard to the accuracy of a production schedule produced after EA1. ESBI require a production prior to 16.00 day-ahead and preferably no later than 15.00, however it is recognised that these timings cannot be accommodated by market engine software and RCUC. ESBI would be interested to hear from the Market Operator and the System Operator if these timings could be reduced via e.g. a reduction in the number of PQ pairs submitted by each generator.