## Slide 1
Mod_18_10 Intra Day Trading Working Group 2
11/05/10
TSO comment

## Slide 2
SEM
Gate
Closure
10:00
SEM
IUN to
MITS
11:00
MITS
MIUN to
SEM & SO
06:00
12:00
16:00
06:00
10:00
11:00
06:00
12:00
16:00
06:00
Day Ahead
RCUC
run
Day Ahead
RCUC
published
Within Day
RCUC run
(UPDATE
D-1 data)
Within Day
RCUC run
(GAS Purchase
D-2 data)
04:30
21:00
Moyle transfer fixed
Existing
Generation prices fixed
Process
D-1
D
Within Day
RCUC run
(UPDATE
D-2 data)

## Slide 3
SEM
Gate
Closure 1
10:00
SEM
IUN to
MITS
11:00
06:00
12:00
16:00
06:00
10:00
11:00
06:00
12:00
16:00
06:00
Day Ahead
RCUC
Run 1
Day Ahead
RCUC 1
published
Present + Interconnector (only) gate opened again at 18.00
SEM
Gate
Closure 2
SEM
IUN to
MITS
19:00
MITS
MIUN to
SEM & SO
18:00
Within Day
RCUC run
(UPDATE D-1
data GC2)
19:00
21:00
Day Ahead
RCUC
Run 2
Day Ahead
RCUC 2
published
04:30
assumes
2 hours to
set up
RCUC run
Process
MITS
MIUN to
SEM & SO
Moyle transfer fixed
Generation prices fixed
Within Day
RCUC run
(UPDATE D-2
data GC2)
Within Day
RCUC run
(UPDATE D-2
data GC2)
D-1
D

## Slide 4
Dispatch
10.00 AM gate closure
Moyle flow fixed from 11.00 D-1 for 06.00 D
16.00 Day ahead schedule finalised
14 hours to order plant
18.00 PM gate closure
Moyle flow fixed from 19.00 D-1 for 06.00 D
21.00 Day ahead schedule finalised
9 hours to order plant
Advancing / multiple gate closure
Security ?
Plant De-commitment - Wind ?
Dispatch efficiency – Constraint costs ?
Two independent (within the market) interconnectors - N/S constraints ?

## Slide 5
Dispatch
Advancing / multiple gate closure
Security
System exposure to large changes in flow [reduction of GB import to export] within
a time scale that does not allow starting of off line plant resulting in a generation / demand shortfall or reduced transmission system security.
How possible is this ?
With the Ex-Ante market schedule optimisation setting the interconnector flow it does not limit this condition –
Ignores generation start up notification times. (12 hours cold)
From sync to min gen not modelled
Reserve plant may be committed by MS ?
Other MS factors ?

## Slide 6
Dispatch
Advancing / multiple gate closure
Security
System exposure to large changes in flow [reduction of GB import to export] within
a time scale that does not allow starting of off line plant resulting in a generation / demand shortfall or reduced transmission system security.
Mitigation ? With a market schedule and achievable dispatch schedule getting further apart
Limit rate of change – ramp rate limit, restrict flow quantity or price change from gate to gate
ATC limit change to secure system. This is required to be able to secure extreme real time situations where multiple plant loss has occurred
Schedule the Interconnector flow from RCUC
Hold larger reserves and accept increased costs
Firm SO /SO buy back

## Slide 7
Dispatch
Advancing / multiple gate closure
De - commitment of plant at short notice
System exposure to large changes in flow [reduction of GB export to import] within a time scale that does not allow shutdown of on line plant may result in wind output constraint.
  Dispatch Efficiency – Ability to dispatch plant to match the market
  schedule -Increased constraint costs
  Jurisdictional external interconnectors and jurisdictional flows – N/S
  constraint costs