25 August 2011

Agreed Procedure Notification:

Mod_26_11: Process change for assessing Firm Access Quantity of Trading Site (FAQSst)

# Modifications Committee MEeting Minutes

Agreed Procedure Mod_26_11 was Recommended for Approval as per Meeting 37 Minutes:

At the Meeting, SO Member advised that as a result of Modification 41_10 (Validation of Firm Access Quantity of Trading Site (FAQSst) by the System Operator) being approved by the RAs, an action was placed on the SO to ensure that this was incorporated into the Agreed Procedures between SEMO/TSO and Market Participants. This is to ensure the Firm Access Quantity of Trading Site (FAQSst) parameter is set correctly in SEM. Supplier Member queried as to whether there is a time frame for submitting data. SO Member advised that it is at least 3 working days and that all Registration Data takes 29 days to change except for COD and Default Offer Data. SO Member clarified that the proposal is not putting forth a new concept, moreover it is reflecting what is in the Code. SEMO Alternate noted that in Section 2.6, when the legal drafting refers to “2.69 of the Trading and Settlement Code” that the word “Paragraph” should be inserted before Section 2.69. The Chair summarised that the proposal is improving visibility and furthering the Code Objectives.

# Notification

As per Section 2.223 of the T&SC, the Modifications Committee wish to notify the RAs of the proposed effective date for Agreed Procedure Mod_26_11 Process change for assessing Firm Access Quantity of Trading Site (FAQSst)  to be 01 September 2011.

# Legal Drafting

As agreed at Meeting 37, the proposed legal drafting is set out below:

  - Updating Registration Details

All updates to the Registration Data of Registered Units are completed under Agreed Procedure 4 “Data Transaction Submission and Validation”, with the exception of changes to the Registered Capacity or Maximum Generation of an Aggregated Generator Unit, or the Firm Access Quantity of Trading Site s for each Trading Day t (FAQSst).

In the case of a change to the Registered Capacity or Maximum Generation of an Aggregated Generator Unit, the Participant must first send a Registration Pack with updated information for the Aggregated Generator Unit to the Market Operator, following the procedure in section 3.2.5, with no requirement for the Registration Fee to be paid.  Once this Registration Pack has been received and validated, Agreed Procedure 4 “Data Transaction Submission and Validation” is then followed.

In the case of a change to the Firm Access Quantity of Trading Site s for each Trading Day t (FAQSst), the Participant shall inform the Market Operator of the change by completing the appropriate form which can be downloaded from the SEMO website. The form shall then be provided to the relevant System Operator and shall be validated in accordance with Paragraph 2.69 of the Trading and Settlement Code.

3.2.2	Updating Registration Details

Participants may submit updates and modifications to registration information, with the exception of the data specified in section 2.6 above, in the Market Operator’s Isolated Market System via the Market Participant Interface (MPI) using the Communication Channel(s) for which they have been previously qualified.  Updates using Type 2 Channel or Type 3 Channel communication will be carried out in accordance with Agreed Procedure 4 “Data Transaction Submission and Validation”.

An update request to registration data,  with the exception of the data specified in section 2.6 above , shall be submitted at least 3 Working Days before it becomes effective. This does not include Default Commercial Offer Data or a subset of Default Technical Offer Data, further details of which are available in Agreed Procedure 4 "Data Transaction Submission and Validation".  Where a Generator Unit has Priority Dispatch, the Participant can change the Generator Unit’s Generic Settlement Class from Predictable Price Maker to Predictable Price Taker and vice-versa or Variable Price Maker to Variable Price Taker and vice-versa, subject to 29 Trading Days’ notice, by submitting a Unit Registration update to the Market Operator.

All updates and requests submitted by the Participant will be validated by the Market Operator (with the System Operators, Interconnector Administrator and/or Meter Data Providers as appropriate) before being approved and applied. Rejection and acceptance notifications are described in Agreed Procedure 4 "Data Transaction Submission and Validation".

| # | Procedural Step | Timing | Method | By/From | To |
| --- | --- | --- | --- | --- | --- |
| 7 | Validate Registration Data provided by Participant, as set out in the Registration Pack; Identify if there are any issues and clarifications required with information provided, if so, advise Market Operator and go back to step 4). Otherwise, confirm it is complete, and commence work on MDP/SO systems and processes to achieve Unit Registration. | Within 3 WDs of SO receipt of Registration Pack from MO; | Email | System Operator / Interconnector Administrator / Meter Data Provider | Market Operator/Market Participant |