## Slide 1
Global Aggregation
Magnitude of the Error

## Slide 2: Methodology
Calculate the NIEES sales per tariff
Profile to derive a HH shape
Apply published DLAFs to bring to trading point
Calculate NIEES volumes from pool at trading point
Determine Jurisdictional results using both data sets
Compare the difference and plot to allow comparison with the Elexon data

## Slide 3: Caveats
Sales based upon apportionment method
  Legacy Billing System
  3 month billing cycle
Application of current DLAFs
Application of 6 Profiles
Based on best available market data from Jan 08 – Oct 09

## Slide 4: HH Correction – Gemserv (Elexon)

## Slide 5: HH Correction – NI Jurisdiction Calculation

## Slide 6: Distribution – Gemserv (Elexon)

## Slide 7: Distribution – NI Jurisdiction Calculation

## Slide 8: Conclusions
Information is an indication of magnitude using available sources
Results are broadly in line with GB information
Average correction factor over the analysis period slightly below 1