Trading & Settlement Code

Modifications Committee

Final Recommendation Report

for

Mod_35_08

Extension and amendment to existing provisions in relation to the application of DLAFs

Version 1.0

14th October 2008

- Background

Mod_35_08: This Modification is an extension of the existing provisions in relation to the application of DLAFs. Mod_35_08 was first presented to the Modifications Committee at the Meeting 15 on 28th July 2008, subsequently deferred and re-presented at Meeting 16, 30th September 2008, in conjunction with Mod_43_08.

- Purpose of Proposed Modification

The purpose of this Modification is to extend and clarify the Code provisions relating to the application of Distribution Loss Adjustment Factors (DLAFs) to ensure that all Parties remain compliant with the Code until a robust, enduring solution can be developed and implemented.  This was necessary because:

- TSOs will not be in a position to comply with the existing enduring DLAF provisions from November 2008, due to a lack of clarity of the requirement and insufficient time to implement.

- Participants are currently unable to strictly comply with the Code provisions relating to the application of DLAFs.

Mod_43_08 was presented and accepted at meeting 16, 30th September; it proposed a solution for the application of DLAFs with implementation set for 1st January 2009. Mod _35_08 was presented again at meeting 16 to allow all parties to remain compliant with the Trading and Settlement code until the 1st January 2009.

A further modification may be required to adjust the requirements of paragraph 4.27 (this modification was not intended to be submitted until the DLAF changes in Mod_43_08 were accepted).

2a. Justification for Modification

The Trading and Settlement Code (“Code”) currently requires the enduring paragraphs 4.40 and 4.55 to be implemented by 1st November 2008.

However, the requirements in the corresponding enduring paragraphs to scale all values for Distribution Connected Units by the Appropriate Distribution Loss Factor required additional clarification before they could be implemented and the implementation implications of this policy are potentially significant and wide-ranging. The System Operators raised issues to the Regulatory Authorities relating to the implementation of the existing and enduring provisions as set out in the Code (e.g. to what values should loss adjustment be applied and how DLAFs should be calculated).

Initial considerations

In considering how best to produce an end-to-end solution for the application of paragraphs 4.40 and 4.55, the System Operators assessed the areas that the application of Distribution Loss Adjustment Factors would affect.  The System Operators’ initial conclusions were that the application of DLAFs would be costly and time consuming in terms of System Operators, Meter Data Providers, the Market Operator and Participant resources and systems.  Furthermore, the Code treats distribution losses and transmission losses differently.  The Code specifies that DLAFs are to be applied directly to relevant values outside of and prior to submission to the Central Market Systems, as opposed to current adjustment of values to account for transmission losses within the Central Market Systems when performing settlement calculations.

Compliance conflicts with Code and existing Central Market Systems

Currently, the MSP Software and Participant interfaces to the Central Market Systems are designed to apply most Technical Offer Data and Commercial Offer Data for an entire Optimisation Time Horizon.  This includes Output-related values such as: Quantities submitted as part of Price Quantity Pairs; Ramp Up Rates and Ramp Down Rates; and Loading Rates.  For all values which are Output-related and applied by the MSP Software for an entire Optimisation Time Horizon, Participants are required to submit data consistent with current implementation in the Central Market Systems.

However, as currently drafted, clauses 4.27 and 7.10 require Participants to submit DLAF-adjusted values for all relevant values.  As a result of the fact that DLAFs may change on a Trading Period basis, clause 7.10 requires submission on a Trading Period basis of all relevant values, including Price Quantity Pairs and Ramp Up/Down Rates.  This conflicts with various existing provisions in the Code, including 4.17, N.22, N.33, N.35, N.47.2 and N.63.  It is therefore likely that Participants are currently unable to be strictly compliant with the Code in all respects.

As a result of such issues, if the provisions of the existing clauses 4.27 and 7.10, along with the enduring clauses 4.27 and 4.40 of the Code continue unmodified, all interfaces to the Central Market Systems would need to change significantly and the MSP Software would need to be re-designed to optimise at a Trading Period level.  This would be a fundamental change to the design of the SEM and would incur significant costs, complexities and implications for market timelines.  In addition, re-certification of the MSP Software would be required, which would have a significant impact on existing market activities and incur not insignificant additional costs.

Currently Affected Generator Units

The System Operators carried out an initial assessment of the amount of generation capacity that is affected by the fact that Distribution Loss Adjustment Factors would not be applied from November 2008.  Given that all Autonomous Generator Units are non Price-Effecting and are settled in SEM at Actual Output (which is loss adjusted pre-submission by the Meter Data Provider), such Units should not be affected.  However, as three Generator Units are currently registered as Autonomous Generator Units but are awaiting transfer to being Variable Price Taker Generator Units, their metering is not adjusted and is therefore affected by not being loss-adjusted.

The remaining distribution connected capacity amounts to 96MW comprising Variable Price Taker Generator Units (VPTGs); Demand Side Units (DSUs); and Predictable Price Maker Generator Units (PPMGs).  An initial assessment of the issues for each of these Units of not being loss-adjusted determined:

- For VPTGs, a “Run” dispatch instruction will result in the MSQ, DQ and Availability Profile (which are set equal to Actual Output) being set differently than should be the case (i.e. not loss-adjusted due to Price Effecting Generator Unit data not being DLAF-adjusted by the System Operator as Meter Data Provider).  When a VPTG is constrained down, a failure to loss-adjust will be an issue as the provisions in 5.18 are based on the Outturn Availability and the Actual Output (neither of which will be loss-adjusted).

- For DSUs, the impact of not loss-adjusting relevant data should not significantly affect Energy Payments, as the effect of DLAF differences for the Demand Side Unit would be negated by the settlement of the Netting Generator Unit for the Trading Site.  Capacity Payments would be affected, as the value of Availability used to calculate the payments would not include DLAF loss-adjustment.

- For PPMGs, Availability, DQ and MG are particularly important in the settlement of these Units.  As a result, a failure to loss-adjust relevant values would affect both the Energy Payments and Capacity Payments for any distribution connected PPMGs.

Example System Operator Data Transactions affected

Further analysis is required, but initial consideration by the TSOs and SEMO has determined at a minimum that the following Data Transactions and data elements will be affected:

- Dispatch Instructions;

- Generator Unit Technical Characteristics;

- Energy Limited Generator Unit Technical Characteristics;

- Outage Schedules;

- Demand Control;

- Annual, Monthly, Four Day Load Forecasts;

- Wind Power Unit Forecast;

- Ex-Post Loss of Load Probability Table;

- Imperfections Price; and

- Meter Data (Price-Effecting).

Participant Data Transactions affected

Currently, Participants with distribution connected Generator Units are obliged to submit relevant values to the Market Operator which have been DLAF-adjusted.  However, such loss adjustment may not be able to be consistently applied (e.g. Ramp Rates, Quantities as part of Price Quantity Pairs).  Such issues would affect submission of:

- Default Data;

- Registration Data;

- Technical Offer Data; and

- Commercial Offer Data.

In addition, any change to implement the Code as currently drafted (i.e. requiring Ramp Rates which change on a Trading Period basis) would also result in many changes to other Participant interfaces (e.g. reports).

Impacts on System Operator operational practices

When operating the power system, the System Operators record the level of generation continuously to produce a system ‘demand’ record.  These system ‘demand’ records include the system losses to provide the actual demand required by consumers. This is true of both transmission connected and distribution connected generation.  The system ‘demand’ records provide parameters for planning, scheduling and dispatch that are insensitive to the actual system losses relating to both transmission and distribution systems as the losses are already included. The relative levels of transmission connected and distribution connected generation will change the losses profile.  However, until substantial levels of distribution connected generation occurs operationally the existing methods will be accurate and predictable.  If large amounts of distribution connected generation occur relative to transmission connected generation, the total generation required to meet the actual consumer demand will be less due to the consumer demand being closer to the distribution connected generation.  The requirement to apply DLAFs will require the existing regime to be changed.

Uncertainty regarding application of DLAFs

There are number of issues to which further clarity would be required if a lasting treatment for DLAFs is to be implemented.  This certainty is needed not only to allow the enduring provisions of the Code to be implemented, but also to minimise the very real risk of Parties interpreting the requirements differently.   Examples of such uncertainties include:

- It is not clear whether clause 4.40 of the Code applies only to values that are “submitted” in MW, MW/min or MWh.  An alternative interpretation would be that DLAFs should be applied to all Output-related interim calculations that support calculation of data submitted to the SEM.  If this were to be the case, the Code would need to change and the System Operator systems changes are likely to be significant and pervasive.  If the latter is the case, then the following issues would arise:

- Ex Ante LOLP calculations would be based on values that are not DLAF adjusted (whereas many of the inputs are in MW).

- Wind Power Unit forecasts would be DLAF adjusted, whereas Load Forecasts would not.

- Outturn Availability values would be adjusted, but the use of availability in calculation of Ex Ante LOLP would not.

- Clause 4.40 of the Code relates specifically to values that are used in the MSP Software, Settlement and as set out in Sections 4,5 and 6. If read literally, the inputs to the Ex-Ante LOLP calculation could be interpreted as requiring DLAF adjustment, but the inputs to the Ex-Post LOLP calculation would not require this (as it currently only appears in Appendix E of the Code).

- Given that the Code does not contemplate RCUC / Operational Scheduler items, this would suggest that data submitted to the SEM would be DLAF adjusted and data used for RCUC would not.  This would introduce an inconsistency which could have implications for Constraint Costs and the within-day analysis by System Operators of the likely production costs and SMPs resulting from operational scheduling decisions.

- Dispatch instructions will need to change on a Trading Period basis to reflect the transition between DLAF values (e.g. day/night values).   A similar problem in dealing with transitions between DLAF values would occur for Outturn Availability, Minimum Stable Generation and Minimum Output (which are spot values as well).

- It is not clear whether it would be the responsibility of the relevant System Operator to DLAF-adjust Technical Offer Data that it validates as per the two approved Emergency Modifications on validation of Technical Offer Data (7.48 to 7.53 of the Code).

Possible Interim Solutions

The System Operators considered ways in which any financial implications of not applying DLAFs to relevant data from November 2008 could be mitigated. As a result of these considerations, the following option emerged and was presented as Mod_43_08.

- Adjust TLAFs by DLAFs Where Appropriate.  This would be performed by the System Operators (with data provided by Distribution System Operators) and would result in revision of appropriate TLAFs and submission to the Central Market Systems, resulting in the adjustment within the Central Market Systems during settlement of items such as MSQ, DQ, MG and EA.  This would mean that the inputs to the Energy and Capacity Payments would reflect distribution losses (note that the MSP Software would continue to be unreflective of distribution losses).

2b. Impact of not implementing a solution

Implementation by the System Operators of the enduring provisions of the Code (paragraphs 4.40 and 4.55) by 1st November 2008 will be unachievable and as such will put the System Operators in breach of the Code.

Mod _43_08 which provides for an enduring solution for the application of DLAFs has been presented and accepted and Mod meeting 16.  Implementation of this Modification cannot be achieved until 1st January

In addition, as Distribution Loss Adjustment Factors will not be applied by November 2008, the settlement of some distribution connected Generator Units will be different than they would be if input data was loss-adjusted.

Furthermore, it appears likely that other Parties may already be in breach of the Code as currently drafted (e.g. paragraphs 4.27 and 7.10), given that such requirements cannot be fully met with the design of the Central Market Systems (and presumably Participant systems).

Justification for Amendments to Proposed Modification

The original drafting for Mod_35_08 proposed to extend the current T&SC provisions for 30 months. However, as Mod 43_08 was Recommend for Approval with an implementation date of Jan 2009, it was agreed that this modification therefore only needs to be in place until 14 months after the Market Start Date.

- Development Process

- Investigation by SOs for the application of the enduring code (paragraphs 4.50 and 4.55)

- Development of issues paper and meetings with RAs SEMO, TSOs and DSOs

- Modification submitted to Meeting 15, 28th July 2008, and deferred.

- Development of options paper

- Consultative process, including a Market Operator Special Topic Meeting with all participants, which resulted in an option being chosen

- Development of Modification Mod_43_08, submitted to Meeting 16, 30th September 2008.

- Assessment of Alternatives

Four options with sub options were considered, option 3B was selected.

- Consultation

Consultation was held via a MOST meeting and publication of an options paper

- Implementation Timescale, Costs and Resources

No systems impact – to extend existing provisions

- Impact on Code Objectives

This Modification facilitates the achievement of Code Objectives 2 and 3, as set out in clause 1.3 of the Code by ensuring that the provisions of the Code are consistent, clear and can be met by all Parties:

Obj 2.	to facilitate the efficient, economic and coordinated operation, administration and development of the Single Electricity Market in a financially secure manner;

Obj 3.	to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;

- Impact on other Codes/Documents

N/A

- Modifications Committee views

  - Presentation and explanation was given by Observer from TSO Day1+ Project

  - Modifications Committee considered two Modifications together when voting (Mod_35_08 and Mod_43_08)

  - Since Modification 43_08 was approved with an implementation date of January 2009, Mod_35_08 was Recommended for Approval subject to Drafting Change from 30 months to 14 months in line with Mod_43_08

  - Recommended for Approval (Unanimous) T Gill, S Walsh, M Hayden, M Walsh

- Proposed Legal Drafting

7.9A	Until the date that is 14 months after the Market Start Date, paragraph 4.27 shall be replaced with:

- 4.27	Each Participant shall use reasonable endeavours to ensure that Technical Offer Data (including Default Data) submitted in respect of each of its Generator Units shall be consistent with data which is submitted under the applicable Grid Code in respect of the relevant Unit, provided that Technical Offer Data submitted under this Code must be net of Unit Load and shall not be scaled any Distribution Loss Adjustment Factor.

7.10	Until the date that is 1214 months after the Market Start Date, paragraph 4.40 shall be replaced with:

“4.40	In submitting data relating to any Generator or Supplier Unit that is Distribution Connected, the Distribution System Operator in its role as a Meter Data Provider shall provide that all values expressed in MW, MW/min or MWh and that are used in the MSP Software or in Settlement or referred to in Sections 4, 5 or 6 of the Code shall first have been scaled by the appropriate Distribution Loss Adjustment Factor.  A System Operator shall not, when submitting any value that is expressed in this Code to be for submission by a System Operator or Meter Data Provider, scale such value by any Distribution Loss Adjustment Factor.  Each Participant shall not, when submitting data in accordance with the provisions of the Code, scale any value by any Distribution Loss Adjustment Factor.”

7.11	Until the date that is 1214 months after the Market Start Date, paragraph 4.55 shall be replaced with:

4.55	Each System Operator shall submit to the Market Operator, the Dispatch Instructions in respect of each Generator Unit which is Dispatchable, registered within its Currency Zone and may submit an associated Ramp Rate for each Dispatch Instruction.  Each System Operator shall submit this information to the Market Operator in accordance with Appendix K “Market Data Transactions”, based on Outturn Data, and the values submitted shall be net of Unit Load.”

- Legal review

Drafting amended to show changes in text (i.e., 12 to 14 months).

Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |
| --- | --- | --- | --- |
| MODIFICATION PROPOSAL - SUBMISSION FORM |  |  |  |
| Modification Proposal submitted by | Date of Submitting Proposal: | Type of Proposal (delete as appropriate) | Modification Proposal Number: (to be assigned by Secretariat) |
| Michael Preston, SONI Project Manager, EirGrid and SONI Day 1+ Project | 09/07/2008 | Standard | Mod_35_08 |
| Contact Details for Modification Proposal Originator ( if not a member) |  |  |  |
| Name: Michael Preston |  | Telephone number: +44 289 079 4336 |  |
| Address: Castlereagh House, 12 Manse Road, Belfast, BT6 9RT |  |  |  |
| e-mail address: Michael.preston@soni.ltd.uk or Michael.preston@eirgrid.com |  |  |  |
| Modification Proposal Title: | Extension of and amendment to existing provisions in relation to the application of Distribution Loss Adjustment Factors |  |  |
| Trading and Settlement Code section(s) affected by Modification Proposal |  |  |  |
| Sections 4.27, 4.40, new clause 7.9A, 7.10, 7.11. |  |  |  |
| Modification Proposal Description Clearly state the desired amendment and all text formula changes to the code and/or Attach further information if necessary |  |  |  |
| 7.10 Until the date that is 30 months after the Market Start Date, paragraph 4.40 shall be replaced with: “4.40 In submitting data relating to any Generator or Supplier Unit that is Distribution Connected, the Distribution System Operator in its role as a Meter Data Provider shall provide that all values expressed in MW, MW/min or MWh and that are used in the MSP Software or in Settlement or referred to in Sections 4, 5 or 6 of the Code shall first have been scaled by the appropriate Distribution Loss Adjustment Factor. A System Operator shall not, when submitting any value that is expressed in this Code to be for submission by a System Operator or Meter Data Provider, scale such value by any Distribution Loss Adjustment Factor. Each Participant shall not, when submitting data in accordance with the provisions of the Code, scale any value by any Distribution Loss Adjustment Factor.” 7.9A Until the date that is 30 months after the Market Start Date, paragraph 4.27 shall be replaced with: - 4.27 Each Participant shall use reasonable endeavours to ensure that Technical Offer Data (including Default Data) submitted in respect of each of its Generator Units shall be consistent with data which is submitted under the applicable Grid Code in respect of the relevant Unit, provided that Technical Offer Data submitted under this Code must be net of Unit Load and shall not be scaled any Distribution Loss Adjustment Factor. 7.11 Until the date that is 30 months after the Market Start Date, paragraph 4.55 shall be replaced with: 4.55 Each System Operator shall submit to the Market Operator, the Dispatch Instructions in respect of each Generator Unit which is Dispatchable, registered within its Currency Zone and may submit an associated Ramp Rate for each Dispatch Instruction. Each System Operator shall submit this information to the Market Operator in accordance with Appendix K “Market Data Transactions”, based on Outturn Data, and the values submitted shall be net of Unit Load.” |  |  |  |
| Modification Proposal Justification Clearly state the reason for the Modification. Attach further information if necessary |  |  |  |
| Relevant Code Objectives This Modification facilitates the achievement of Code Objectives 2 and 3, as set out in clause 1.3 of the Code by ensuring that the provisions of the Code are consistent, clear and can be met by all Parties: 2. to facilitate the efficient, economic and coordinated operation, administration and development of the Single Electricity Market in a financially secure manner; 3. to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market; Purpose of this Modification The purpose of this Modification is extend and clarify the Code provisions relating to the application of Distribution Loss Adjustment Factors (DLAFs) to ensure that all Parties remain compliant with the Code until a robust, enduring solution can be developed and implemented. This is necessary because: - TSOs will not be in a position to comply with the existing enduring DLAF provisions from November 2008, due to a lack of clarity of the requirement and insufficient time to implement. - Participants are currently unable to strictly comply with the Code provisions relating to the application of DLAFs. Introduction The Trading and Settlement Code (“Code”) currently requires the enduring paragraphs 4.40 and 4.55 to be implemented by 1st November 2008. However, the requirements in the corresponding enduring paragraphs to scale all values for Distribution Connected Units by the Appropriate Distribution Loss Factor requires additional clarification before they can be implemented and the implementation implications of this policy are potentially significant and wide-ranging. The System Operators have raised issues to the Regulatory Authorities relating to the implementation of the existing and enduring provisions as set out in the Code (e.g. to what values should loss adjustment be applied and how DLAFs should be calculated, as per the examples provided below). Initial considerations In considering how best to produce an end-to-end solution for the application of paragraphs 4.40 and 4.55, the System Operators have begun to assess the areas that the application of Distribution Loss Adjustment Factors will affect. The System Operators’ initial conclusions are that the application of DLAFs is likely to be costly and time consuming in terms of System Operators, Meter Data Providers, the Market Operator and Participant resources and systems. Furthermore, the Code treats distribution losses and transmission losses differently. The Code specifies that DLAFs are to be applied directly to relevant values outside of and prior to submission to the Central Market Systems, as opposed to current adjustment of values to account for transmission losses within the Central Market Systems when performing settlement calculations. Compliance conflicts with Code and existing Central Market Systems Currently, the MSP Software and Participant interfaces to the Central Market Systems are designed to apply most Technical Offer Data and Commercial Offer Data for an entire Optimisation Time Horizon. This includes Output-related values such as: Quantities submitted as part of Price Quantity Pairs; Ramp Up Rates and Ramp Down Rates; and Loading Rates. For all values which are Output-related and applied by the MSP Software for an entire Optimisation Time Horizon Participants are required to submit data consistent with current implementation in the Central Market Systems. However, as currently drafted, clauses 4.27 and 7.10 requires Participants to submit DLAF-adjusted values for all relevant values. As a result of the fact that DLAFs may change on a Trading Period basis, clause 7.10 requires submission on a Trading Period basis of all relevant values, including Price Quantity Pairs and Ramp Up/Down Rates. This conflicts with various existing provisions in the Code, including 4.17, N.22, N.33, N.35, N.47.2 and N.63. It is therefore likely that Participants are unable currently to be strictly compliant with the Code in all respects. As a result of such issues, if the provisions of the existing clauses 4.27 and 7.10, along with the enduring clauses 4.27 and 4.40 of the Code continue unmodified, all interfaces to the Central Market Systems would need to change significantly and the MSP Software would need to be re-designed to optimise at a Trading Period level. This would be a fundamental change to the design of the SEM and would incur significant costs, complexities and implications for market timelines. In addition, re-certification of the MSP Software would be required, which would have a significant impact on existing market activities and incur not insignificant additional costs. Currently Affected Generator Units The System Operators have undertaken an initial assessment of the amount of generation capacity that is affected by the fact that Distribution Loss Adjustment Factors will not be applied from November 2008. Given that all Autonomous Generator Units are non Price-Effecting and are settled in SEM at Actual Output (which is loss adjusted pre-submission by the Meter Data Provider), such Units should not be affected. However, as three Generator Units are currently registered as Autonomous Generator Units but are awaiting transfer to being Variable Price Taker Generator Units, their metering is not adjusted and is therefore affected by not being loss-adjusted. The remaining distribution connected capacity amounts to 96MW comprising Variable Price Taker Generator Units (VPTG); Demand Side Unit (DSU); and Predictable Price Maker Unit (PPMG). An initial assessment of the issues for each of these Units of not being loss-adjusted are: - For VPTGs, a “Run” dispatch instruction will result in the MSQ, DQ and Availability Profile (which are set equal to Actual Output) being set differently than should be the case (i.e. not loss-adjusted due to Price Effecting Generator Unit data not being DLAF-adjusted by the System Operator as Meter Data Provider). When a VPTG is constrained down, a failure to loss-adjust will be an issue as the provisions in 5.18 are based on the Outturn Availability and the Actual Output (neither of which will be loss-adjusted). - For DSUs, the impact of not loss-adjusting relevant data should not significantly affect Energy Payments, as the effect of DLAF differences for the Demand Side Unit would be negated by the settlement of the Netting Generator Unit for the Trading Site. Capacity Payments would be affected, as the value of Availability used to calculate the payments would not include DLAF loss-adjustment. - For PPMGs, Availability, DQ and MG are particularly important in the settlement of these Units. As a result, a failure to loss-adjust relevant values would affect both the Energy Payments and Capacity Payments for any distribution connected PPMGs. Example System Operator Data Transactions affected Further analysis is required, but initial consideration by the TSOs and SEMO has determined at a minimum that the following Data Transactions and data elements will be affected: - Dispatch Instructions; - Generator Unit Technical Characteristics; - Energy Limited Generator Unit Technical Characteristics; - Outage Schedules; - Demand Control; - Annual, Monthly, Four Day Load Forecasts; - Wind Power Unit Forecast; - Ex-Post Loss of Load Probability Table; - Imperfections Price; and - Meter Data (Price-Effecting). Participant Data Transactions affected Currently, Participants with distribution connected Generator Units are obliged to submit relevant values to the Market Operator which have been DLAF-adjusted. However, such loss adjustment may not be able to be consistently applied (e.g. Ramp Rates, Quantities as part of Price Quantity Pairs). Such issues would affect submission of: - Default Data; - Registration Data; - Technical Offer Data; and - Commercial Offer Data. In addition, any change to implement the Code as currently drafted (i.e. requiring Ramp Rates which change on a Trading Period basis) would also result in many changes to other Participant interfaces (e.g. reports). Impacts on System Operator operational practices When operating the power system, the System Operators record the level of generation continuously to produce a system ‘demand’ record. These system ‘demand’ records include the system losses to provide the actual demand required by consumers. This is true of both transmission connected and distribution connected generation. The system ‘demand’ records provide parameters for planning, scheduling and dispatch that are insensitive to the actual system losses relating to both transmission and distribution systems as the losses are already included. The relative levels of transmission connected and distribution connected generation will change the losses profile. However, until substantial levels of distribution connected generation occurs operationally the existing methods will be accurate and predictable. If large amounts of distribution connected generation occur relative to transmission connected generation, the total generation required to meet the actual consumer demand will be less due to the consumer demand being closer to the distribution connected generation. The requirement to apply DLAFs will require the existing regime to be changed. Uncertainty regarding application of DLAFs There are number of issues to which further clarity would be required if a lasting treatment for DLAFs is to be implemented. This certainty is needed not only to allow the enduring provisions of the Code to be implemented, but also to minimise the very real risk of Parties interpreting the requirements differently. Examples of such uncertainties include: - It is not clear whether clause 4.40 of the Code applies only to values that are “submitted” in MW, MW/min or MWh. An alternative interpretation would be that DLAFs should be applied to all Output-related interim calculations that support calculation of data submitted to the SEM. If this were to be the case, the Code would need to change and the System Operator systems changes are likely to be significant and pervasive. If the latter is the case, then the following issues would arise: - Ex Ante LOLP calculations would be based on values that are not DLAF adjusted (whereas many of the inputs are in MW). - Wind Power Unit forecasts would be DLAF adjusted, whereas Load Forecasts would not. - Outturn Availability values would be adjusted, but the use of availability in calculation of Ex Ante LOLP would not. - Clause 4.40 of the Code relates specifically to values that are used in the MSP Software, Settlement and as set out in Sections 3 to 6. If read literally, the inputs to the Ex-Ante LOLP calculation could be interpreted as requiring DLAF adjustment, but the inputs to the Ex-Post LOLP calculation would not require this (as it currently only appears in Appendix E of the Code). - Given that the Code does not contemplate RCUC / Operational Scheduler items, this would suggest that data submitted to the SEM would be DLAF adjusted and data used for RCUC would not. This would introduce an inconsistency which could have implications for Constraint Costs and the within-day analysis by System Operators of the likely production costs and SMPs resulting from operational scheduling decisions. - Dispatch instructions will need to change on a Trading Period basis to reflect the transition between DLAF values (e.g. day/night values). A similar problem in dealing with transitions between DLAF values would occur for Outturn Availability, Minimum Stable Generation and Minimum Output (which are spot values as well). - It is not clear whether it would be the responsibility of the relevant System Operator to DLAF-adjust Technical Offer Data that it validates as per the two approved Emergency Modifications on validation of Technical Offer Data (7.48 to 7.53 of the Code). Possible Interim Solutions The System Operators have already considered ways in which any financial implications of not applying DLAFs to relevant data from November 2008 can be mitigated. As a result of these considerations, the following (independent) options have emerged. No detailed impact assessment of the costs of implementing such changes has been carried out at this stage, but would mitigate most of the impacts in the short term. - Apply DLAFs to Price-Effecting Meter Data. This is a change to System Operator systems, but would mitigate most of the financial impacts of not applying DLAFs as per the enduring Code. For example, this change would mean that VPTG settlement would be correct, other than in (currently rare) periods where constraining down is required. - Adjust TLAFs by DLAFs Where Appropriate. This would be performed by the System Operators (with data provided by Distribution System Operators) and would result in revision of appropriate TLAFs and submission to the Central Market Systems, resulting in the adjustment within the Central Market Systems during settlement of items such as MSQ, DQ, MG and EA. This would mean that the inputs to the Energy and Capacity Payments would reflect distribution losses (note that the MSP Software would continue to be unreflective of distribution losses). Further Modifications would be required if either of these options are to be progressed and implemented to mitigate the short term effects of not applying DLAFs. These will be raised by the System Operators following consideration. Enduring Solutions As a result of issues raised by System Operators in relation to the practicality of delivering the provisions of the Code, the Regulatory Authorities have acknowledged that future work is required to deliver an enduring solution to the treatment of distribution losses in the SEM. To this end, a Terms of Reference for this work is to be developed shortly to define the process and timescales for enduring delivery. It is likely that resources from System Operators, Regulatory Authorities and SEMO will be involved in proposing options for an enduring solution to the treatment of distribution losses and result in a paper detailing these options being provided to the Modifications Committee for discussion. |  |  |  |
| Implication of not implementing the Modification |  |  |  |

The System Operators and SEMO have already undertaken preliminary assessments of the issues surrounding the application of Distribution Loss Adjustment Factors and have raised and discussed the issues with the Regulatory Authorities. However, clarification (as required) of the outstanding issues in relation to the application of Distribution Loss Adjustment Factors will not be available in time to meet the existing timescales of the TSOs’ Day 1+ Project. As such, implementation by the System Operators of the enduring provisions of the Code (paragraphs 4.50 and 4.55) by 1st November 2008 will be unachievable and as such will put the System Operators in breach of the Code. In addition, as Distribution Loss Adjustment Factors will not be applied by November 2008, the settlement of some distribution connected Generator Units will be different than they would be if input data was loss-adjusted. Furthermore, it appears likely that other Parties may already be in breach of the Code as currently drafted (e.g. paragraphs 4.27 and 7.10), given that such requirements cannot be fully met with the design of the Central Market Systems (and presumably Participant systems).

Appendix 2 – Alternative & Combined Proposals

7.9A	Until the date that is 14 months after the Market Start Date, paragraph 4.27 shall be replaced with:

- 4.27	Each Participant shall use reasonable endeavours to ensure that Technical Offer Data (including Default Data) submitted in respect of each of its Generator Units shall be consistent with data which is submitted under the applicable Grid Code in respect of the relevant Unit, provided that Technical Offer Data submitted under this Code must be net of Unit Load and shall not be scaled any Distribution Loss Adjustment Factor.

7.10	Until the date that is 14 months after the Market Start Date, paragraph 4.40 shall be replaced with:

“4.40	In submitting data relating to any Generator or Supplier Unit that is Distribution Connected, the Distribution System Operator in its role as a Meter Data Provider shall provide that all values expressed in MW, MW/min or MWh and that are used in the MSP Software or in Settlement or referred to in Sections 4, 5 or 6 of the Code shall first have been scaled by the appropriate Distribution Loss Adjustment Factor.  A System Operator shall not, when submitting any value that is expressed in this Code to be for submission by a System Operator or Meter Data Provider, scale such value by any Distribution Loss Adjustment Factor.  Each Participant shall not, when submitting data in accordance with the provisions of the Code, scale any value by any Distribution Loss Adjustment Factor.”

7.11	Until the date that is 14 months after the Market Start Date, paragraph 4.55 shall be replaced with:

4.55	Each System Operator shall submit to the Market Operator,  the Dispatch Instructions in respect of each Generator Unit which is Dispatchable, registered within its Currency Zone and may submit an associated Ramp Rate for each Dispatch Instruction.  Each System Operator shall submit this information to the Market Operator in accordance with Appendix K “Market Data Transactions”, based on Outturn Data, and the values submitted shall be net of Unit Load.”

Appendix 3 – Working Group Report

N/A

Appendix 4 - Impact Assessments

N/A

Appendix 5 - Consultation Responses

N/A