| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: (to be assigned by Secretariat) |  | Type of Proposal (please delete as appropriate) |  |  | Number: (to be assigned by Secretariat) |
| SEMO | 16 Sep 2010 |  | Standard |  |  | Mod_35_10 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Jonathan Jennings |  | Telephone number: 01 2370321 |  | e-mail address: jonathan.jennings@sem-o.com |  |  |
| Modification Proposal Title: Clarification of Technical Offer Data Requirements |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | TSC |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | 3.42H (from Mod_47_08_v2) Table H.2 I.12 I.17 Glossary |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | 7.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| - Validation of Data Transactions containing Validation Technical Offer Data - 3.42H If a Participant submits a Data Transaction containing a Validation Data Set Number for a given Trading Day at least 10 minutes before Gate Closure, the relevant data submission shall be Accepted by the Market Operator. Table H.2 Name; Term; Relevant Units; Validation Registration Data. Firm Access Quantity (Site) (MW); FAQSst; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units; Yes. Fixed Unit Load (MW); FULu; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units; Yes. Unit Load Scalar; ULSu; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units; Yes. Generator Aggregator Flag; Aggregated Generator Units; Yes. Maximum Generation; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units. The Maximum Generation shall be submitted equal to the Registered Capacity of the Generator Unit.; Yes. Non Dispatchable Quantity; Demand Side Units only; Yes. Netting Generator Flag; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Demand Side Units; Yes. Non Firm Access Quantity; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units.; Yes. Station ID; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units; Yes. Station Name; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units; Yes. Unit Location ID; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units; Yes. Physical Location ID; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units; Yes. Station Address; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units; Yes. Commission Test Certificate; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units; Yes. Qualified Communication Channels; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units; Yes. Licence Expiry Date; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units.; Yes. Generator Aggregator System Operator Agreement; All Aggregated Generator Units; Yes. Maximum Storage Capacity; Pumped Storage Units only; Yes. Minimum Storage Capacity; Pumped Storage Units only; Yes. Target Reservoir Level Percentage; Pumped Storage Units only; Yes. End Point of Start Up Period; All Generator Units except Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units; Yes. I.12 Each Participant shall submit Technical Offer Data to the Market Operator in respect of each of its Generator Units in accordance with the following provisions, subject to the exceptions outlined in paragraphs I.13 to I.18 inclusive: 1. Technical Offer Data shall be submitted before Gate Closure for the Trading Day to which the data relates, as set out in paragraph 4.4 and no more that 28 days before Gate Closure; 2. Data shall be submitted to reflect the real capabilities of the relevant Generator Unit net of Unit Load as set out in paragraph 4.26; 3. Data shall be submitted in respect of a Generator Unit such that it is consistent with data submitted for that Unit under the applicable Grid Code, scaled, where appropriate, by the appropriate Distribution Loss Adjustment Factor as set out in paragraph 4.27; 4. Certain Technical Offer Data items shall be classified as Validation Technical Offer Data as set out in this paragraph I.12 and in paragraphs I.17 and I.18; 5. A Forecast Availability Profile shall be submitted in accordance with paragraph 4.28; 6. A Forecast Minimum Output Profile shall be submitted in accordance with paragraph 4.29; 7. A Forecast Minimum Stable Generation Profile shall be submitted in accordance with paragraph 4.30; 8. A Short-Term Maximisation Capability, a Short-Term Maximisation Time and a Minimum Stable Generation shall be submitted and shall be classified as Validation Technical Offer Data; and - In addition, for Generator Units, the relevant Participant shall submit the following data items : - Name; - Validation Technical Offer Data. - Minimum On Time,; - Yes. - Minimum Off Time; - Yes. - Maximum On Time; - Yes. - Synchronous Start Up Time Hot; - Yes. - Synchronous Start Up Time Warm; - Yes. - Synchronous Start Up Time Cold; - Yes. - Block Load Cold; - Yes. - Block Load Hot; - Yes. - Block Load Warm; - Yes. - Deload Break Point; - Yes. - Deloading Rate 1; - Yes. - Deloading Rate 2; - Yes. - Dwell Time 1; - Yes. - Dwell Time 2; - Yes. - Dwell Time 3; - Yes. - Dwell Time Trigger Point 1; - Yes. - Dwell Time Trigger Point 2; - Yes. - Dwell Time Trigger Point 3; - Yes. - Load Up Break Point Cold (1); - Yes. - Load Up Break Point Cold (2); - Yes. - Load Up Break Point Hot (1); - Yes. - Load Up Break Point Hot (2); - Yes. - Load Up Break Point Warm (1); - Yes. - Load Up Break Point Warm (2); - Yes. - Loading Rate Cold (1); - Yes. - Loading Rate Cold (2); - Yes. - Loading Rate Cold (3); - Yes. - Loading Rate Hot (1); - Yes. - Loading Rate Hot (2); - Yes. - Loading Rate Hot (3); - Yes. - Loading Rate Warm (1); - Yes. - Loading Rate Warm (2); - Yes. - Loading Rate Warm (3); - Yes. - Ramp Down Break Point 1; - Yes. - Ramp Down Break Point 2; - Yes. - Ramp Down Break Point 3; - Yes. - Ramp Down Break Point 4; - Yes. - Ramp Down Rate 1; - Yes. - Ramp Down Rate 2; - Yes. - Ramp Down Rate 3; - Yes. - Ramp Down Rate 4; - Yes. - Ramp Down Rate 5; - Yes. - Ramp Up Break Point 1; - Yes. - Ramp Up Break Point 2; - Yes. - Ramp Up Break Point 3; - Yes. - Ramp Up Break Point 4; - Yes. - Ramp Up Rate 1; - Yes. - Ramp Up Rate 2; - Yes. - Ramp Up Rate 3; - Yes. - Ramp Up Rate 4; - Yes. - Ramp Up Rate 5; - Yes. - Soak Time Cold (1); - Yes. - Soak Time Cold (2); - Yes. - Soak Time Trigger Point Cold (1); - Yes. - Soak Time Trigger Point Cold (2); - Yes. - Soak Time Hot (1); - Yes. - Soak Time Hot (2); - Yes. - Soak Time Trigger Point Hot (1); - Yes. - Soak Time Trigger Point Hot (2); - Yes. - Soak Time Warm (1); - Yes. - Soak Time Warm (2); - Yes. - Soak Time Trigger Point Warm (1); - Yes. - Soak Time Trigger Point Warm (2); - Yes. - Start of Restricted Range 1; - Yes. - End of Restricted Range 1; - Yes. - Start of Restricted Range 2; - Yes. - End of Restricted Range 2; - Yes. - Hot Cooling Boundary; - Yes. - Warm Cooling Boundary; - Yes. - Block Load Flag; - Yes. - Each Participant shall not submit individual Ramp Up Rates that will result in a Single Ramp Up Rate less than or equal to zero in the MSP Software and each Participant shall not submit individual Ramp Down Rates that will result in a Single Ramp Down Rate less than or equal to zero in the MSP Software. I.17 In respect of each Pumped Storage Unit, the relevant Participant shall submit Technical Offer Data as set out in paragraph I.12 with the following additions: 1. A Pumped Storage Cycle Efficiency shall be classified as Validation Technical Offer Data and shall be submitted in accordance with paragraph 5.113; 2. A Forecast Minimum Output Profile and a Forecast Availability Profile shall be submitted as set out in paragraphs 5.114 and 5.115 respectively; and 3. A Pumping Capacity, which shall be classified as Validation Technical Offer Data. Glossary Generator Aggregator Flag; means a flag to indicate that a Generator Unit is a Generator Aggregator.. |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| This Modification removes obligations on the Market Operator regarding notification of acceptance of Validation Data Set Number. It also proposes various clarifications and adjustments to the data submission requirements relating to Registration Data (Appendix H) and Offer Data (Appendix I). The proposed changes are: Paragraph 3.42H The text of the approved Modification Proposal – set out in FRR_47_08 – that will become effective on the 8th Scheduled Release Deployment Date is modified. The obligation on the Market Operator to notify the Participant on acceptance of a Validation Data Set Number contained in paragraph 3.42H is removed. Table H.2 - Firm Access Quantity (Site) (MW): Require FAQS to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Fixed Unit Load (MW): Change to clarify that this data item is not required for Demand Side Units and Netting Generator Units. - Unit Load Scalar: Change to clarify that this data item is not required for Demand Side Units and Netting Generator Units. - Generator Aggregator Flag: Clarifying that this field is a flag denoting if a Unit is a Generator Aggregator. - Non Dispatchable Quantity: Change to clarify that this data item is required by the Central Market Systems for Demand Side Units. - Netting Generator Flag: Change to clarify that this data item is not required for Demand Side Units in Central Market Systems. - Non Firm Access Quantity: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Station ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Station Name: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Unit Location ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Physical Location ID: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Station Address: Change to clarify that this data item is to be submitted in Registration for Demand Side Units, aligning with the Central Market Systems. - Commission Test Certificate: Change to clarify that this data item is not required for Demand Side Units in Central Market Systems. - Qualified Communication Channels: Change to clarify that this data item is not required within Central Market Systems for Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units, Demand Side Units and Netting Generator Units. - Licence Expiry Date: This data item is required by the Central Market Systems for all Generator Units, excluding Interconnector Units, Interconnector Error Units, Interconnector Residual Capacity Units and Netting Generator Units. - Generator Aggregator System Operator Agreement: Not previous designated as Validation Registration Data (VRD). This item should be VRD, to be validated as part of the Registration process by the relevant System Operator. - Maximum Generation: proposes the removal of duplicate element (i.e. Maximum Generation appears in Table H.2 twice). - Maximum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. - Minimum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. - Target Reservoir Level Percentage: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. - End Point of Start Up Period: This is a registration value within the Central Market Systems but is currently designated as Technical Offer Data under the Code. However, the October CMS release design does not include this item as Technical Offer Data (i.e. can be submitted and approved daily) and is therefore proposed to be re-designated as Validation Registration Data. Clause I.12 - Minimum Generation: Proposes that Minimum Generation is removed from clause I.12, as this value is also contained within Table H.2. This change is consistent with the design of the Central Market Systems. - End Point of Start Up Period: Proposes the removal of “End Point of Start Up Period” from I.12, with this item being moved to Table H.2. Clause I.17 - Target Reservoir Level Percentage: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. - Maximum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. - Minimum Storage Capacity: This is a registration value within the Central Market Systems but is currently designated as Validation Technical Offer Data under the Code. However, the October CMS release design does not include this item as Validation Technical Offer Data and is therefore proposed to be re-designated as Validation Registration Data. Glossary Defines the clarified item which denotes a Generator Unit as a Generator Aggregator (the requirement to submit the data item is in Table H.2). This Modification provides clarification regarding the data submission for Registration Data (Appendix H) and Offer Data (Appendix I). In providing such clarity regarding the data required for various unit types, this Modification furthers Code Objectives #3 and #5 as follows: “3. to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;” “5. to provide transparency in the operation of the Single Electricity Market;” |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| If this Modification is not implemented, there will continue to be a lack of clarity with respect to the data submission requirements for various unit types. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.