| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: (to be assigned by Secretariat) |  | Type of Proposal (please delete as appropriate) |  |  | Number: (to be assigned by Secretariat) |
| Activation Energy Ltd | Sep 16 2010 |  | Standard |  |  | Mod_36_10 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Patrick Liddy |  | Telephone number: +353 1 442 8801 +353 87 960 1725 |  | e-mail address: Patrick.liddy@activationenergy.ie |  |  |
| Modification Proposal Title: Removal of connection between Supplier Units and DSUs |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | TSC |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | 2.63, 2.65A, 5.150 |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | V7.0 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| - 2.63 - Subject to paragraph 2.64, each Unit within a registered Trading Site (other than a Demand Side Unit) must be registered to the same Participant. - 2.65A - Where there is only one Meter Point Registration Number for a site which is registered to a Demand Side Unit, the Meter Point Registration Number may be attributable to a Supplier Unit while the Demand Side Unit may be registered to a Trading Site Supplier Unit which shall contain no Demand related to that Trading Site. - 5.150 - Subject to the terms of the Grid Code, a single Demand Side Unit may be associated with a number of Demand Sites provided that those Demand Sites are within the same Currency Zone. The combined Demand Side Unit shall for all purposes under the Code be treated as a single Demand Side Unit. |  |  |  |  |  |  |

Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives)

Background The harmonised provisions of the Ireland and Northern Ireland Grid Codes allow for an entity known as a Demand Side Units (DSUs) which are Demand Sites which offer demand reduction. The Trading and Settlement Code links these units to Trading Side Supplier Units. Having worked on this problem for over a year, we feel that this is unnecessary, restrictive and discriminatory, and should be changed for the following reasons 1.Trading & Settlement Code Objective 1.3.3 “to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market” The current requirements in the Trading & Settlement Code needlessly create a barrier to DSUs by inclusion of the need for the site to register as a Trading Site Supplier Units (TSSU), while other Generator Unit types may use an Associated Site Supplier Unit (ASSU). This should be changed 2. Trading & Settlement Code Objective 1.3.4 “to promote competition in the single electricity wholesale market on the island of Ireland” Many demand sites would be happy to offer their demand reduction capabilities to the market, increasing competition in the market significantly. The burden of operating as a TSSU is preventing these demand sites participating, and so should be changed. 3. Trading & Settlement Code Objective 1.3.6 “to ensure no undue discrimination between persons who are parties to the Code”. The requirement to act as a TSSU is only required of DSUs and so is discriminatory. Therefore the Trading & Settlement Code should be changed. 4. Trading & Settlement Code Objective 1.3.7 “to promote the short-term and long-term interests of consumers of electricity on the island of Ireland with respect to price, quality, reliability, and security of supply of electricity”. This Modification Proposal should have minimal impact on central market systems, and consequentially should have negligible impact on the cost to consumers. Therefore, any improvement brought by competition will have immediate short-term gains for the consumers on the island of Ireland. 5. Environmental Concerns Onsite electricity generation regularly has a lower carbon footprint, therefore assisting Ireland and Northern Ireland’s carbon reduction targets 6. Distributed Generation An increased involvement of DSUs in the market will act to strengthen the grids resilience considerably as distributed generation has been demonstrated to be more reliable 7. An increase in market diversity As most likely DSUs are not affiliated with existing market parties, their inclusion will represent an increase in the diversification of control of Generator Units within the market, a stated objective of government at the time of market opening 8. An increase in fuel diversity As most likely DSUs will not be utilising Natural Gas to generate electricity, their inclusion will represent an increase in the diversification fuel supply to the market. 9. Numerous customers have shown an interest in partaking in such a scheme. They have the right to such a service being provided and the current restriction is depriving them of that right 10. Linking DSUs to Supply contracts creates a problem due to the relatively short nature of supply contracts. The test time for a new DSU is predicted to be 60 days. A client who moves supplier annually could only act as a DSU for 9 months a year 11. The potential burden on the operation of the system of regular site re-testing. As Units would need to be re-tested when they change DSU, the testing burden on the system would be great. Removing the link to the supplier would reduce the re-testing requirement as it would reduce the number of contract changes. 12. Linking a DSU service to a Supply service cause corporate problems. The two services are quite diverse and so requiring one entity to supply both services may be problematic. Furthermore asking two different organisations cause data protection, corporate policy, licensing and responsibility conflicts.

Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met)

Non-implementation of this modification will result in Retaining the barrier to entry for DSU entering the market, which has to date, prevented most Demand sites from taking part A reduction in the potential competition of the market, avoiding potential savings to the customers Retaining undue discrimination against DSUs Not utilising a potential carbon saving available A reduction in the potential security of the grid

Please return this form to Secretariat by e-mail to modifications@sem-o.com

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.