T&SC Modifications Committee

- Final Recommendation Report (FRR)

- Mod_41_10:

Validation of Firm Access Quantity of Trading Site (FAQSst) by the System Operator

- Version 1.0

22 February 2011

- Background

This Modification Proposal was initially received by the Secretariat on 11 November 2010 and first presented at Meeting 32 of the Modifications Committee on 25 November 2010. An alternative version of the proposal was submitted to the Secretariat and was presented at Meeting 33 where it was voted on and recommended for approval.

- Purpose of Proposed Modification

2a. Justification for Modification

The Firm Access Quantity of Trading Site (FAQSst) parameter will determine the level to which a generator unit can be scheduled in SEM. As such, this parameter has a material impact on the outcome of pricing and scheduling in SEM and an incorrect value may lead to incorrect MSQs and SMPs in SEM.

As the System Operator is responsible for all Connection Agreements to the Transmission System and for managing constraint costs, it is appropriate for the System Operator to validate the Firm Access Quantity of Trading Site proposed for each Trading Site to ensure it reflects the Connection Agreement.

EirGrid and SONI believe this modification can be implemented as a business process change.

2b. Impact of not implementing a solution

If this modification is not implemented, the relevant System Operator cannot validate the Firm Access Quantity of the Trading Site and errors in the recording of this parameter in the SEM system may occur. In addition, if an error is made it is unlikely to be found and corrected in time.

If this parameter is not correct in the SEM systems it may result in a material impact on pricing and scheduling in the SEM as units may be incorrectly scheduled in the MSP Software.

- Impact on Code Objectives

This Modification further objectives 1.3.2 and 1.3.6 of the Trading and Settlement Code, by reducing the likelihood of an incorrect value being entered in the SEM Systems.

- Development Process

The Modification Proposal was raised by EirGrid and proposes changes to Section 2.69 of the Trading and Settlement Code. The proposal was presented at and deferred at Meeting 32 of the Modifications Committee pending the TSOs' investigation of  issues in relation to validating distribution connected windfarms and their assessment of the  wording in relation to units that have full firm access.

The Alternative version of the proposal was voted on and recommended for approval at Meeting 33 of the Modifications Committee on February 1st 2011.

- Assessment of Alternatives

- Two versions were considered over the lifecycle of the Modification Proposal. At Meeting 32, two actions were placed on the TSOs  to assess any issues in relation to validating distribution connected windfarms and to assess wording in relation to units that have full firm access. At Meeting 33, Mod_41_10_V2 was presented and recommended for approval unanimously by the committee.

- Working Group and/or Consultation

- Working Group/Consultation not considered necessary.

- Impact on other Codes/Documents

- No impact on other codes or documents identified.

- Impact on Systems and Resources

No impact on systems or resources identified.

- Modifications Committee views

The Committee acknowledged at Meeting 32 that the Modification Proposal required further consideration by the SOs and SEMO. SOs were actioned to assess any issues in relation to validating distribution connected windfarms and to assess wording in relation to units that have full firm access.

At Meeting 33 on 1st February, discussion arose regarding whether the validation process would be formalised in AP1. A TSO member verified that it would be defined in AP1 but not in the Code. There was another action placed on the TSOs to draft a Modification Proposal to include the process in AP1. The proposal was voted on at Meeting 33 of the Modifications Committee on February 1st 2011.

- Recommendation

This Modification Proposal was ‘Recommended for Approval’ by the Modifications Committee by unanimous vote as follows:

Andrew Burke – Generator Member

Brian Mongan – Generator Alternate

Grainne O’Shea – Generator Member

Kevin Hannafin – Generator Member

Iain Wright – Supplier Member

Jill Murray – Supplier Alternate

Killian Morgan - Supplier Member

William Steele – Supplier Member

- Proposed Legal Drafting

- As set out in Mod_41_10_V2.

- Legal Review

- Complete

- Implementation Timescale, Costs and Resources

The proposed implementation date is one working day after the day on which the Regulatory Authority decision is made. It is proposed that this Modification is made on a Trading Day basis.

- Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal |  |  | Number: |
| EirGrid | 11 November 2010 |  | Standard |  |  | Mod_41_10 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Gill Nolan |  | Telephone number: +353 (0)1 2370271 |  | e-mail address: gill.nolan@eirgird.com |  |  |
| Modification Proposal Title: Validation of Firm Access Quantity of Trading Site (FAQSst) by the System Operator |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | Trading and Settlement Code |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | T&SC 2.69 |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | Version 7 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| Generator Unit with Non-Firm Access - 2.69 A Generator Unit has Non-Firm Access where it operates under a Connection Agreement which provides for a Firm Access Quantity which is less than the Maximum Export Capacity of the relevant site. As part of the registration process for such Generator Units, the Firm Access Quantity of Trading Site s for each Trading Day t (FAQSst) shall be validated by the relevant System Operator and recorded in accordance with Appendix H “Participant and Unit Registration and Deregistration”. No Netting Generator Unit or Demand Side Unit shall be deemed to have Non-Firm Access. |  |  |  |  |  |  |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| The Firm Access Quantity of Trading Site (FAQSst) parameter will determine the level to which a generator unit can be scheduled in SEM. As such, this parameter has a material impact on the outcome of pricing and scheduling in SEM and an incorrect value may lead to incorrect MSQs and SMPs in SEM. As the System Operator is responsible for all Connection Agreements to the Transmission System, it is appropriate for the System Operator to validate the Firm Access Quantity of Trading Site proposed for each Trading Site to ensure it reflects the Connection Agreement. EirGrid and SONI believe this modification can be implemented as a business process change. This modification would further objectives 1.3.2 and 1.3.6 of the Trading and Settlement Code, by reducing the likelihood of an incorrect value being entered in the SEM Systems. |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| If this modification is not implemented, the relevant System Operator cannot validate the Firm Access Quantity of the Trading Site and errors in the recording of this parameter in the SEM system may occur. In addition, if an error is made it is unlikely to be found and corrected in time. If this parameter is not correct in the SEM systems it may result in a material impact on pricing and scheduling in the SEM as units may be incorrectly scheduled in the MSP Software. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.

- Appendix 2: Alternative Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Proposal Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal |  |  | Number: |
| EirGrid | 11 November 2010 |  | Standard |  |  | Mod_41_10_V2 |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Gill Nolan |  | Telephone number: +353 (0)1 2370271 |  | e-mail address: gill.nolan@eirgird.com |  |  |
| Modification Proposal Title: Validation of Firm Access Quantity of Trading Site (FAQSst) by the System Operator |  |  |  |  |  |  |
| Trading and Settlement Code and/or Agreed Procedure change? |  |  |  |  | Trading and Settlement Code |  |
| Section(s) affected by Modification Proposal: |  |  |  |  | T&SC 2.69 |  |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  | Version 8 |  |
| Modification Proposal Description (Clearly show proposed code change using tracked changes & include any necessary explanatory information) |  |  |  |  |  |  |
| Generator Unit with Non-Firm Access - 2.69 A Generator Unit has Non-Firm Access where it operates under a Connection Agreement which provides for a Firm Access Quantity which is less than the Maximum Export Capacity of the relevant site. As part of the registration process for such Generator Units, the Firm Access Quantity of Trading Site s for each Trading Day t (FAQSst) shall be validated by the relevant System Operator and recorded in accordance with Appendix H “Participant and Unit Registration and Deregistration”. No Netting Generator Unit or Demand Side Unit shall be deemed to have Non-Firm Access. No Netting Generator Unit, Demand Side Unit or Dual Rated Generator Unit shall be deemed to have Non-Firm Access. A participant shall advise the Market Operator of any changes to the Firm Access Quantity of the Trading Site and this change shall be validated by the relevant System Operator. |  |  |  |  |  |  |
| Modification Proposal Justification (Clearly state the reason for the Modification & how it furthers the Code Objectives) |  |  |  |  |  |  |
| The Firm Access Quantity of Trading Site (FAQSst) parameter will determine the level to which a generator unit can be scheduled in SEM. As such, this parameter has a material impact on the outcome of pricing and scheduling in SEM and an incorrect value may lead to incorrect MSQs and SMPs in SEM. As the System Operator is responsible for all Connection Agreements to the Transmission System and for managing constraint costs, it is appropriate for the System Operator to validate the Firm Access Quantity of Trading Site proposed for each Trading Site to ensure it reflects the Connection Agreement. EirGrid and SONI believe this modification can be implemented as a business process change. This modification would further objectives 1.3.2 and 1.3.6 of the Trading and Settlement Code, by reducing the likelihood of an incorrect value being entered in the SEM Systems. |  |  |  |  |  |  |
| Implication of not implementing the Modification (Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met) |  |  |  |  |  |  |
| If this modification is not implemented, the relevant System Operator cannot validate the Firm Access Quantity of the Trading Site and errors in the recording of this parameter in the SEM system may occur. In addition, if an error is made it is unlikely to be found and corrected in time. If this parameter is not correct in the SEM systems it may result in a material impact on pricing and scheduling in the SEM as units may be incorrectly scheduled in the MSP Software. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@sem-o.com |  |  |  |  |  |  |

Notes on completing Modification Proposal Form:

- If a person submits a Modification Proposal on behalf of another person, that person who proposes the material of the change should be identified on the Modification Proposal Form as the Modification Proposal Originator.

- Any person raising a Modification Proposal shall ensure that their proposal is clear and substantiated with the appropriate detail including the way in which it furthers the Code Objectives to enable it to be fully considered by the Modifications Committee.

- Each Modification Proposal will include a draft text of the proposed Modification to the Code.

- For the purposes of this Modification Proposal Form, the following terms shall have the following meanings:

Code:	means the Trading and Settlement Code for the Single Electricity Market

Modification Proposal:	means the proposal to modify the Code as set out in the attached form

Derivative Work:	means any text or work which incorporates or contains all or part of the Modification Proposal or any adaptation, abridgement, expansion or other modification of the Modification Proposal

The terms “Market Operator”, “Modifications Committee” and “Regulatory Authorities” shall have the meanings assigned to those terms in the Code.

In consideration for the right to submit, and have the Modification Proposal assessed in accordance with the terms of Section 2 of the Code (and Agreed Procedure 12), which I have read and understand, I agree as follows:

1.	I hereby grant a worldwide, perpetual, royalty-free, non-exclusive licence:

  - to the Market Operator and the Regulatory Authorities to publish and/or distribute the Modification Proposal for free and unrestricted access;

  - to the Regulatory Authorities, the Modifications Committee and each member of the Modifications Committee to amend, adapt, combine, abridge, expand or otherwise modify the Modification Proposal at their sole discretion for the purpose of developing the Modification Proposal in accordance with the Code;

  - to the Market Operator and the Regulatory Authorities to incorporate the Modification Proposal into the Code;

1.4	to all Parties to the Code and the Regulatory Authorities to use, reproduce and distribute the Modification Proposal, whether as part of the Code or otherwise, for any purpose arising out of or in connection with the Code.

2.	The licences set out in clause 1 shall equally apply to any Derivative Works.

3.	I hereby waive in favour of the Parties to the Code and the Regulatory Authorities any and all moral rights I may have arising out of or in connection with the Modification Proposal or any Derivative Works.

4.	I hereby warrant that, except where expressly indicated otherwise, I am the owner of the copyright and any other intellectual property and proprietary rights in the Modification Proposal and, where not the owner, I have the requisite permissions to grant the rights set out in this form.

5.	I hereby acknowledge that the Modification Proposal may be rejected by the Modifications Committee and/or the Regulatory Authorities and that there is no guarantee that my Modification Proposal will be incorporated into the Code.