- Trading & Settlement Code

- Modifications Committee

- Final Recommendation Report

for

- Mod_42_08

Submission and Publication of Forecast and Ex-Post LOLP for each Trading Period in the forthcoming 31 Trading Days

- Version 1.0

6 January 2009

- Background

This Modification proposal was received from the TSO Day 1+ project by the Secretariat on Sep 09th 2008.

It was submitted with a status of Urgent and was subsequently deemed to be Urgent by the 	Regulators on Sep 16th 2008.

The proposal was discussed at an Emergency session (prior to Ordinary Meeting 16 on Sep 30th 2008).

It was Recommended for Approval unanimously, subject to minor drafting change, by the Committee at Meeting 16.

- Purpose of Proposed Modification

This modification seeks to ensure that there is an obligation for a Data Transaction to be submitted by a System Operator, in order to enable the Market Operator to receive and publish the Forecast of Ex-Post Loss of Load Probability data.

2a. Justification for Modification

Clause 7.27 of the Code currently requires the Market Operator to publish a Forecast of Ex-Post Loss of 	Load Probability for each Trading Period in the forthcoming 31 Trading Days (after 12 months following the 	Market Start Date).

At present, the System Operators are required (as per 4.101 of the Code) to calculate and submit the (Ex-Ante Forecast) Loss of Load Probability for the following Capacity Period (i.e. month).  The calculation of Forecast of Ex-Post Loss of Load Probability will contain similar input data types and will be subject to the same calculations.

- This modification seeks to ensure that there is an obligation for a Data Transaction to be submitted by a System Operator, in order to enable the Market Operator to receive and publish the Forecast of Ex-Post Loss of Load Probability data.

- In addition, this Modification proposes to change the publication deadline, from 09:30 to 16:30, on each day.  The reason for this change is that, given the availability of data and resources to produce the Forecast Ex-Post Loss of Load Probability data, the deadline for submission by 09:30 as currently specified in the Code would require calculation by the System Operators on the day prior to the submission of the Data Transaction.

- Given that the Forecast of Ex-Post Loss of Load Probability data is not used in the MSP Software or in any settlement calculations, a later submission and publication deadline would allow System Operators to collate and use the latest available information to feed into the relevant calculations (e.g. load forecasts, wind forecasts, interconnector capacity, hydro targets).

2b. Impact of not implementing a solution

If this Modification is not implemented, the obligation to submit the Data Transaction will continue to be omitted from the Code and the ‘Forecast of Ex-Post Loss of Load Probability data’ may not be available to the Market Operator to enable it to fulfill its publishing obligations.

If this Modification is not implemented, the required data may not be available in the timescales specified and this would (in terms of paragraph 2.208 of the Code) ‘unduly interfere with, disrupt or threaten the operation of the Single Electricity Market’.

- Development Process

The System Operator felt that this Modification was Urgent, as the systems and processes for calculating the ‘Forecast of Ex Post LOLP’ Data Transaction are currently being developed and tested.  Given that    System Operators believe that the data required to meet the obligations of the Code cannot be delivered in line with 	the current provisions, the Code needs to change.

- Assessment of Alternatives

No alternatives were considered.

- Consultation

No consultation was undertaken on this Modification.

- Implementation Timescale, Costs and Resources

The implementation date is proposed to be the date on which an RA decision is made.

- Impact on Code Objectives

This Modification is required to facilitate the achievement of Code Objectives 3 and 5, as set out in clause 	1.3 of the Code.

3. ‘to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of 	electricity in the trading arrangements under the Single Electricity Market;’

- And 5.  ‘to provide transparency in the operation of the Single Electricity Market;’

in that the Forecast Ex-Post Loss of Load Probability should provide a forecast of Loss of Load 	Probability which uses the latest available information and which is of value to Participants.  This 	Modification clarifies the submission obligations of this information (not currently included in the Code) 	for subsequent publication by the Market Operator.

- Impact on other Codes/Documents

No impact other than to the T&SC and Agreed Procedure 6.

- Modifications Committee views

The Modifications Committee discussed this proposal following a presentation by the proposer (TSO 	Day 1+ project)

- Panel Members suggested that the timing be earlier than suggested time of 16.30pm

- An Observer questioned the criticality of this Modification

- The proposer suggested that non implementation of this Modification could result in Participants deferring planned Outages

- The MO pointed out that the Vendor has not agreed to make the change as yet

The Modification was Recommended for Approval subject to drafting change to address errors in the numbering of Tables E.1 and E.4 and incorporating the suggested drafting changes made at the meeting.

- Vote: Recommended for Approval (Unanimous) subject to drafting changes

T Gill, S Walsh, M Hayden, M Walsh

- Proposed Legal Drafting

[Change-marked drafting for the relevant parts of the Code for the proposal that the Committee is recommending i.e. not necessarily that originally proposed]

There were 4 minor drafting errors in the Original Modification Proposal.  In addition, the Original Modification recommended the period of extension of the Modification to be 15 months after Market Start to align with the Day1+ delivery date. As the Day1+ Deployment date is now January 16th the text has been amended to extend the Section 7 provisions until the Day1+ Deployment Date. These corrections have been made in the final version of the Modification Proposal as shown below.

- Table E.4 was named E.1 in error

- Table E.5 was named E.2 in error

- Text deleted from Section 7.27 (‘Before 09:30’) was not shown as a deletion using ‘strikethrough’

- AP06 Data Publication and Data Reporting: the initial proposed wording to be added to the Timing of Data Publication field was drafted as ‘Daily, post gate closure and before Trading Day and 16:30’, this should be amended to ‘‘Daily, post Gate Closure and before Trading Day, at 16:30’

- Appendix K

- K.2        The Data Transactions in this Appendix include:

- Data Transactions from System Operator to Market Operator

- System Parameters

- Generator Unit Technical Characteristics

- Demand Control

- System Characteristics

- Energy Limited Generator Unit Technical Characteristics

- Loss of Load Probability for the Capacity Period

- Ex-Post Loss of Load Probability Table

- Dispatch Instruction

- SO Interconnector Trades

- Annual Load Forecast

- Monthly Load Forecast

- Four Day Load Forecast

- Wind Power Unit Forecast

- Uninstructed Imbalance Parameters

- Testing Tariffs

- Forecast Ex-Post Loss of Load Probability

- Data Transactions from Interconnector Administrator to Market Operator

- Interconnector Available Transfer Capacity

- Active Interconnector Unit Capacity Holding

- Data Transactions from Market Operator to Interconnector User

- Modified Interconnector Unit Nominations

- Forecast of Ex-Post Loss of Load Probability Transaction

- K.24  The Data Records for the Forecast of Ex-Post Loss of Load Probability Data Transaction are described in Table K.35 and the Submission Protocol in Table K.36.

Table K.35 – Forecast of Ex-Post Loss of Load Probability Data Transaction Data Records

Trading Period

Forecast of Ex-Post Loss of Load Probability for each Trading Period in the following 31 Trading Days

Table K.36 – Forecast of Ex-Post Loss of Load Probability Data Transaction Submission Protocol

| Sender | System Operators |
| --- | --- |
| Recipient | Market Operator |
| Number of Data Transactions | One per Trading Day |
| First Submission time | As available |
| Last Submission time | By 16:30 on the Day prior to the Trading Day |
| Permitted frequency of resubmission | Unlimited |
| Valid Communication Channels | Type 3 (computer to computer) |
| Process for data validation | None |

- Table E.4:

- Table E.4 – Data publication list part 4: updated daily in advance of Gate Closure

| Time | Item / Data Record |  | Term |  | Subscript |
| --- | --- | --- | --- | --- | --- |
| Daily, in advance of Gate Closure |  |  |  |  |  |
| By 10:00 on the day prior to Gate Closure |  | Available Transfer Capacity (paragraph 5.40) |  |  |  |
| Before 09:30 |  | Four Day Load Forecast (Appendix K) | -- | -- |  |
| Before 09:30 |  | Any important updates to Maintenance Schedule Data Transaction (Appendix F) | -- | -- |  |
| As Available, every six hours |  | Two Day Rolling Wind Power Unit Forecast aggregated by Jurisdiction | -- | -- |  |
| Before 09:30 |  | Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days | Φ | h |  |

- Additional item in Table E.5:

- Table E.5 – Data publication list part 5: updated daily post Gate Closure

| Time | Item / Data Record |  | Term |  | Subscript |
| --- | --- | --- | --- | --- | --- |
| Daily, post gate closure and before Trading Day |  |  |  |  |  |
| 13:00 |  | Ex-Ante Indicative System Marginal Prices | -- |  |  |
| 16:30 |  | Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days | Φ | h |  |

- Section 7

  - Until the date that is the Day1+ Deployment Date, the following row in Table E.5 in Appendix E “Data Publication” shall be regarded as “Intentionally Blank”:

Table E.5 – Data publication list part 5: Updated Daily post Gate Closure:

| Time | Item / Data Record |  | Term |  | Subscript |
| --- | --- | --- | --- | --- | --- |
| 16:30 |  | Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days | Φ | h |  |

- 7.58	Until the date that is the Day1+ Deployment Date, the following Table K.35 and Table K.36 in Appendix K “Market Data Transactions” shall be regarded as “Intentionally Blank:”

Table K.35 – Forecast of Ex-Post Loss of Load Probability Data Transaction Data Records

Table K.36 – Forecast of Ex-Post Loss of Load Probability Data Transaction Submission Protocol

- AP06 Data Publication and Data Reporting

| Publication / Data Report Name | Class |  | Timing |  | Subscript | Published via MO Website | General Public via MPI |  | Confidentiality | Validity |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Initial Ex-Post Loss of Load Probability | H | Seven Working Days after end of Capacity Period, at 12:00 |  | H |  | Y | Y | Public Data |  |  |  |
| Forecast of Ex-Post Loss of Load Probability | H | Daily, post Gate Closure and before Trading Day at 16:30 |  | H |  | Y | Y | Public Data |  |  |  |

- Legal review

The Proposal does not change the substantive obligation under the Code (i.e. publication of Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days), but changes the timing of this publication for reasons seen as beneficial to the Market. Therefore the Committee do not anticipate any legal implications arising from implementation of the Modification Proposal.

- Appendix 1 – Original Proposal

| MODIFICATION PROPOSAL FORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Submitted by: | Date Proposal received by Secretariat: |  | Type of Proposal (delete as appropriate) |  | Number: (to be assigned by Secretariat) |  |
| System Operators TSO Day 1+ Project | 11-Sep-08 |  | Urgent |  | Mod_42_08 |  |
| Contact Details for Modification Proposal Originator |  |  |  |  |  |  |
| Name: Michael Preston |  | Telephone number: +44 (0)289 0794336 |  | e-mail address: Michael.preston@soni.ltd.uk |  |  |
| Modification Proposal Title: |  | Submission and Publication of Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days |  |  |  |  |
| Trading and Settlement Code/ Agreed Procedure change? (delete as appropriate) |  |  |  |  |  | Section(s) affected by Modification Proposal |
| Code & AP06 Data Publication and Data Reporting |  |  |  |  |  | Appendix K, Table E.4, Table E.5, 7.27 AP06 |
| Version Number of the Code/Agreed Procedure used in Modification drafting: |  |  |  |  |  | Code Version 4.3 AP6 V5.1 |
| Modification Proposal Description Clearly show proposed code change using tracked changes, & include any necessary explanatory information |  |  |  |  |  |  |
| - Appendix K - K.2 The Data Transactions in this Appendix include: Data Transactions from System Operator to Market Operator - System Parameters - Generator Unit Technical Characteristics - Demand Control - System Characteristics - Energy Limited Generator Unit Technical Characteristics - Loss of Load Probability for the Capacity Period - Ex-Post Loss of Load Probability Table - Dispatch Instruction - SO Interconnector Trades - Annual Load Forecast - Monthly Load Forecast - Four Day Load Forecast - Wind Power Unit Forecast - Uninstructed Imbalance Parameters - Testing Tariffs - Forecast Ex-Post Loss of Load Probability Data Transactions from Interconnector Administrator to Market Operator - Interconnector Available Transfer Capacity - Active Interconnector Unit Capacity Holding Data Transactions from Market Operator to Interconnector User - Modified Interconnector Unit Nominations Forecast of Ex-Post Loss of Load Probability Transaction - K.24 The Data Records for the Forecast of Ex-Post Loss of Load Probability Data Transaction are described in Table K.35 and the Submission Protocol in Table K.36. Table K.35 – Forecast of Ex-Post Loss of Load Probability Data Transaction Data Records Trading Period. Forecast of Ex-Post Loss of Load Probability for each Trading Period in the following 31 Trading Days. Table K.36 – Forecast of Ex-Post Loss of Load Probability Data Transaction Submission Protocol Sender; System Operators. Recipient; Market Operator. Number of Data Transactions; One per Trading Day. First Submission time; As available. Last Submission time; By 16:30 on the Day prior to the Trading Day. Permitted frequency of resubmission; Unlimited. Valid Communication Channels; Type 3 (computer to computer). Process for data validation; None. Table E.4: Table E.1 – Data publication list part 4: updated daily in advance of Gate Closure Time; Item / Data Record; Term; Subscript. Daily, in advance of Gate Closure. By 10:00 on the day prior to Gate Closure; Available Transfer Capacity (paragraph 5.40). Before 09:30; Four Day Load Forecast (Appendix K); --; --. Before 09:30; Any important updates to Maintenance Schedule Data Transaction (Appendix F); --; --. As Available, every six hours; Two Day Rolling Wind Power Unit Forecast aggregated by Jurisdiction; --; --. Before 09:30; Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days; Φ; h. Additional item in Table E.5: Table E.2 – Data publication list part 5: updated daily post Gate Closure Time; Item / Data Record; Term; Subscript. Daily, post gate closure and before Trading Day. 13:00; Ex-Ante Indicative System Marginal Prices; --. 16:30; Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days; Φ; h. Section 7 - Until the date that is 15 months after the Market Start Date, the following row in Table E.5 in Appendix E “Data Publication” shall be regarded as “Intentionally Blank”: Table E.5 – Data publication list part 5: Updated Daily post Gate Closure: Time; Item / Data Record; Term; Subscript. 16:30; Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days; Φ; h. - 7.58 Until the date that is 15 months after the Market Start Date, the following Table K.35 and Table K.36 in Appendix K “Market Data Transactions” shall be regarded as “Intentionally Blank:” Table K.35 – Forecast of Ex-Post Loss of Load Probability Data Transaction Data Records Table K.36 – Forecast of Ex-Post Loss of Load Probability Data Transaction Submission Protocol AP06 Data Publication and Data Reporting Publication / Data Report Name; Class; Timing; Subscript; Published via MO Website; General Public via MPI; Confidentiality; Validity. Initial Ex-Post Loss of Load Probability; H; Seven Working Days after end of Capacity Period, at 12:00; H; Y; Y; Public Data. Forecast of Ex-Post Loss of Load Probability; H; Daily, post gate closure and before Trading Day and 16:30; H; Y; Y; Public Data. |
| Modification Proposal Justification Clearly state the reason for the Modification & how it furthers the Code Objectives |  |  |  |  |  |  |
| Clause 7.27 of the Code currently requires the Market Operator to publish a Forecast of Ex-Post Loss of Load Probability for each Trading Period in the forthcoming 31 Trading Days (12 months following the Market Start Date). At present, the System Operators are required (as per 4.101 of the Code) to calculate and submit the (Ex-Ante Forecast) Loss of Load Probability for the following Capacity Period (i.e. month). The calculation of Forecast of Ex-Post Loss of Load Probability will contain similar input data types and will be subject to a similar set of calculations. - This modification seeks to ensure that there is an obligation for a Data Transaction to be submitted by a System Operator, in order to enable the Market Operator to receive and publish the Forecast of Ex-Post Loss of Load Probability data. - In addition, this Modification proposes to change the publication deadline, from 09:30 to 16:30, on each day. The reason for this change is that, given the availability of data and resources to produce the Forecast Ex-Post Loss of Load Probability data, the deadline for submission by 09:30 as currently specified in the Code would require calculation on the day prior to the submission of the Data Transaction. - Given that the Forecast of Ex-Post Loss of Load Probability data is not used in the MSP Software or in any settlement calculations, a later submission and publication deadline would allow System Operators to collate and use the latest available information to feed into the relevant calculations (e.g. load forecasts, wind forecasts, interconnector capacity, hydro targets). Code Objectives This Modification is required to facilitate the achievement of Code Objectives 3 and 5, as set out in clause 1.3 of the Code, 3. ‘to facilitate the participation of electricity undertakings engaged in the generation, supply or sale of electricity in the trading arrangements under the Single Electricity Market;’ - And 5. ‘to provide transparency in the operation of the Single Electricity Market;’ in that the Forecast Ex-Post Loss of Load Probability should provide a forecast of Loss of Load Probability which uses the latest available information and which is of value to Participants. This Modification clarifies the submission obligations of this information (not currently included in the Code) for subsequent publication by the Market Operator. Modification Urgency The System Operator feels that this Modification is urgent, as the systems and processes for calculating the ‘Forecast of Ex Post LOLP’ Data Transaction are currently being developed. Given that System Operators believe that the data required to meet the obligations of the Code cannot be delivered in line with the current provisions, the Code needs to change reflect achievable timescales. |  |  |  |  |  |  |
| Implication of not implementing the Modification Clearly state the possible outcomes should the Modification not be made , or how the Code Objectives would not be met |  |  |  |  |  |  |
| If this Modification is not implemented, the obligation to submit the Data Transaction will continue to be omitted from the Code and the ‘Forecast of Ex-Post Loss of Load Probability data’ may not be available to the Market Operator to enable it to fulfil its publishing obligations. If this Modification is not implemented, the required data may not be available in the timescales specified and this would (in terms of paragraph 2.208 of the Code) ‘unduly interfere with, disrupt or threaten the operation of the Single Electricity Market’. |  |  |  |  |  |  |
| Please return this form to Secretariat by e-mail to modifications@SEM-O.com |  |  |  |  |  |  |

- Appendix 2 – Alternative & Combined Proposals

- N/A

- Appendix 3 – Working Group Report

- N/A

- Appendix 4 - Impact Assessments

- N/A

- Appendix 5 - Consultation Responses

- N/A