## Slide 1
Martin Kerin
06th September 2018
MOD_28_18
Ordering of Pseudo Dispatch Instructions for QBOA with the same Instruction Issue Time and Instruction Effective Time

## Slide 2
The following order if multiple pseudo DIs at the same time:
  The Pseudo Dispatch Instruction corresponding to the latest Dispatch Instruction or Instruction Combination Code ordered in accordance with paragraph 19;
  PISP;
  POFF;
  PCOD.
This does not change the outcome that would be applied through the rules;
This is to align a non-functionally impacting outcome in the rules with the approach required for how the systems implement the rules;
The following slides illustrate this point.
MOD_28_18 – Ordering of Pseudo DIs in Tie Break

## Slide 3
MWOF and PMWO – Rules
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
time
MW

## Slide 4
MWOF and PMWO – Rules
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW

## Slide 5
MWOF and PMWO – Rules
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW
PMWO

## Slide 6
MWOF and PMWO – Systems
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW
PMWO
Pt. 1
Pt. 2
Pt. 3
Pt. 4
Pt. 5
= Pt. 1 → Pt. 2 → Pt. 3 → Pt. 4 → Pt. 5

## Slide 7
MWOF and PMWO – Systems
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW
PMWO
Pt. 1
Pt. 2
Pt. 3
Pt. 6
= Pt. 1 → Pt. 2 → Pt. 3 → Pt. 6

## Slide 8
MWOF, PMWO and PISP – Current rules
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW
PMWO
Pt. 1
Pt. 2
Pt. 4
Pt. 5
PISP

## Slide 9
MWOF, PMWO and PISP – Systems following current rules
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW
PMWO
Pt. 1
Pt. 2
Pt. 4
Pt. 5
= Pt. 1 → Pt. 2 → Pt. 4 → Pt. 5
PISP
After MWOF, profile looks for PMWO but finds none, therefore point not included

## Slide 10
MWOF, PMWO and PISP – Systems following implementation and rules with mod
MOD_28_18 – Ordering of Pseudo DIs in Tie Break
FPN
MWOF
time
MW
PMWO
Pt. 1
Pt. 2
Pt. 4
Pt. 5
= Pt. 1 → Pt. 2 → Pt. 3 → Pt. 4 → Pt. 5
PISP
After MWOF, finds PMWO and therefore point included

## Slide 11
The following order if multiple pseudo DIs at the same time:
  The Pseudo Dispatch Instruction corresponding to the latest Dispatch Instruction or Instruction Combination Code ordered in accordance with paragraph 19;
  PISP;
  POFF;
  PCOD.
This does not change the outcome that would be applied through the rules;
This is to align a non-functionally impacting outcome in the rules with the approach required for how the systems implement the rules.
MOD_28_18 – Ordering of Pseudo DIs in Tie Break